## Slide 1: EFU Tools Workshop

## Slide 2: Agenda

## Slide 3: Agenda
Introduction
  Background for the workshop
  EFU architecture
  Data paths
  Server dashboard
Daqlite
  What it does
  How to run it
  How to customise

## Slide 4: Agenda
Grafana
  efu runtime counters
  Reading Grafana dashboards
  Modifying them
AR51
  Using the detector samples topic for low level debug/diagnostics
  Customising
Try it yourself
AREA 51

## Slide 5: Why?
We don't do this because we are nice,
We really don't want to help you
... if you can already help yourself that is

## Slide 6: Learning points
Understanding paths data can flow
  normal operation
  calibration mode
EFU counters & Grafana relation
Checking the system status
  Server & Grafana dashboards
Validating detector data
  Daqlite images
Debugging & Troubleshooting
  efu* commands
  ar51

## Slide 7: EFU Architecture

## Slide 8: ECDC System Architecture
EFU
readout
event formation
detectors
'RM'
filewriter
storage
AREA 51

## Slide 9: ECDC System Architecture
EFU
readout
'RM'
AREA 51

## Slide 10: Daqlite vs AR51
Daqlite
data from detector topic
visualisation of all pixels
no energies, wavelengths
AR51
topic from detector samples
specialist visualisation
no pixel awareness

## Slide 11: Normal Operation
EFU
loki_detector_bank0
loki_detector_bank8
...
loki_detector_samples
100% events
~1% raw data
AREA 51

## Slide 12: Debug/Calibration mode
EFU
loki_detector_bank0
loki_detector_bank8
...
loki_detector_samples
100% raw data
AREA 51

## Slide 13: RYO
EFU
loki_detector_bank0
loki_detector_bank8
...
loki_detector_samples
100% raw data

## Slide 14: Server Dashboard

## Slide 15: The ECDC server zoo
Nicos, File writers, Kafka and EFU servers
Grafana, Graylog, AKHQ, VNC servers
CODA and Site separation
Currently approaching 50 servers. More will come.

## Slide 16: Server Dashboard - site
https://ecdcpos.esss.dk/ess

## Slide 17: Server Dashboard - coda
https://ecdcpos.esss.dk/coda

## Slide 18: Reading the dashboard
EFUs report status from three stages:
input, processing, output
Instrument is known, but uncomissioned
EFU server cannot be pinged (network issue)
Server is running but EFU is not
Service query failed
EFU is running and data flows through the stage
EFU is running but no data in the stage
shape indicates data flow direction

## Slide 19: Daqlite

## Slide 20: Trivia
Started as Data Acquisition project at NIST
Cloned, extended and named Daquiri at ESS
Originally intended as an internal ECDC tool, but
.. used since 2017 for detector and prototype testing in essentially ALL ESS projects
Trimmed down to Daqlite around 2021/2022
Still being actively maintained
Daqlite uses 'logical geometry' showing detector images as 2D representation of the often more complicated 3D voxel structure.
Daqlite has no awareness of physical detector dimensions or positions

## Slide 21: Daqlite
SoNDe (SKADI)
2017
BIFROST
2025
TIMEPIX
2023
AMOR(FREIA)
2022
NMX
2020
LOKI
2021
CSPEC (MG)
2017
MB (v1)
2018
LOKI
2022
DREAM
2026
prototype
prototype
prototype

## Slide 22: Daqlite
normal data path
detector topic
plots from {rToA, pixel}
topic broker
config
kafkacfg*
launch

## Slide 23: Demo

## Slide 24: Break