## Slide 1
EFU Workshop
January 2026
AREA 51

## Slide 2: EFU – dataflow
?
Transformation
Detector
Readout
Detector
RMM
Ring and Fens

## Slide 3: ECDC System Architecture
EFU
readout
event formation
Lund - CPH
detectors
'RM'
slits
choppers
samp. env
...
EPICS
FW
'EPICS'
NICOS
data
controls
instrument hardware
site infrastructure
DMSC
filewriter
storage
AREA 51
Raw samples topic

## Slide 4: Area51 – where lost channels are found

## Slide 5: Loki – example

## Slide 6: Ar51 – overview
Principle
Read raw non-processed samples topic to inspect and zoom in on specific detector quantities
Rings
Front-end-nodes (FENs)
Tubes/Hybrids/ASICs
ADC beam monitor values
Supported detectors
Loki, Bifrost, and Miracles
Estia and Freia
Dream
Beam Monitors
Skadi (coming soon)

## Slide 7: DREAM

## Slide 8: Beam Monitor – ODIN

## Slide 9: Debug
...
Readout 79
-----------------
Fiber = 11
FEN = 5
Length = 16
Time high = 1764244151
Time low = 50970666
OM = 1
UId = 2
Cathode = 236
Anode = 55
Readout 80
-----------------
Fiber = 11
FEN = 5
Length = 16
Time high = 1764244151
Time low = 50970666
OM = 3
UId = 2
Cathode = 244
Anode = 4
...
python3 ar51.py -r pcap -p 9022 --debug
--debug flag
Inspect individual readouts
Validate RMM output

## Slide 10: Access via VNC
Virtual Network Computing
Confluence page with setup instructions​
Individual ports for assigned users​
https://confluence.ess.eu/spaces/~michaelchristiansen/pages/806856002/EFU+Workshop

## Slide 11: Getting the Ar51
Gitlab repo
Overview
Installation instructions
Usage examples
https://gitlab.esss.lu.se/ecdc/ess-dmsc/ar51-monitor

## Slide 12: Exercises
Inspect live Loki data on daqlite01
Study different samples topics on
  daqlite02
  blue-daqlite
Stream and study PCAP files on blue-daqlite
Inspect data by using the --debug option