## Slide 1: VACUUM for ESS
Simone Maria Scolari
Vacuum System Engineer
www.europeanspallationsource.se
10 November 2015

## Slide 2: WHAT IS VACUUM
Vacuum: state of a rarefied gas or the environment corresponding to such a state, associated with a pressure or a mass density below the prevailing atmospheric level (ISO 3529).
Pressure Fractions of Atm | Pressure (Torr) | Number Density | Mean Free (cm)
1/1,000 | 0.76 | 2.7 x 1016 | 0.0065
1/10,000 | 7.6 x 10-2 | 2.7 x 1015 | 0.065
1/100,000 | 7.6 x 10-3 | 2.7 x 1014 | 0.65
1/1,000,000 | 7.6 x 10-4 | 2.7 x 1013 | 6.5
1/10,000,000 | 7.6 x 10-5 | 2.7 x 1012 | 65
1/100,000,000 | 7.6 x 10-6 | 2.7 x 1011 | 650
Rough vacuum: 10 torr
High vacuum: 10-5 – 10-7 torr
Ultra High vacuum: lower than 10-7 torr

## Slide 3: VACUUM at ESS
Warm LINAC
Cold LINAC
Target
Neutron Beam lines
10E-05 mbar
10E-07 - 10E-08 mbar
Lower than 10E-09 mbar

## Slide 4: Vacuum Generation
VACUUM
GAS OUT: PUMPING
GAS LOAD: OUTGASSING, LEAK
PRESSURE = GAS LOAD / PUMPING SPEED

## Slide 5: INTEGRATION CHAMBER

## Slide 6: CALIBRATION CHAMBER
Spinning rotor gauge
Range: 5E-07 - 5E-05 [mbar]
Hot cathode gauge
Range: 1E-10 - 7E-05 [mbar]

## Slide 7: OUTGASSING CHAMBER

## Slide 8: Cleanroom and Cleanliness
ESS Cleanroom
Ultrasonic bath

## Slide 9: MOLFLOW Analysis
Molecules hits
Molecules trajectories
RFQ pressure profile

## Slide 10: Thanks for your attention.