## Slide 1: Update on DMSC Readiness for Hot Commissioning of T-REX
Bing Li, computational instrument scientist for T-REX (started 1 Dec. 2025)
2026-04-22

## Slide 2: Contents
1 Overview of T-REX
2 Planning Tool/Prototyping
3 Data Reduction
4 Data Acquisition and Visualization
5 Data Analysis

## Slide 3: 1. Overview of T-REX: Time-of-flight Reciprocal space EXplorer
Bispectral
Direct Geometry Spectrometer
Polarization Analysis
Repetition Rate Multiplication (RRM)
Fan Chopper Excluded

## Slide 4: 1. Overview of T-REX: Time-of-flight Reciprocal space EXplorer
Bispectral
Direct Geometry Spectrometer
Polarization Analysis
Repetition Rate Multiplication (RRM)
Fan Chopper Excluded

## Slide 5: 2.1. Planning Tool: drtrex (based on ToF & Scipp)
INS window
INS window
INS window
Estimation of Q,E-coverage
RRM=16, HR
RRM=16, HF
RRM=8, HR
Elastic resolution & flux in different mode
Contamination due to frame overlapping
S(E)=45±5 meV

## Slide 6: 2.1. Challenges in Optimizing the Instrument Operational Parameters
Faster Spinning Choppers
Smaller Opening Time
Larger RRM
High Resolution
Low Flux
Frame-Overlap
Experimental planning tool needs to be available for instrument scientists and users to find the optimized operating parameters

## Slide 7: 2.2. Prototyping of Multigrid Detector in McStas
6*20*88*6*4 =253,440 voxels (4 boxes) on Day One.
633,600 voxels (10 boxes) eventually.

## Slide 8: 2.2. Prototyping of Multigrid Detector in McStas

## Slide 9: 2.2. Challenges in Simulation: Low Efficiency
Faction of neutrons on sample < 0.5%
Needs optimization in sampling based on ROI

## Slide 10: 3. Data Reduction
Need to implement DgsReduction & MDNorm using Scipp
Tasks
  Time to energy conversion
  Pixel to momentum conversion & UB algorithm
  Apply symmetry operations
  Apply corrections, e.g. monitor efficiency
  Normalization of intensity
Issues/Challenges
  Are we allowed to measure Vanadium with a white beam?
  How should we treat data taken with RRM?

## Slide 11: 4. Data Acquisition and Visualization
Tasks:
  Decision: continuous rotation vs. stop & count
  Define Nexus scheme for data files
  File format convertor for .nxspe, .sqw, etc.?
  Live data visualization?
Issues/Challenges:
  Too many pixels…
  Script/JupyterNotebook/GUI?
https://neutrons.github.io/Shiver/

## Slide 12: 5. Data Analysis Software on VISA
Phonons
  Phononpy (https://github.com/phonopy/phonopy)
  Euphonic (https://github.com/pace-neutrons/euphonic)
  Inspired (https://github.com/neutrons/inspired)
Magnetism
  SpinW (https://github.com/spinw/spinw)
  Sunny (https://github.com/SunnySuite/Sunny.jl)
  PyCrysalField (https://github.com/asche1/PyCrystalField)
Utilities
  FullProf (https://www.ill.eu/sites/fullprof/index.html)
  Mag2Pol (https://www.ill.eu/for-ill-users/instruments/instruments-list/d3/software)
  VESTA (https://jp-minerals.org/vesta/en/download.html)
  ISOTROPY Suite (https://iso.byu.edu/isotropy.php)
  Mantid (https://github.com/mantidproject/mantid)

## Slide 13: Timeline: ~20 months to make it happen

## Slide 14: Thank you for your attention!

## Slide 15: Operational Parameters
  User input:
    Central wavelength = 1.5 Å
    RRM = 12 (getting 9 instead)
    High resolution/flux mode
    Chopper frequencies:
    BW: 14 Hz
    Mono: 14 * RRM
    Pulse Shaping: 14 * RRM *3/4
RRM can to be 2N, even though the period is not 1/14 s, PS has two sets of openings