## Slide 1: Neutron Instruments II: Principles and Technologies
Ken Andersen
ESS Engineering Lectures
22nd February 2016

## Slide 2: Summary
Neutron instrument concepts
  time of flight
  Bragg’s law
Neutron Instrumentation
  guides
  detectors
  choppers
Neutron diffractometers
Neutron spectrometers

## Slide 3: The time-of-flight (TOF) method
distance
time
Δt

## Slide 4: Diffraction: Bragg’s Law

## Slide 5: Diffraction: Bragg’s Law

## Slide 6: Diffraction: Bragg’s Law

## Slide 7: Diffraction: Bragg’s Law

## Slide 8: Diffraction: Bragg’s Law
2θ

## Slide 9: Diffraction: Bragg’s Law
Wavevector:

## Slide 10: Diffraction: Bragg’s Law
Wavevector:
θ
θ

## Slide 11: Diffraction: Bragg’s Law
Bragg’s Law:
Wavevector:
θ
θ

## Slide 12: Neutron Supermirrors
Courtesy of J. Stahn, PSI

## Slide 13: Neutron Supermirrors
Courtesy of J. Stahn, PSI

## Slide 14: Neutron Supermirrors
Courtesy of J. Stahn, PSI

## Slide 15: Neutron Supermirrors
d1
}
l 1
l 2
l 3
l 4
l c
d2
}
d3
}
d4
}
Reflection: θc(Ni) = λ[Å]  0.10
Multilayer: θc(SM) = m  λ[Å]  0.10

## Slide 16: Neutron Supermirrors
}
l 1
l 2
l 3
l 4
l c
}
}
}
Reflection: θc(Ni) = λ[Å]  0.10
Multilayer: θc(SM) = m  λ[Å]  0.10
“m-number”
Supermirror critical angle
d1
d2
d3
d4

## Slide 17: State-of-the-art Supermirrors
Mirrotron

## Slide 18: State-of-the-art Supermirrors
Mirrotron
Swiss Neutronics

## Slide 19: Neutron guides
WISH @ ISIS
Swiss Neutronics guides for NIST

## Slide 20: Distribution by Guides
Neutron Guides:
Creating space for instruments

## Slide 21: Background Reduction
Distance:
  move away from fast-neutron source ~ 1/R2
Guides can be used to reduce background

## Slide 22: Background Reduction
Distance:
  move away from fast-neutron source ~ 1/R2
Curved Guides:
  avoid direct line-of-sight
  avoid gammas
  avoid fast neutrons
Guides can be used to reduce background

## Slide 23: Focusing
Converging guide increases flux, but increases divergence
(Liouville’s theorem)
Guides can also be used to increase flux

## Slide 24
10-14
10-11
10-9
10-7
10-2
10-1
Time [s]
10-12
10-9
10-15
10-6
10-3
1
103
10-6
Particle Physics
Spin-echo
Imaging
Reflectometry
10-10
10-12
10-15
10-8
10-5
10-6
hydrogen modes
lattice vibrations
spin dynamics
rotational tunneling
molecular diffusion
dynamics of macromolecules
domain wall dynamics
Backscattering
texture
industrial components
bacteria
cell membranes
magnetic structures
atomic structures
viruses
magnetic domains
polymers, proteins
charge density
TOF & Crystal
Spectroscopy
SANS
Diffraction
elementary particles
Energy [meV]
Length [m]
102
10-1
1
10-3
101
10-2
103
Wavevector Q [Å-1]
10-3

## Slide 25
10-14
10-11
10-9
10-7
10-2
10-1
Time [s]
10-12
10-9
10-15
10-6
10-3
1
103
10-6
Particle Physics
Spin-echo
Imaging
Reflectometry
10-10
10-12
10-15
10-8
10-5
Visible Light
Infrared
Light
FTIR
Raman
Brillouin
Dynamic Light Scattering
Laser PCS
10-6
Inelastic X-ray Scattering
hydrogen modes
lattice vibrations
spin dynamics
rotational tunneling
molecular diffusion
dynamics of macromolecules
domain wall dynamics
NMR
mSR
Dielectric Spec.
Backscattering
UV & X-ray FEL: Pump & Probe studies
texture
industrial components
bacteria
cell membranes
magnetic structures
atomic structures
viruses
magnetic domains
polymers, proteins
charge density
NMR Imaging
Triangulation
NMR
X-ray Imaging
SAXS, X-ray Refl.
X-ray Diffraction
EXAFS & XANES
Microscopy
Optical Microscopy
Scanning Techniques
SNOM
AFM
STM
TOF & Crystal
Spectroscopy
Infra-red
SANS
Diffraction
elementary particles
Energy [meV]
Length [m]
102
10-1
1
10-3
101
10-2
103
X-ray Spec.
X-ray PCS
Wavevector Q [Å-1]
10-3
X-rays
NMR
Optical Nanoscopy
Electron Microscopy

## Slide 26
10-14
10-11
10-9
10-7
10-2
10-1
Time [s]
10-12
10-9
10-15
10-6
10-3
1
103
10-6
Particle Physics
Spin-echo
Imaging
Reflectometry
10-10
10-12
10-15
10-8
10-5
Visible Light
Infrared
Light
FTIR
Raman
Brillouin
Dynamic Light Scattering
Laser PCS
10-6
Inelastic X-ray Scattering
hydrogen modes
lattice vibrations
spin dynamics
rotational tunneling
molecular diffusion
dynamics of macromolecules
domain wall dynamics
NMR
mSR
Dielectric Spec.
Backscattering
UV & X-ray FEL: Pump & Probe studies
texture
industrial components
bacteria
cell membranes
magnetic structures
atomic structures
viruses
magnetic domains
polymers, proteins
charge density
NMR Imaging
Triangulation
NMR
X-ray Imaging
SAXS, X-ray Refl.
X-ray Diffraction
EXAFS & XANES
Microscopy
Optical Microscopy
Scanning Techniques
SNOM
AFM
STM
TOF & Crystal
Spectroscopy
Infra-red
SANS
Diffraction
elementary particles
Energy [meV]
Length [m]
102
10-1
1
10-3
101
10-2
103
X-ray Spec.
X-ray PCS
Wavevector Q [Å-1]
10-3
X-rays
NMR
Optical Nanoscopy
Electron Microscopy

## Slide 27: Diffractometers
Measure structure (d-spacings)
Assume ki=kf
Measure ki or kf :
    Bragg diffraction
    Time-of-flight
Samples :
    Crystals
    Powders
    Liquids
    Large molecules or structures
    Surfaces

## Slide 28: Powder diffractometers
Measure crystal structure using Bragg’s Law
Large single crystals are rarely available
Polycrystal

## Slide 29: Time-of-flight (TOF) Method
distance
time
sample
detector
Δt

## Slide 30: Time-of-flight (TOF) Method
distance
time
sample
detector
Δt

## Slide 31: Long-Pulse Resolution
distance
time
sample
Pulse shaping

## Slide 32: Time-of-flight (TOF) Method
POLARIS @ ISIS TS1

## Slide 33: Crystal Monochromators
Copper 200
Graphite 002
 | d-spacing
Germanium 333 | 1.089 Å
Copper 200 | 1.807 Å
Silicon 111 | 3.135 Å
Graphite 002 | 3.355 Å

## Slide 34: Pulsed source time structures (λ=5Å)
log(Intensity@λ=5Å)
0 20 40 80 100 120
time (ms)
1
0.1
0.01
ISIS-TS1 128kW
ISIS-TS2 32kW
100μs
0
short pulse
ILL 57MW

## Slide 35: Pulsed source time structures (λ=5Å)
log(Intensity@λ=5Å)
0 20 40 80 100 120
time (ms)
1
0.1
0.01
ISIS-TS1 128kW
ISIS-TS2 32kW
100μs
0
short pulse
ILL 57MW
1%

## Slide 36: Constant-Wavelength Diffraction
D1B @ ILL
Rietveld refinement

## Slide 37: Small-Angle Neutron Scattering
Monochromator
Δλ/λ
2θ
Q
Collimator
Detector
Sample
d
λ d 2θ
4-20 Å 5-3000 Å 0.1-20°
Probing the longest length scales available to neutrons

## Slide 38: Reflectometry
Reflection from surfaces and interfaces
in
out
Specular: θin=θout
Off-specular: θin≠θout
Log
Depth profile of the scattering-length density

## Slide 39: Neutron Imaging: Radiography & Tomography
Neutrons
X-rays

## Slide 40: Neutron Imaging: Radiography & Tomography

## Slide 41
10-14
10-11
10-9
10-7
10-2
10-1
Time [s]
10-12
10-9
10-15
10-6
10-3
1
103
10-6
Particle Physics
Spin-echo
Imaging
Reflectometry
10-10
10-12
10-15
10-8
10-5
Visible Light
Infrared
Light
FTIR
Raman
Brillouin
Dynamic Light Scattering
Laser PCS
10-6
Inelastic X-ray Scattering
hydrogen modes
lattice vibrations
spin dynamics
rotational tunneling
molecular diffusion
dynamics of macromolecules
domain wall dynamics
NMR
mSR
Dielectric Spec.
Backscattering
UV & X-ray FEL: Pump & Probe studies
texture
industrial components
bacteria
cell membranes
magnetic structures
atomic structures
viruses
magnetic domains
polymers, proteins
charge density
NMR Imaging
Triangulation
NMR
X-ray Imaging
SAXS, X-ray Refl.
X-ray Diffraction
EXAFS & XANES
Microscopy
Optical Microscopy
Scanning Techniques
SNOM
AFM
STM
TOF & Crystal
Spectroscopy
Infra-red
SANS
Diffraction
elementary particles
Energy [meV]
Length [m]
102
10-1
1
10-3
101
10-2
103
X-ray Spec.
X-ray PCS
Wavevector Q [Å-1]
10-3
X-rays
NMR
Optical Nanoscopy
Electron Microscopy

## Slide 42: Neutron Spectroscopy
Excitations: vibrations and other movements
Structural knowledge is usually prerequisite
    Measure diffraction first
ki ≠ kf
Measure ki and kf:
    Bragg Diffraction
    Time-of-flight
    Larmor precession
Methods:
    Fix ki and scan kf – ”direct geometry”
    Fix kf and scan ki – ”indirect geometry”
Energy scales: < μeV → > eV

## Slide 43: Chopper Spectrometers
distance
time
chopper
detector
sample
0
Direct geometry:
fix ki by chopper phasing
scan through kf by time-of-flight

## Slide 44: Neutron Choppers
Disk choppers
Fermi choppers
f < 300 Hz
Δt > 10μs
f < 600 Hz
Δt > 1μs

## Slide 45: Chopper Spectrometers
General-Purpose Spectrometers
    Incident energy ranges from 1meV to 1eV
Huge position-sensitive detector arrays
    Single-crystal samples

## Slide 46: Detectors
3He gas tubes
n + 3He  3H + 1H + 0.764 MeV
>1mm resolution
High efficiency
Low gamma-sensitivity
3He supply problem
Scintillators
n + 6Li  4He + 3H + 4.79 MeV
<1mm resolution
Medium efficiency
Some gamma-sensitivity
Magnetic-field sensitivity

## Slide 47: Detectors
10B detectors
n + 10B  7Li + 4He + 0.48 MeV
massive development programme
none yet in operation
many different types
inclined blades
perpendicular blades
boron layer thickness limited to ~ 1 μm
=> ~ 5% efficiency

## Slide 48: Alternative to Direct Geometry
distance
time
detector
sample
0
Indirect geometry:
fix kf – usually by analyser crystals
scan through ki by time-of-flight
analyser

## Slide 49: High Resolution 1: Backscattering
BASIS@SNS Si111 3μeV
OSIRIS@ISIS PG002 25μeV

## Slide 50: Continuous-Source Backscattering

## Slide 51: High Resolution 2: Neutron Spin Echo


B0
B1
L0
L1
Pz
-flipper
High energy resolution < 1 μeV
Larmor precessions encode energy transfer

## Slide 52: Triple-Axis Spectrometers
Single-crystal excitations
Very flexible
Measures a single point in -E space at a time
Scans:
    Constant : Scan E at constant ki or kf
    Constant E: Scan in any direction

## Slide 53: TAS with multiplexing
Top view
sample
31 channels
75º angular range
kf = 3 Å-1
kf = 1.5 Å-1
Side view
IN20 flat-cone multi-analyser

## Slide 54: ESS Initial Instrument Suite
HEIMDAL – Powder Diffractometer
T-REX – Thermal Chopper Spectrometer
MAGIC – Magnetism Diffractometer
MIRACLES – Backscattering Spectrometer
BIFROST – Extreme-Environments Spectrometer
C-SPEC – Cold Chopper Spectrometer
BEER – Engineering Diffractometer
NMX – Macromolecular Crystallography
LOKI – Broadband SANS
FREIA – Liquids Reflectometer
ESTIA – Magnetism Reflectometer
VOR – Broadband Spectrometer
SKADI – Low-Q SANS
VESPA – Vibrational Spectroscopy
ODIN – Imaging
DREAM – Powder Diffactometer

## Slide 55: Thank you!
5th June 2015
ESS, 18/1/2016