## Slide 1: Finding and reducing a background feature at HYSPEC
Barry Winn, Mark Hagen,
M. Graves-Brook, RAD, ISDD
Thursday, August 9, 2012, 1 PM
Rm C-250

## Slide 2: HYSPEC’s sensitive detector array
20 8-packs of
1.2 m long
LPSD’s, 25 mm
Dia tubes
detectors
~4.5 m
From sample,
So sum over
All detector
Pixels
(no spatial
Variation seen)
Surrounded by
A cadmium
‘box’

## Slide 3: HYSPEC data summed over all detectors
Elastic scattering
from Vanadium
Inelastic feature from
Vanadium
Spallation
Event every
16.7 ms
(1/60 Hz)
Background tail ends about 3.5 ms beyond spallation event

## Slide 4: HYSPEC vs. CNCS

## Slide 5: T0 chopper and curved guide do a good job of stopping this feature from coming down the 14B ‘tube’

## Slide 6: Tests confirm it’s not easy to eliminate at our detectors
Detector Configuration
  Threshold
  Gain/Bias
  MaxADC
  DiscWidth
Shielding at Detector Vessel

## Slide 7
Proton beam dump off collection ring
Was found innocent
Region above end of
Proton beam is beacon
Of fast neutrons
HYSPEC
HYSPEC
Former source
Of 70% background
feature
HYSPEC

## Slide 8: Timeline, Fall 2011
Date | Action
30-Aug-11 | Prompt pulse first observed on HYSPEC
6-Sep-11 | Initial shutter tests with BL 15: no effect
3-Nov-11 | Gamma background at sample position observed on detectors; removed with threshold and bias settings
8-Nov-11 | Proton Beam Dump Test: no effect
25-Nov-11 | Shadowing observed as difference in counts between two detector vessel angles
28-Nov-11 | Primary 11 closing reduces flux by 70%
30-Nov-11 | Not primary 12
1-Dec-11 | Not primary 18
2-Dec-11 | Not primary 17
2-Dec-11 | Sequoia 8-pack portable testing begins
9-Dec-11 | Not primary 13
7-Dec-11 | Yellow block shield testing atop BL 11 begins (3 stages)
8-Dec-11 | Clear supression observed with portable 8-pack and HYSPEC array
5-Jan-12 | Neutronics calculations suggest scatter from BL 11a choppers into BL10 cavity
8-Feb-12 | Yellow blocks added based on neutronics calculations
12-Feb-12 | Spring startup: 70% gone but the rest still there

## Slide 9
Date | Run | Charge | Time | Counts | Comments
28-Nov-11 | 2653 |  |  |  | primary shutter 11 open, secondary shutter 11A open
28-Nov-11 | 2654 | 138.8 |  | 8743 | primary shutter 11 closed, secondary shutter 11A closed
28-Nov-11 | 2655 | 138.8 |  | 8902 | primary shutter 11 closed, secondary shutter 11A closed
28-Nov-11 | 2657 | 138.8 |  | 17336 | primary shutter 11 open, secondary shutter 11A closed

## Slide 10
Before
Now
Wrap-around

## Slide 12: Time correlation with 13B’s secondary shutter?
Step size / time resolution is 2 minutes for ‘clock’ progression of prompt pulse., using filter_by_time algorithm
16:58 and 17:42 are times for drop and rise on run. In CSS, secondary shutter for 13B closes at 4:56 and opens at 5:44 PM.
H2 vs. Cl is reason for higher signal after reopening

## Slide 13
2-1100
1.7
0.65
2
24.3
37.7
117.8
0.52
0.47
2.8
10.2
15
7.2
16
mrem/hr

## Slide 14: What next?
General and shutter closed contribution
  New Target, new background?
  Detector settings: we’ll try again
  Gradual time development on Tuesday afternoons: open to suggestions
  More mapping with LPSD
BL 13B secondary shutter
  Clock dependence kills any ‘empty can’ background subtraction approach
  Initial test of extra yellow blocks not so good
  Need another location, or higher blocks

## Slide 15
BL 11 shutter
  Lowest contribution, so least concerned
  may need more shield blocks somewhere
  difficult to measure with LPSD on cart to determine where best to shield

## Slide 16: It takes a village
RAD
RCT’s & Don Gregory
  J. Treen, D. Craft, M. McAvoy, J. Eubanks, F. Barrera, D. Smith, R. Davis, P. Gonzalez
Accelerator Group
  C. Peters, J. Galambos
Target Group & Ray S.
  J. Denison, R. Armstrong
Instrument Support Group
  D. Engle et. al.
DAS
  L. Clonts
ISDD
Neutronics Group
  F. Gallmeyer, E. Iverson
Engineering: Operating Instruments
  M. Harvey, T. Roseberry, P. Rosenblad
Detectors
  L. Funk
Commissioning Support
  K. Herwig

## Slide 17
3He tube sensitivity
Cd transmission
Chart: Cadmium 1.6 mm thick
| 1 | 10 | 100 | 200 | 250 | 300 | 400 | 500 | 1000
 | 4.954e-16 | 4.6579e-06 | 1.6672e-06 | 2.1236e-10 | 8.646e-05 | 0.017622 | 0.28287 | 0.57957 | 0.93408

## Slide 18: Statistics check: 30 min runs Monday vs. 10 min runs Tuesday
Sum over 100 us (0.1 ms) bins

## Slide 19: Why it’s bad: Fast neutrons easily ‘lap’ neutrons we use for scattering
Affects ~3.5 ms of 16.7 ms frame
Background moves as we change Ei
  ARCS & SEQUOIA don’t care because they work in first frame
Temporary strategy: preferred Ei’s for energy loss or energy gain
Chart: Prompt pulse effect on data acquisition
| 3.8 | 5 | 10 | 15 | 20 | 25 | 30 | 35 | 40 | 45 | 50 | 55 | 60 | 65 | 70 | 75 | 80 | 85 | 90
Energy Gain | 47781.3126 | 41654.7826 | 29454.3793 | 24049.4 | 20827.3913 | 18628.5851 | 17005.4938 | 15744.028 | 14727.1896 | 13884.9275 | 13172.3989 | 12559.3895 | 12024.7 | 11552.9581 | 11132.7089 | 10755.2186 | 10413.6957 | 10102.7687 | 9818.1264
elastic | 53068.7754 | 46264.2858 | 32713.7902 | 26710.6978 | 23132.1429 | 20690.0176 | 18887.3156 | 17486.2564 | 16356.8951 | 15421.4286 | 14630.0517 | 13949.207 | 13355.3489 | 12831.4042 | 12364.6505 | 11945.3872 | 11566.0714 | 11220.7375 | 10904.5967
Next frame | 64448.3126 | 58321.7826 | 46121.3793 | 40716.4 | 37494.3913 | 35295.5851 | 33672.4938 | 32411.028 | 31394.1896 | 30551.9275 | 29839.3989 | 29226.3895 | 28691.7 | 28219.9581 | 27799.7089 | 27422.2186 | 27080.6957 | 26769.7687 | 26485.1264
Spallation event | 0 | 0 | 16667 | 16667 | 33334 | 33334 | 50001 | 50001 | 66668 | 66668
Tail ends | 3500 | 3500 | 20167 | 20167 | 36834 | 36834 | 53501 | 53501 | 70168 | 70168
Ef=1 meV | 58059.4677 | 51932.9377 | 39732.5344 | 34327.5551 | 31105.5464 | 28906.7402 | 27283.6489 | 26022.1831 | 25005.3447 | 24163.0826 | 23450.554 | 22837.5446 | 22302.8551 | 21831.1132 | 21410.864 | 21033.3737 | 20691.8508 | 20380.9238 | 20096.2815

## Slide 20
Chart: Prompt Pulse impact assuming 3 ms tail and 1.8 m between focusing element and sample
Ei | 4 | 90
Elastic | 0 | 0

## Slide 21: Shielding against fast neutrons at HYSPEC
T0 chopper stops high-E neutrons
Curved Guide (well shielded) avoids line-of-sight & stops high-E neutrons
Drum shield has heavy concrete, stainless steel and lead shielding,
10’ high 1’ deep regular concrete wall at lower part of 8714 AND about stairwell may thermalize more than shield
1.5 mm thick Cd box surrounds LPSD’s
~3’ thick concrete underneath
14A beamstop and filler blocks
Only sheet metal just above red concrete shielding

## Slide 22: Shadowing

## Slide 23: Use portable 8-pack to map prompt pulse background in Target building and experiment room
Effectively a mini-instrument, with TOF
Recording capability
3He tubes like HYSPEC’s (similar pressure
But smaller diameter and length)
Mostly portable; rides on a cart which isn’t all
That easy to move around (one LCD terminal
Down…). Prefer much more mobile, like atop
BL 10 crevice
Use partial shielding to
-characterize observed spectra
-observe some directionality

## Slide 24: Critical part of test: adding temporary shielding (bulky; requires rigging support) to confirm directionality + Portable detector array

## Slide 25: Lessons:
0.25 mrem/hr time averaged dose goal may not be enough for pulsed background
Initial, temporary configuration implications
  Concrete primary shutter at 11 may be too weak
  Thin walls between beamlines near monolith too thin
Mapping facility with time-dependent detector
Rapid shielding tests
Easy access to primary shutter status archives on all beamlines
  (spring-discover secondary shutters can also be important)

## Slide 26: Timeline, spring 2012
Date | Action
16-Mar-12 | New dedicated IPNS portable detector array
15-Feb-12 | BL 11 primary shutter test: minimal effect now (Mar 20 too)
26-Mar-12 | BL 18 primary shutter test: no effect
17-Feb-12 | Shielding tests at detector vessel (and 23rd, 24th)
21-Feb-12 | Tuesday startup, no prompt pulse initially. Gradual growth from heatup or other correlation
29-Feb-12 | Proton beam steering tests on target (and March 1)
2-Apr-12 | More detector settings optimizing, hoping to reduce relative sensitivity to prompt pulse. Also April 25, May 5, May 16
29-Mar-12 | Lead blanket tests at Jim's Crack: no effect at HYSPEC (April 2, also)
3-Apr-12 | Measurements at Jim's Crack begin; high countrates observed
24-Apr-12 | Heavy concrete brick shielding Test at Jim's Crack: no effect
2-May-12 | Secondary shutters archived in EPICS
30-May-12 | Correlation with 13B shutter observed for 20% of background feature
18-Jun-12 | Shielding Test for 13B: no effect
18-Jun-12 | Coordinated AP shutter test at end of cycle: most remains when all shutters closed
9-Aug-12 | Shutdown: this talk
 | Fall cycle: ?

## Slide 27
Where
  Shutter tests suggest that the bulk is NOT in instrument beamlines anymore
When
  Abrupt changes suggest shutters
  Gradual changes suggest something developing
    Changes in proton beam? Vacuum changing increasing scattering?
    Changes (thermal expansion) in what’s blocking the proton beam?
    Changes in shield configuration for fast neutrons?

## Slide 28: Gradual growth led to some steering tests on proton beam, but nothing conclusive (baseline varied by same amount as steering changes…)

## Slide 29: Tried above end of proton beam: High radiation level in foyer of shutter control room

## Slide 30: Other correlations observed in May
# | Time | PPS_BMLN:SHSC13b_01:OPN | Value | Severity | Run | Shift time | Diff time
5/16/2012 | 13:11:46 | - | MAJOR | STATE_ALARM | 9719 | 13:13:02 | 0:01:16
5/16/2012 | 13:29:22 | OPEN | OK | OK |  | 13:31:02 | 0:01:40
5/19/2012 | 3:27:03 | - | MAJOR | STATE_ALARM | 9871 | 3:28:38 | 0:01:35
5/19/2012 | 3:55:27 | OPEN | OK | OK | 9872 | 3:57:12 | 0:01:45
5/24/2012 | 10:51:24 | - | MAJOR | STATE_ALARM | 10020 | 10:53:15 | 0:01:51
5/24/2012 | 10:55:52 | OPEN | OK | OK |  | 10:59:15 | 0:03:23
5/25/2012 | 8:58:40 | - | MAJOR | STATE_ALARM | 10055 | 9:00:41 | 0:02:01
5/25/2012 | 9:25:28 | OPEN | OK | OK |  | 9:28:41 | 0:03:13
5/25/2012 | 9:34:21 | OPEN | OK | OK | 10056 | 9:36:48 | 0:02:27
5/25/2012 | 9:37:24 | - | MAJOR | STATE_ALARM |  | 9:38:48 | 0:01:24
5/25/2012 | 9:40:18 | OPEN | OK | OK |  | 9:42:48 | 0:02:30
5/25/2012 | 9:43:10 | - | MAJOR | STATE_ALARM |  | 9:44:48 | 0:01:38
5/27/2012 | 0:34:45 | - | MAJOR | STATE_ALARM | 10122 | 0:36:35 | 0:01:50
5/27/2012 | 2:15:13 | OPEN | OK | OK | 10126 | 2:17:25 | 0:02:12
5/27/2012 | 12:32:46 | - | MAJOR | STATE_ALARM | 10146 | 12:36:13 | 0:03:27
5/27/2012 | 12:49:47 | OPEN | OK | OK | 10147 | 12:52:16 | 0:02:29
5/31/2012 | 4:31:54 | - | MAJOR | STATE_ALARM | 10262 | 4:34:28 | 0:02:34
5/31/2012 | 4:49:54 | OPEN | OK | OK |  | 4:52:28 | 0:02:34
5/31/2012 | 8:07:11 | OPEN | OK | OK | 10265 | 8:09:05 | 0:01:54

## Slide 31: Concerned about shielding at the top not going high enough to block transmission through BL10 heavy concrete temporary insert & stacked grey blocks