## Slide 1: SNS Facility Background Measurements
L. Funk did all the real work

## Slide 2: Use portable 8-pack to map prompt pulse background in Target building and experiment room
Effectively a mini-instrument, with TOF
Recording capability
3He tubes like HYSPEC’s (similar pressure
But smaller diameter and length)
Mostly portable; rides on a cart which isn’t all
That easy to move around (one LCD terminal
Down…). Prefer much more mobile, like atop
BL 10 crevice
Use partial shielding to
-characterize observed spectra
-observe some directionality

## Slide 3
6.2
3.19
7.14
5.26
1.87
2.55
1.97
1.86
1.53
341.5
132.7
0.78
0.98
0.88
0.42
25.9
6.95
11.9
8.46
19.4
3.46
15.2
2.21
9.92
21.9
32.0
Sequoia short full 8-pack count rate (ct/s), raw
102
14.2
Before extra shielding
After extra shielding
BL-11 Primary Shutter Closed
3.1
Mezzanine
Level

## Slide 4
2-1100
1.7
0.65
2
24.3
37.7
117.8
0.52
0.47
2.8
10.2
15
7.2
16
mrem/hr
New LPSD.
Spring 2012

## Slide 5: Effects of position and shielding: overall counts and tail shape

## Slide 6: Shielding variations
B-10 loaded aluminum 1 mm thick
Cadmium 1.5 mm thick
1 gallon of water
Lead
Maxus plate 1 cm thick
Regular density concrete
Heavy concrete brick
Some potential to estimate distance to moderated source

## Slide 7: vary thickness of B-10 aluminum

## Slide 8: Cadmium vs. Boron

## Slide 9: Limited directionality measurements (shielding behind portable LPSD)