## Slide 1: Target System Instrumentation
Ulf Odén
WP Manager Target System
www.europeanspallationsource.se
29 September 2016

## Slide 2: Target System Instrumentation
OUTLINE
Target Instrumentation Parameters
Target Instrumentation Concept Design
Proposed solution

## Slide 3: Target Wheel Drive & Shaft

## Slide 4: Target Instrumentation Parameters

## Slide 5: Target Instrumentation Concept Design
Target Wheel
  Spallation Material Geometry
  Wheel Position
  Wheel Balance
  Spallation Material Temperature

## Slide 6
Target Monitoring Plug
Gamma
1x1mm 2m long groves
Scintillator
Fiber
CCD Camera
Spallation Material Geometry
see Nicolo Borgi presentation
Target Instrumentation Concept Design

## Slide 7: Target Instrumentation Concept Design
Target Monitoring Plug
- Optical
Moderator Plug
- ??
Target Wheel Pedestal
- ??
Proton Beam Instrumentation Plug
- Optical vision of BEW
Pedestal
Target Wheel
green – target wheel
red - P+ Beam
squares - fiducials
x
y
z
Wheel Position

## Slide 8: Target Instrumentation Concept Design
Target Monitoring Plug
- Optical
Proton Beam Instrumentation Plug
- ??
Target Driver Unit
- Bearing Measurement
green – target wheel
red - P+ Beam
squares - fiducials
Wheel Balance (vibration)

## Slide 9: Target Instrumentation Concept Design
Target Monitoring Plug
IR camera
Thermocouples??
Temperature

## Slide 10: Target Instrumentation Concept Design
Temperature
IR camera

## Slide 11: Target Instrumentation Concept Design
Temperature
IR camera

## Slide 12: Target Instrumentation Concept Design
Conclusion
Proposed solution
  Continue explore the gamma imaging system
  Distance measurement (x y z) by laser placed in the Target Monitoring Plug supplemented by Proton Beam Instrumentation Plug (z)
  Vibration measurement in the Drive Unit bearings supplemented by laser measurement, placed in the Target Monitoring Plug
  IR temperature measurement of each sector, placed in the Target Monitoring Plug