## Slide 1
SCOPE – MAGiC
MAGiC Components
S. Klimko

## Slide 2
171 m
86 m
28 m
6 m
Experimental cave
& Control hutch
Neutron guide shielding
E01
Bunker
D01
NBES
Guide hall
Layout of MAGiC, W6

## Slide 3
Layout of MAGiC, W6
171 m
80 m
6 m
Guide hall
E01
D01
Neutron guide
& Magnetic guide
Choppers
Detectors &
Sample Environment
86 m
SSB
Thermal neutron
polarizer

## Slide 4
171 m
80 m
6 m
Neutron guide
& Magnetic guide
Choppers
Detectors &
Sample Environment
86 m
SSB
Thermal neutron
polarizer
Experimental cave
& Control hutch
Neutron guide shielding
Layout of MAGiC, W6

## Slide 5
Neutron guide origin
Insert W6 of Neutron Beam Extraction System
NBES, W6
No guides in the insert
Dimensions @ 2.0 m: 124x30 mm
Dimensions @ 5.5 m: 38x30 mm
Design has been agreed with Bengt Jönsson.
Cold neutron polarizer
SSB
Light shutter

## Slide 6
First chopper assembly: @~6,2 m, Estimated cost: 500 k€
  PSC (>182 Hz): select 𝜆 resolution
    Thermal spectrum: 𝛿𝜆/𝜆 = 3,0%
    Cold spectrum: 𝛿𝜆/𝜆 = 1,9%
  Selection Chopper (14 Hz): eliminate sub-pulses from PSC, Estimated cost: 125 k€
Second chopper assembly: before thermal polarizer- half length of the guide
  Band Chopper (14 Hz): select wavelength range @~80 m, Estimated cost: 125 k€
TOTAL 750k€
Choppers
(JCNS parters)
Cold neutron
Polarizer, SSB
PSC, SC
6.2 m
Band Chopper
Neutron guide
80 m

## Slide 7
Neutron guide
m-coating optimization of the guide
Super-mirrors cost: 2050 k€
SwissNeutronics
Vacuum housing: 470 k€
Total: 2 520 k€
Elliptical supermirror guide,
divided in two half ellipses
6.2 m
83 m
162 m
Thermal neutron
Polarizer.
Kink position
86 m
-0,5°
-0,25°
0°

## Slide 8
Neutron polarization
Cold neutron polarizer (2 ÷ 6Å), SSB
Magnetic guide fields
Polarization rotators
Thermal neutron polarizer (0,6 ÷ 2,3Å) – super-mirrors
Spin-flipper
XYZ- polarization analysis coils
Polarization analyser
SSB polarizer
Magnetic guide fields
Polarization rotators
Thermal neutron polarizer
Spin-flipper
Polarization
analyser

## Slide 9
Cold neutron polarizer
Position: in front of PSC
Solid state bender (3m), 150 µm thick Si wafer coated with FeSi;
Vertical saturation field of 1 kGauss;
Kinematic mount to easily adjust and switch between thermal (0,6 ÷ 2,3Å) and cold (2 ÷ 6Å) polarized neutron beams;
Estimated cost: 60k€.

## Slide 10
10
Magnetic guide field
To keep polarization, magnetic guide field is applied along the full instrument;
Homogeneous vertical guide field of 60 Gauss inside the guide;
Soft iron plates + NdFeB magnets;
Estimated cost: 82.7 k€.
Soft iron plates
NdFeB
magnets
Vacuum
housing

## Slide 11
6 channels FeSi super-mirror polarizer; 3 section by 1m long;
Horizontal saturation field of 1 kGauss;
Soft iron yoke + NdFeB magnets;
Polarization rotator – turn polarization 90°;
Estimated cost: 100 k€.
11
Thermal neutrons polarizer Polarization rotator
Soft iron yoke
NdFeB
magnets

## Slide 12
12
Adiabatic spin flipper will be installed in the second guide section at distance from the sample position to limit stray field from 10 T magnet;
Spin-flip efficiency is ~1 from 0,6Å to higher wavelength;
Estimated cost: 30k€.
Adiabatic spin flipper

## Slide 13
XYZ- polarization analysis coil
13
Set of XYZ coils to manipulate the guide field at sample position;
Estimated cost: 20k€.

## Slide 14
Solid state analyser, 150 µm thick Si wafer coated with FeSi;
120° horizontal angular aperture, 6° vertical aperture;
Estimated cost: 1885k€.
Polarization analyser (PSI partner)
Cold neutron
detector
Polarization analyzer

## Slide 15
Sample Exposure System
Sample table : 40k€
10T magnet, wide vertical angle opening: 1000 k€
Cryostat: 50k€
Dilution fridge: 250k€
Piezo positioning system: 45 k€
  Attocube
Utilities: 50 k€

## Slide 16
Detectors and Monitors
10B Jalousie Detector 156ºx48º: 2632 k€
10B Jalousie Detector 120ºx6º: 244 k
  CASCADE Detector Technologies
2PSD/TOF monitors: 40k€

## Slide 17
Beam Shaping
Beam focusing, SM m=6: 75 k€
  SwissNeutronics
2 Radial Collimators 156ºx48º, 120ºx6º: 110 k€
  Euro collimators
Divergence control: 100 k€
Beam focusing
Collimators
Angular spacing: 1.3°
Collimator angular span: 160°(120°)
Foil inside radius: 400 mm
Foil outside radius: 624 mm
Beam height: 624 mm (110mm)
Overall height: 624 < height < 1000 mm
Foil material: Mylar 36 micron
Absorber material: Gd oxide 2x25 micron

## Slide 18
Experimental cave
Walls & Roof - 80 cm concrete: 296k€
Beamline baselevel- 60 cm concrete: 53k€
Detector support - 40 cm concrete: 10k€
B4C - 5mm at all inner surface: 108k€
PSS - 100k€
Light shutter: 20 k€
No direct view
1.5 µSv/hr outside
6 m height walls - load = 14.4 T/m2
Roof 80 cm = +6 T/m2

## Slide 19
Control Hutch: 100 k€
  2 floors, desks, computers, chairs…
Sample preparation laboratory: 25 k€
  Glove box, fume, binocular micro
Bridge Crane 1T: 30 k€
Utilities: 50k€ (SAD request)
Various costs: 190 k€
mechanical assembly of concrete,
  metallic beam for support
Instrument Infrastructure

## Slide 20
Heavy Shutter & Shielding
28 m
55 m
83 m
155 m
86 m
163 m
Heavy
shutter

## Slide 21
MAGnetism
in
Crystals