## Slide 1: Time-of-flight Reciprocal space EXplorer
Jörg Voigt
Lund, 28.10.2016
A bispectral chopper spectrometer for
magnetism, materials science and soft matter
Notes: explain history
STAP meeting
Recommendations: thermal, magnetism
but bispectral essential, exciting possibilities for other research fields

## Slide 2: Order at high temperature High energy excitations
Interplay lattice, charge, spin  Distinguish excitations
Resolving gaps and zone boundary behavior
Line shapes
Identify spurions
Hour glass magnetic spectrum in La2-xSrxCoO4.
ILL Science highlight
Y. Drees et al.,
Nat. Comm. 4:2449 | DOI: 10.1038/ncomms3449 |
Thermal energy range (beyond 100 meV) indispensable!
90
85
80
75
35
30
25
20
25
20
15
10
5
Notes: spurions, shortcomings from TAS measurements Bild aus Proposal nehmen

## Slide 3: Order at high temperature High energy excitations
Interplay lattice, charge, spin  Distinguish excitations
Resolving gaps and zone boundary behavior
Line shapes
Identify spurions
Hour glass magnetic spectrum in La2-xSrxCoO4.
A. T. Boothroyd et al. , Nature 471, 341-344
Thermal energy range (beyond 100 meV) indispensable!
Notes: spurions, shortcomings from TAS measurements Bild aus Proposal nehmen

## Slide 4: Frustrated magnets: Condensed matter cosmology Beyond the static picture
Magnetic monopoles
Higgs Mechanism
T. Fennel et al., Science 326, 415-417
L. J. Chang et al., Nat. Comm., 3, 992
TREX: High energy resolution
+
Polarization analysis

## Slide 5: Molecular magnets Quantum spin dynamics from full S(Q,w)

## Slide 6: Functional Materials: Multiferroics
IN5: Ba3NbFe3Si2O14
Loire et al., PRL 106, 207201 (2011)
Very good energy resolution
Good Q resolution
Test ground for theory (line shape …)

## Slide 7: Functional Materials: Multiferroics
IN5: Ba3NbFe3Si2O14
Loire et al., PRL 106, 207201 (2011)
Very good energy resolution
Good Q resolution
Polarization
PA: now TAS; future: T-REX
High Intensity, High Resolution
&
Polarization Analysis

## Slide 8: Energy Materials
W. Paulus et al, JACS 130, (2008), 16080
Thermoelectrics: Electron-Phonon coupling: Line shape at high energy
Ion Transport: QENS at large momentum transfer + PA (H, Na, Li, Cl, N, …)
From lattice dynamics
to diffusive motion
Thermal energies to tens of µeV
+
large Q
Olivier Delaire et al. PNAS 2011;108:4725-4730
Notes: The Tof technique is a well established and robust method in use for the study of excitations and motion correlations in condensed matter.

## Slide 9
Disordered Materials
Vibrational Density of States
The reduced DoS, g()/2, shares universal vibrational features (e.g. boson peak), in systems spanning from hard glasses to proteins and DNA.
Wide - and Q-range
extrapolation towards the incoherent approximation
High “flux”
evolution as a function of pressure and temperature
Propagation of short-wavelength, collective coherent excitations
Requires a combination of thermal incident energies with small momentum transfers.
A polychromatic beam (RRM), with correspondingly variable resolution, has recently proven extremely useful to fully map and interpret the dispersion curves.

## Slide 10: Soft Matter & Life Science
Proteins, DNA, RNA and lipid membranes are central to cellular function.
Their biological functions are governed by their dynamical character, particularly on the picosecond time-scale.
Diffusional and relaxational motions
Widely studied by QENS
T-REX:
  Cold Ei and E down to 20 eV
  PA
Vibrational collective motions.
…Purely Inelastic Scattering
New topic
Thermal Ei
Flux limited

## Slide 11: T-REX Application Cloud

## Slide 12: Instrument layout
l (Å)
Sample
Detector
169.3 m
166.3 m
Basic features
Maximized RRM
  Moving energy region of interest
  Fast mapping
Flexible chopper system to adjust resolution + timeframe
Optimized thermal transport
  no line-of-sight
  high brilliance transfer
  low to medium divergence
Polarization
  Cold: combine with extraction
  thermal: magic box
  Wide angle 3He PA
Notes: ----- Meeting Notes (29.01.15 14:19) -----
add box with list of changes

## Slide 13: T0 Chopper: Optimize background, don’t cut thermal
Preliminary design, neutronic calculations needed

## Slide 14: Final wavelength window too small  Fan chopper
Not so Fixed final wavelength window
Frequency: 14 Hz
60 mm
7cm
60cm
14
M-chopper
Fan chopper
Block beam 2x(TM – tM)
Fully opaque during tM
Flexibility: lf < n lmax

## Slide 15
Guide profiles + m-index optimization
insert axis -17 mm
From back tracing option

## Slide 16: Brilliance transfer
Proposal
Current design top moderator

## Slide 17: Expected performance
NO NEGATIVE IMPACT ON THE SCIENCE CASE
Brightness
Brightness

## Slide 18: Polarisation Concept
3He at 15 bar cm and 80% Phe
3He at 6.7 bar cm and 80% PHe
FeSi solid state SM Analyzer Array
CoTi SM Analyzer
3He at 22 bar cm and 80% PHe
E. Babcock et al., Jour. Phys. Soc. Jap. S.E., proceedings of QENS/WINS 2012, Nikko Japan
Cold neutrons
Thermal neutrons
Supermirror arrays
Highest FOM
Passive device
Ei < 20 meV
No transmission for thermal
3He spin filter cells
Tunable FOM
Continuous initial polarization
Reduced transmission and high polarization for low energy

## Slide 19
Insert axis
2000
5500
6000
curve
45
60
Bender for cold-n extraction + polarizer
optics axis -17mm
shutter
Removable for thermal spectrum
12
Expected cost: 85 k€
2 x including Polarizer
150 μm Si wafer coated with NiTi m=4
Vertical saturation field of 1kGauss
Kinematic mount to switch between thermal (0.7 ÷ 2.4Å) and cold (2 ÷ 6.5Å)
polarized neutron beams
SWISS NEUTRONICS DESIGN

## Slide 20
Expected cold-n extraction performance
2D POS
2D DIV
2Å

## Slide 21
On-beam polarizer
Analysis: magic PASTIS magnetic system
Polarization and wide angle analysis
SEOP for thermal neutrons
  Continuously pumped
Ideal transmission for cold neutrons
Adiabatic spin rotation for thermal neutrons
Homogeneous field configuration
Offline gas polarization
Variable pressure
Notes: ----- Meeting Notes (29.01.15 14:19) -----
Add adiabatic spin rotation

## Slide 22
Analysis: magic PASTIS magnetic system
Wide angle polarization analysis
Homogeneous field configuration
Offline gas polarization
Variable pressure
40°
88.5°
85.5°
Notes: ----- Meeting Notes (29.01.15 14:19) -----
Add adiabatic spin rotation

## Slide 23: T-REX Application Cloud
Going beyond needs
Bispectral + polychromatic
Polarization Analysis
Optimized background conditions

## Slide 24: Thank you for the attention

## Slide 25: Changes since the proposal
3He cell
LoS
-0.2°
FANC
MC
bunker
monolith
BWC
1
2
PSC
Hall 2
Guide Hall
T0C
curved guide R=19.5 km
155 m
110 m
90 m
28 m
50 m
6 m
(Polarization)
Bender
Shutter
Hall 3
Exp cave
Optimization for top moderator (3 cm height)
All choppers outside the bunker
Matching the concept to the planned facility

## Slide 26: Polarization Analysis PA for Soft Matter, Life Sciences or Energy Research on Materials with Light Elements
Polarization Analysis & Deuteration → direct coherent & incoherent partial scattering functions Sinc/coh(Q,t) for direct comparison of QUENS data to MD simulation - nowhere possible at the moment! -
C. Gerstl et al., Macromolecules 45, (2012), 7293−7303
D Bhowmik et al.,
Macromolecules 47, (2014), 304−315

## Slide 27: Acknowledgements
Wiebke Lohstroh
Giovanna Simeoni
Thomas Brückel
Margarita Russina
Nicolo
Violini
Pascale P. Deen
Katharina
Rolfs
Luca
Silvi
Technische Universität München
Andreas Wischnewski
Stefano Pasini
Sven Janaschke
Kim Lefmann
Anette Vickery
Linda Udby

## Slide 28: Concentrating on an energy transfer ROI
Notes: The Tof technique is a well established and robust method in use for the study of excitations and motion correlations in condensed matter.

## Slide 29: Flexible chopper system
 | fM = 2.5º | fM = 4.3º
fp = 22º | lf/li ≈ 1, HR elastic | lf/li ≈ 1.4, energy loss
fp = 36º | lf/li ≈ 0.7, energy gain | lf/li ≈ 1, HF elastic
Chopper windows + polychromatic illumination: Large optimized dynamic range
Chopper frequency to control overall resolution
Variable initial wavelength
Fixed final wavelength window

## Slide 30
Bandwidth choppers: Distinct band, max. # pulses
P,M choppers define extraction time
Reduced intensity of outer pulses
Less severe for larger distance
Finite distance of P chopper discs -> P bandwidth ≈ 30Å
Clean spectrum up to 90 Å

## Slide 31
Bandwidth choppers: Distinct bands, max. # pulses
P,M choppers define extraction time
Reduced intensity of outer pulses
Less severe for larger distance
Finite distance of P chopper discs -> P bandwidth ≈ 30Å
Clean spectrum up to 90 Å

## Slide 32: INS with chopper spectrometers @ESS Multiple Energy

## Slide 33: Energy selection
Only one common pulse
Same wavelength step dl assured by frequency ratio
Accept pulses from fixed origin
  Transmission independent from l
LM= 165 m
LP= 110 m
Notes: ----- Meeting Notes (29.01.15 14:19) -----
include legend

## Slide 34: Detector specifications
Detection efficiency > 50 % for l = 1Å
Gamma rejection < 10-6
Area: 40 m2
Position resolution:
  25 mm x 25 mm tangential to cylinder surface
  30 mm radial @ l = 1 Å, 10 mm radial @ l = 5 Å
Vacuum compatibility
Cost < 10 M€

## Slide 35: 3He Tubes for TOPAS