## Slide 1: Beam monitors workshop conclusions
Martin Shetty
www.europeanspallationsource.se
14 November 2016

## Slide 2: What beam monitors
Low efficiency neutron detectors
Some are position sensitive
Maximum 7 per instrument
Use cases:
  Normalization
  Beamstop
  Diagnostics
  Position resolution
  Time resolution

## Slide 3: What monitor data
Average histogram over multiple pulses
Individual pulse histograms
Event mode data
Position-sensitive data
Rates should be about that of one detector channel
Rates should be in chart
Commercial detectors, but readout system should be ours

## Slide 4: Why beam monitors
Usefulness often underestimated by instrument scientists
Should be periodically calibrated
Future proof by anticipating more use with more granular data

## Slide 5: What’s next?
Latency not an issue?
EPICS or not?
Autotune choppers?
Involve Mantid people?
Network topology an issue?
Expensive?

## Slide 6: Conclusions
Should be treated as detectors
Rates will be added to chart
Must find out how close they must be to EPICS
Will consult on needs for chopper tuning