## Slide 1: Summary of Target In-Kind contribution TIK-4.1 Target System Instrumentation
Ulf Odén
WP Manager Target System
www.europeanspallationsource.se
10 October 2016

## Slide 2: TIK 4.1 Target System Instrumentation
OUTLINE
Target Instrumentation Parameters
Target Instrumentation Concept Design
Proposed solution
Requirements
Cost value
Schedule

## Slide 3: TIK 4.1 Target Wheel Drive & Shaft

## Slide 4: TIK 4.1 Target Instrumentation Parameters

## Slide 5: TIK 4.1 Target Instrumentation Concept Design
Target Wheel TIK 4.1
  Spallation Material Geometry
  Wheel Position
  Wheel Balance
  Spallation Material Temperature
  Structural Integrity Shaft and Shroud

## Slide 6
Target Monitoring Plug
Gamma Imaging System
1x1mm 2m long groves
Scintillator
Fiber
CCD Camera
Spallation Material Geometry
(DTU)
TIK 4.1
Target Instrumentation Concept Design

## Slide 7: TIK 4.1 Target Instrumentation Concept Design
TIK 4.1 Target Monitoring Plug
- Optical
TIK 4.1 Moderator Plug
- ??
TIK 4.1 Target Wheel Pedestal
- ??
Pedestal
Target Wheel
x
y
z
Wheel Position
green – target wheel
red - P+ Beam
squares - fiducials
Proton Beam Instrumentation Plug

## Slide 8: TIK 4.1 Target Instrumentation Concept Design
TIK 4.1
Target Monitoring Plug
- Optical
Proton Beam Instrumentation Plug
- ??
Target Driver Unit
- Bearing Measurement
green – target wheel
red - P+ Beam
squares - fiducials
Wheel Balance (vibration)

## Slide 9: TIK 4.1 Target Instrumentation Concept Design
Target Monitoring Plug
IR camera
Thermocouples??
Temperature

## Slide 10: TIK 4.1 Target Instrumentation Concept Design
Temperature
IR camera

## Slide 11: TIK 4.1 Target Instrumentation Concept Design
Structural Integrity Shaft and Wheel Shroud
Sound equipment to
identify cracks

## Slide 12: TIK 4.1 Target Instrumentation Concept Design
Conclusion
Proposed solution
  Continue explore the gamma imaging system (performed by DTU)
  Distance measurement (x y z) by laser placed in the Target Monitoring Plug supplemented by Proton Beam Instrumentation Plug (z)
  Vibration measurement in the Drive Unit bearings supplemented by laser measurement, placed in the Target Monitoring Plug
  IR temperature measurement of each sector, placed in the Target Monitoring Plug
  Continue explore Sound Equipment to indicate cracks in the Shaft and Wheel Shroud

## Slide 13: TIK 4.1 Target Instrumentation Concept Design
Requirement
To be evaluated during preliminary design in cooperation with TIK 2.1 Target Wheel Drive & Shaft
X Y Z => +/- 0.1 mm

## Slide 14: TIK 4.1 Cost Book
Preliminary Design 120 k€
Final Design 230k€
Make Phase 63 k€
Components 170 k€
Total 583 k€*
*Gamma Imaging System excluded

## Slide 15: TIK 4.1 In-Kind Scope
In Kind Value
In Kind Scope

## Slide 16: TIK 4.1 Key Milestone and In-Kind Partner Start Dates