## Slide 1: Screaming Udder: data streaming at ISIS
Matt Clarke, Matthew Jones, Freddie Akeroyd, Nick Draper, Martyn Gigg and Owen Arnold
c

## Slide 2: The collaboration
BrightnESS work package 5.1
STFC in-kind

## Slide 3: Data streaming for the ESS
Event Formation
P
Sample Environment
P
Choppers
P
Kafka
c
File Writer
C
Mantid
C

## Slide 4: Data streaming at ISIS
Data aggregation already taken care of by the ICP
Detectors
SE Data
(SECI/IBEX)
Data Acquisition Electronics
SQL Database
Metadata
Instrument Control Program
(Aggregator)
NeXus File
Viewers
c

## Slide 5: Existing live data views at ISIS
ICP streaming directly to Mantid
  TCP socket(s)
Individual spectra via SECI/IBEX
Notes: Data thrown away if it starts building up in the ICP – for example: if there is a slow connection to Mantid.

## Slide 6: Existing live data views at ISIS
Custom solutions
Notes: Requires extra cards in the data acquisition electronics to integrate the data. Can be quite expensive and requires space in the crate.

## Slide 7: Possible issues
Strain on the ICP
No way to know if data is lost
Doesn’t scale
Late joiners cannot catch up
Extra hardware
Imaging data
…

## Slide 8: Prototype data streaming
As part of the in-kind contribution, the plan is to run the data streaming prototype(s) on an ISIS beamline

## Slide 9: Proof of concept: historical data
Streaming a NeXus file through Kafka to Mantid

## Slide 10: Topics and schema
3 topics used:
  Run information
    Run number
    Instrument name
    Stream offset
    Updated at beginning of run
  Spectra mapping
    Mapping of detectors to spectra
    Updated at beginning of run if different
  Event and sample data
    Event and sample data collected in frames
    Message(s) send every frame

## Slide 11: Run information topic
Run Information
Event Data
Run: 1025
Offset: 145678
1025
Run: 1026
Offset: 288003
1026
Run: 1027
Offset: 451455
1027
Run: 1024
Offset: 145678
1024
…
…
Run: 1026
Frame 1
288006
Run: 1026
Offset: 288003
288005
Run: 1025
Frame n
288004
Run: 1025
Frame n-1
288003
…
…
…
Run: 1025
Frame n-2
288002

## Slide 12: Prototype v1
Detectors
SE Data
(SECI/IBEX)
Data Acquisition Electronics
SQL Database
Metadata
Instrument Control Program
(Aggregator)
NeXus File
Kafka
Mantid

## Slide 13: The results

## Slide 14: Not production ready
Data Acquisition Electronics
Kafka
Mantid
Freddie and Matthew magic
Martyn and Matthew wizardry

## Slide 15: Future plans: short term
Passing SE data into Mantid
Optimising Mantid consumption
De-aggregating SE data from the ICP
Buying a proper cluster for Kafka

## Slide 16: Future plans: medium term
Prototype v2 – parallel system?
Detectors
SE Data
(IBEX)
Data Acquisition Electronics
SQL Database
Metadata
Instrument Control Program
(Aggregator)
NeXus File
Kafka
EPICS Forwarder
Mantid
NeXus File
Neutron Data

## Slide 17: Future plans: longer term
More in-line with the ESS?
Detectors
SE Data
(IBEX)
Data Acquisition Electronics
Metadata
New Instrument Control Program
Kafka
EPICS Forwarder
Mantid
NeXus File
Neutron Data
Imaging
?

## Slide 18: Summary
Successfully streamed neutron data from a real instrument to Mantid via Apache Kafka
Moo-ving forward we* have a plan to produce a working and battle tested data streaming system for the ESS
* The DMSC, Elettra, PSI and STFC