## Detailed Budget
1 | 2 | 3 | 4 | 5 | 6 | Option | HEIMDAL detailed budget | [9 empty] | Cost | Manpower | k€
[7 empty] | Salaries | [7 empty] | 1 | 01 Shielding | 2678346.3134 | 222432 | 2900.7783
[7 empty] | Post doc | 48 | €/h | [5 empty] | 2 | 02 Neutron Optics | 2505000 | 76800 | 2581.8
[7 empty] | Technician | 48 | €/h |  |  | Including travel and accomodation |  |  | 3 | 03 Choppers | 1326000 | 176640 | 1502.64
[7 empty] | Scientist/Engineer | 60 | €/h | [5 empty] | 4 | 04 Sample Environment | 300000 | 34560 | 334.56
[7 empty] | Work time | 1800 | h/year | 40 |  | weekly work hours |  |  | 5 | 05 Detector and Beam Monitors | 4534100 | 332092.8 | 4866.1928
[7 empty] | Steel | 1800 | €/tonne | 7.9 | Machined and ready for installation, density 7.9 tonne/m3 - 7.9*1800 = 14220 m3 |  |  |  | 6 | 06 Data Acquisition and Analysis | 0 | 0 | 0
[7 empty] | Concrete (normal) | 1800 | €/m3 | 2.5 | Machined and ready for installation, density 2.5 tonne/m3 |  |  |  | 7 | 07 Motion Control and Automation | 530000 | 23040 | 553.04
[7 empty] | Concrete (high density) | 2600 | €/m3 | 6.5 | Machined and ready for installation, density 6.5 tonne/m3 |  |  |  | 8 | 08 Instrument Specific Technical Equipment | 137320 | 2396160 | 2533.48
[7 empty] | Cupper | 7000 | €/tonne |  | Raw material price |  |  |  | 9 | 09 Instrument Infrastructure | 2694900 | 275520 | 2970.42
[7 empty] | Boralcan | 1000 | €/m2 | [5 empty] | 10 | 10 Vacuum | 0 | 0 | 0
[15 empty] | 11 | 11 PSS | 175000 | 0 | 175
[15 empty] | 12 | 12 Contingency | 0 | 0 | 1841.7911
[7 empty] | Monolith |  | Cost (€) |  |  | Comments | [6 empty] | 20259.7022
[7 empty] | Guides |  |  |  |  | Guides are evacuated - windows of Al at the monolith surface | [12 empty] | Option | Phase 1 | Manpower | Phase 2 | Manpower | Phase 3 | Manpower | Phase 4 | Manpower | Phase 5 | Manpower | Phase 6 | Manpower | Category
|  | 1 |  |  |  | 1 | 2-5.5 m | Thermal guide | 105000 |  | 2 | Cu support 10 mm thick, m=2-4 Approx. dimension L=3500 mm HxWstart=80x40 mm HxWexit=50x30 (therml guide ~30 k€/m ) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 105000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 2 | 2-5.5 m | Cold guide | 35000 |  | 2 | Cu support 10 mm thick, m=2 dimensiosn of LxHxW = 5500x30x30 mm (cold guide ~10k€/m) | [12 empty] | 2 | 0 | 0 | 0 | 0 | 35000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 1 |  | Beam plug | 60000 |  | 9 | Monolith insert, including cooling | [12 empty] | 1 | 0 | 0 | 0 | 0 | 60000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
|  | 1 |  |  |  | 1 | 16 | Manpower |  | 30720 | 2 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 30720 | 0 | 0 | 0 | 0 | 0 | 0 | 2
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Light shutter | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 1 | Light shutter |  | 100000 |  | 9 | Block of Cu/W sandwich - detailed costing expected from ESS | [12 empty] | 1 | 0 | 0 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
[7 empty] | Guides |  |  |  |  | The guides are likely to pass through air during this 0.5 m, entry windows/pump facility would represent high cost and low gains | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 1 | 5.5-6 m | Thermal guide | 30000 |  | 2 | Cu support 10mm thick, m=4 coated, dimensions LxHxW approx. 500x50x30 mm (~30 k€/m) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 30000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 2 | 5.5-6 m | Cold guide | 10000 |  | 2 | Cu support 10mm thick, m=2 coated, dimensions LxHxW =500x30x30 mm, the guide is bend low to avoid hitting the thermal chopper | [12 empty] | 2 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 1 | 12 | Manpower |  | 23040 | 2 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 23040 | 0 | 0 | 0 | 0 | 0 | 0 | 2
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Bunker (D03) | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Guides | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | Thermal guide | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 1 | 6-6.4 m | Thermal guide | 15000 |  | 2 | Guide likely to pass through air / or being attached to the choppe assembly setup - still on Cu support, m=5 (30k€/m) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 1 | 6.6-7m | Thermal guide | 15000 |  | 2 | Vaccum guide between choppers (30 k€/m) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 15000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 1 | 7-27m | Thermal guide | 400000 |  | 2 | Vaccum guide varianble m=2 potentially on Cu (20k€/m) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 400000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
[6 empty] | 1 |  | Manpower |  |  | 2 | Included in percurement | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | Cold guide | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 2 | 6-14m | Cold guide | 80000 |  | 2 | Guide in vacuum or potentially attached to the vacuum system of the thermal guide and placed on the same extraction system. | [12 empty] | 2 | 0 | 0 | 0 | 0 | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 2 | 14.1-18m | Cold guide | 40000 |  | 2 | Guide in vacuum or potentially attached to the vacuum system of the thermal guide and placed on the same extraction system. | [12 empty] | 2 | 0 | 0 | 0 | 0 | 40000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 2 | 18.1-20m | Cold guide | 20000 |  | 2 | Guide in vacuum or potentially attached to the vacuum system of the thermal guide and placed on the same extraction system. | [12 empty] | 2 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 2 | 20m | Cold guide | 70000 |  | 2 | Insertion into thermal guide - Bispectral insertion on Si | [12 empty] | 2 | 0 | 0 | 0 | 0 | 70000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 2 |  | Manpower |  |  | 2 | Included in percurement | [12 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Bunker Chopper | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | Thermal chopper |  |  |  | 6.5 and 7 m is on the same insert | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 1 | 6.5m | Double chopper | 230000 |  | 3 | Pulse shaping chopper, Counter rotating double chopper 140 Hz, disc size 700 mm diameter, openings size 35 mm and 50 mm high (matching guide size) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 230000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
|  | 1 |  |  |  | 1 | 7m | Low speed chopper | 110000 |  | 3 | Pulse selection chopper, single chopper 700 mm diameter 14 Hz | [12 empty] | 1 | 0 | 0 | 0 | 0 | 110000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
|  | 1 |  |  |  | 1 |  | Materials | 80000 |  | 3 | Cabling and control rack | [12 empty] | 1 | 0 | 0 | 0 | 0 | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
|  | 1 |  |  |  | 1 |  | Common vacuum housing | 80000 |  | 9 | Common vacuum housing and extraction system to remove chopper set from the bunker is needed. | [12 empty] | 1 | 0 |  | 0 |  | 80000 | 0 | 0 |  | 0 |  | 0 |  | 9
|  | 1 |  |  |  | 1 | 24 | Manpower |  | 46080 | 3 | [13 empty] | 1 | 0 |  | 0 |  | 0 | 46080 | 0 |  | 0 |  | 0 |  | 3
|  | 1 |  |  |  | 1 | 12m | T0-chopper | 215000 |  | 3 | Prompth pulse suppression chopper 50 mm W + 50 mm W suppression | [12 empty] | 1 | 0 | 0 | 0 | 0 | 215000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
|  | 1 |  |  |  | 1 | 19m | T0-chopper | 215000 |  | 3 | Prompth pulse suppression chopper 50 mm W + 50 mm W suppression | [12 empty] | 1 | 0 | 0 | 0 | 0 | 215000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
[8 empty] | Vacuum housing | 40000 |  | 9 | Vacuum housing to be removed from bunker through the roof. | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
|  | 1 |  |  |  | 1 |  | Materials | 56000 |  | 3 | Includes cabling and control racks | [12 empty] | 1 | 0 | 0 | 0 | 0 | 56000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
|  | 0.6 | 0.3 |  | 0.1 | 1 | 24 | Manpower |  | 46080 | 3 | Installation, integration, commissioning of choppers | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 27648 | 0 | 13824 | 0 | 0 | 0 | 4608 | 3
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | Cold chopper | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 3 | 6.75m | Low speed chopper | 110000 |  | 3 | Band definition chopper 700 mm diameter speed 14 Hz | [12 empty] | 3 | 0 | 0 | 0 | 0 | 110000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
|  | 1 |  |  |  | 3 | 18m | Low speed chopper | 110000 |  | 3 | Band definition chopper 700 mm diameter speed 14 Hz | [12 empty] | 3 | 0 | 0 | 0 | 0 | 110000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
|  | 1 |  |  |  | 3 |  | Chopper mount | 50000 |  | 9 | Mount that can be extracted through the roof of the bunker | [12 empty] | 3 | 0 | 0 | 0 | 0 | 50000 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 3 |  | Materials | 40000 |  | 3 | Includes cabling and control racks (2 slots) | [12 empty] | 3 | 0 | 0 | 0 | 0 | 40000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3
|  | 1 |  |  |  | 3 | 36 | Manpower |  | 69120 | 3 | [13 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 69120 | 0 | 0 | 0 | 0 | 0 | 0 | 3
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Bunker Shielding | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 1 |  | Cu-scrapers / W-jaws | 10000 |  | 1 | 3x triangular Cu scrappers placed around the thermal guide and tungsten jaws at entry and exit to avoid down streaming. | [12 empty] | 1 | 0 | 0 | 0 | 0 | 10000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
|  | 1 |  |  |  | 1 | 12 | Manpower |  | 23040 | 1 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 23040 | 0 | 0 | 0 | 0 | 0 | 0 | 1
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Bunker plug | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 1 | 25-28m | Guide | 90000 |  | 2 | Common guide for thermal and cold neutrons - elliptical shaped guide ending m=2-4 on Cu, guide will end in wall window. | [12 empty] | 1 | 0 | 0 | 0 | 0 | 90000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
|  | 1 |  |  |  | 1 |  | Materials | 35000 |  | 9 | Bunker feed through sandwich materials high density concrete / steel | [12 empty] | 1 | 0 | 0 | 0 | 0 | 35000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
|  | 1 |  |  |  | 1 | 29m | Heavy shutter | 168000 |  | 1 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 168000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
|  | 1 |  |  |  | 1 | 12 | Manpower |  | 23040 | 2 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 23040 | 0 | 0 | 0 | 0 | 0 | 0 | 2
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Guide hall (E02) |  |  |  |  | The guide hall is assumed to extend all the way up to the instrument detector tank. | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.25 | 0.5 | 0.25 |  | 1 | 30-160m | Guide | 1700000 |  | 2 | Second ellipse guide going from m=4 to m=1.5-2 in the primary part of the guide. Guide length 30-160m (110m m=2 10k€/m, 20m m=2-5, 30 k€/m) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 425000 | 0 | 850000 | 0 | 425000 | 0 | 0 | 0 | 2
[8 empty] | Manpower |  | 0 | 2 |  | HEIGHT | 1.3 | [7 empty] | Steel | total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
[12 empty] | Thickness x Height x Width (TxHxW) | THICKNESS | 0.7 | roof |  | Wall+roof |  |  |  | €/module | m3 | m3 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.2 | 0.6 | 0.2 |  | 1 | 30-150m | Shielding | 1525824 |  | 1 | 2x concrete walls (0.75 x, 1.3 x 0.5) + roof (0.75 x 2.4 x 0.5) - 1.85 m3 + 10 cm steel in walls (1.3x0.5x0.1) +roof- 240 elements | Wall | 0.455 | 1.2 | Total | 2.11 | m3 | 5.275 | tonne | 3798 | 0.18 | 43.2 | 614304 | 1 | 0 | 0 | 0 | 0 | 305164.8 | 0 | 915494.4 | 0 | 305164.8 | 0 | 0 | 0 | 1
|  | 0.2 | 0.6 | 0.2 |  | 1 | 54 | Manpower |  | 103680 | 1 | Placing of the 240 shielding elements (3 hours per piece, for three people) total 720 hours/person | 2160 | hours | 103680 | [9 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 20736 | 0 | 62208 | 0 | 20736 | 0 | 0 | 1
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.2 | 0.6 | 0.2 |  | 1 | 30-45m | Additional shielding | 180000 |  | 1 | Additional steel shielding is need just after the bunker due higher m-coating at the start of the ellipse ~100 tonne steel | [12 empty] | 1 | 0 | 0 | 0 | 0 | 36000 | 0 | 108000 | 0 | 36000 | 0 | 0 | 0 | 1
|  | 0.2 | 0.6 | 0.2 |  | 1 | 18 | Manpower |  | 34560 | 1 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 6912 | 0 | 20736 | 0 | 6912 | 0 | 0 | 1
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | FO chopper pit | [16 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 1 | 0 |  | 1 | 78m | Chopper | 130000 |  | 3 | Frame overlap chopper, low speed chopper 14 Hz, diameter 1280 mm, position at half the distance | Pitt | m3 | tonne | Concrete | Steel | Boralcan | [6 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 130000 | 0 | 0 | 0 | 0 | 0 | 3
|  | 0 | 1 | 0 |  | 1 |  | Shielding | 55490 |  | 1 | Extra concrete 15 m3 + iron (1.2x1x1 0.3 m thick - 2.4 m3) + Boralcan (5m^2) | Wall 2x1.3x1x2+roof 2x4x1 | 16.2 | 40.5 | 29160 | 21330 | 5000 | [6 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 55490 | 0 | 0 | 0 | 0 | 0 | 1
|  | 0 | 1 | 0 |  | 1 |  | Materials | 30000 |  | 3 | Includes cabling and control racks (2 slots) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 30000 | 0 | 0 | 0 | 0 | 0 | 3
|  | 0 | 1 | 0 |  | 1 | 8 | Manpower |  | 15360 | 3 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15360 | 0 | 0 | 0 | 0 | 3
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Slits | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 1 | 0 |  | 1 | 149,151,153,155m | Jaw slit system | 120000 |  | 7 | 4x individual slit systems including motordrive and controller rack | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 120000 | 0 | 0 | 0 | 0 | 0 | 7
|  | 0 | 0.8 | 0.2 |  | 1 | 12 | Manpower |  | 23040 | 7 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18432 | 0 | 4608 | 0 | 0 | 7
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Instrument hall (E01) | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | Experimental cave |  |  |  | The experimental cave will have access from the top | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 | 0 | 0 |  | 1 |  | False floor | 80000 |  | 9 | The floor needs to be lifted to the beam height (Price very uncertain) ?? | [12 empty] | 1 | 0 | 0 | 0 | 0 | 80000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
|  | 1 | 0 | 0 |  | 1 | 8 | Manpower |  | 15360 | 9 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 15360 | 0 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0.2 | 0.6 | 0.2 |  | 1 | 150-158m | Shielding Guide | 159264 |  | 1 | Steel shielding near instrument due to limited space and need for higher absorption 0.35 m (0.3x1.2x0.5)x2+(0.3x1.6x0.5) ~76 tonne | 88.48 | tonne | 159264 | [9 empty] | 1 | 0 | 0 | 0 | 0 | 31852.8 | 0 | 95558.4 | 0 | 31852.8 | 0 | 0 | 0 | 1
|  | 0.3 | 0.5 | 0.2 |  | 1 | 4.8 | Manpower |  | 9216 | 1 | Placing of shielding - assuming blocks of 0.5 m installed per four hour with 3 people involved 16 units (16x3x4) = 192 | Concrete m3 |  | Steel m3 | 192 | Boralcan | Steel roof m3 | cost € | Boralcan |  |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 2764.8 | 0 | 4608 | 0 | 1843.2 | 0 | 0 | 1
|  | 0 | 1 | 0 |  | 1 | 2.5-3.5m | Shielding diffraction | 319314.3134 |  | 1 | Shielding 1 m thick, placed 2.5 to 3.5 m from the sample with height of 2m (3.5^2-2.5^2)xPIx2 m3 = 38 m3 + steel 0.1m + inner shielding boralcan (3mm) 1000Euro /m^2 (roof and walls) - 31 m2 = 31000€, +0.1 mm steel (26m2), 31*0.1*7.9*4000 = 82160 € (steel roof) 2.7^2*PI*0.350m*7.9 = 54 tons (217112) | 37.6991 | 67858.4013 | 82160 |  | 31415.9265 | 8.3154 | 118245.0314 | 19.635 | 19634.9541 |  |  |  | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 319314.3134 | 0 | 0 | 0 | 0 | 0 | 1
|  | 0 | 1 | 0 |  | 1 | 15 | Manpower |  | 28800 | 1 | Placing of shielding - assuming blocks of 0.5 m installed at a rate of 1 per four hour with 3 people involved circumference (2x3m*PI) =20 m (40x3x4h + 120h roof) = 600 h | 600 | hours |  | 86400 | [8 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28800 | 0 | 0 | 0 | 0 | 1
|  | 0 | 1 | 0 |  | 1 |  | Trap door | 15000 |  | 9 | 1x1x0.4 steel slab mounted on ball bearings | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 15000 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0 | 1 | 0 |  | 1 |  | Trap door motion | 7000 |  | 9 | Mechanism for opening and closing of door. | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 7000 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0 | 1 | 0 |  | 1 | 4 | Manpower |  | 7680 | 9 | Installation |  | concrete | [10 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7680 | 0 | 0 | 0 | 0 | 9
|  | 0 | 1 | 0 |  | 3 | 10 m | Shielding SANS | 260454 |  | 1 | Shielding 1 m thick, wall 2x(10-2.5*2*1) + end (4x2x1) + roof (10-2.5*4*1) + 0.1m steel + 3 mm boralcan | 68 | 122400 | 81054 | 57 | 57000 | [7 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 260454 | 0 | 0 | 0 | 0 | 0 | 1
|  | 0 | 0.2 | 0.8 |  | 3 | 12.05 | Manpower |  | 23136 | 1 | Placing of shielding - assuming blocks of 0.5 m installed per 3 hour with 3 people (15*3*3)x2+8*3*3+roof(140)=482h | 482 | [11 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4627.2 | 0 | 18508.8 | 0 | 0 | 1
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | PSS | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.1 | 0.2 | 0.4 | 0.2 | 0.1 | 1 |  | Personal safety | 125000 |  | 11 | This includes manpower and all installation. | [12 empty] | 1 | 0 | 0 | 12500 | 0 | 25000 | 0 | 50000 | 0 | 25000 | 0 | 12500 | 0 | 11
| 0 | 0 | 1 | 0 | 0 | 3 |  | SANS PSS | 50000 |  | 11 | This includes adaption need for including SANS | [12 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 50000 | 0 | 0 | 0 | 0 | 0 | 11
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Sample tank | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 1 | 0 |  | 1 | 160m | Diffraction tank | 280000 |  | 9 | Tank for the diffraction setup to held in Ar atmosphere - V window towards the sample | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 280000 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0 | 1 | 0 |  | 2 | 160m | Radial collimator | 235000 |  | 7 | Moving radial collimator wiht 1o separation between blades - background reduction from sample envionment. | [12 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 235000 | 0 | 0 | 0 | 0 | 0 | 7
|  | 0 | 1 | 0 |  | 1 | 160m | Sample table | 125000 |  | 7 | Motion control four axis, x,y,z and omega - load maximum 1000 kg | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 125000 | 0 | 0 | 0 | 0 | 0 | 7
|  |  | 1 |  |  | 1 | 160m | Materials | 50000 |  | 7 | Control rack and cabling | [12 empty] | 1 | 0 |  | 0 |  |  |  | 50000 | 0 |  |  | 0 |  | 7
|  | 0 | 0.2 | 0.8 |  | 1 | 24 | Manpower |  | 46080 | 9 | Installation of diffractometer tank, sample table and radial collimator | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9216 | 0 | 36864 | 0 | 0 | 9
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | SANS tank | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 1 | 0 |  | 3 | 160-170m | SANS tank | 800000 |  | 9 | [13 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 800000 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0 | 1 | 0 |  | 3 |  | False floor | 90000 |  | 9 | Extension of falls floor for SANS tank | [12 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 90000 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0 | 0.2 | 0.8 |  | 3 | 12 | Manpower |  | 23040 | 9 | [13 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4608 | 0 | 18432 | 0 | 0 | 9
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Diffraction detectors | [5 empty] | 1553900 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.2 | 0.4 | 0.4 |  | 2 | 10-150o | Detectors | 1328900 |  | 5 | Detector coverage is 140o, distance 1.25 m, height 0.5 m (area 1.527 m2) - 194 segments cost 6950 €/m2 (1328900€) from CDT | [12 empty] | 2 | 0 | 0 | 0 | 0 | 265780 | 0 | 531560 | 0 | 531560 | 0 | 0 | 0 | 5
|  | 0.6 | 0.4 | 0 |  | 2 |  | Detector support | 225000 |  | 9 | The angular support is costed at 1500€ per o | [12 empty] | 2 | 0 | 0 | 0 | 0 | 135000 | 0 | 90000 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0.3 | 0.5 | 0.2 |  | 2 | 54.972 | Manpower |  | 131932.8 | 5 | Detector installation is assumed costed at 1 man/year pr. m2 | [12 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 39579.84 | 0 | 65966.4 | 0 | 26386.56 | 0 | 0 | 5
|  | 0.2 | 0.4 | 0.4 |  | 1 | 150-170o | Backscattering | 500400 |  | 9 | Backscattering detectors at 150-170o is placed 1.5 m from the sample and it consists of 36 segments 1 m heigh 13900 €/m2 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 100080 | 0 | 200160 | 0 | 200160 | 0 | 0 | 0 | 9
|  | 0.6 | 0.4 | 0 |  | 1 |  | Detector support | 30000 |  | 5 | Detector installation is assumed costed at 1 man/year pr. m2 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 18000 | 0 | 12000 | 0 | 0 | 0 | 0 | 0 | 5
|  | 0.3 | 0.5 | 0.2 |  | 1 | 18 | Manpower |  | 43200 | 9 | Detector installation is assumed costed at 1 man/year pr. m2 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 12960 | 0 | 21600 | 0 | 8640 | 0 | 0 | 9
|  | 0.2 | 0.4 | 0.4 |  | 3 | 170o-190o | Backscattering a/b Detector | 500400 |  | 5 | Backscattering detectors at 170-190o is placed 1.5 m from the sample and it consists of 72 segments 0.5 m heigh 13900 €/m2, placed in two modules of 36 above and below the sample. | [12 empty] | 3 | 0 | 0 | 0 | 0 | 100080 | 0 | 200160 | 0 | 200160 | 0 | 0 | 0 | 5
|  | 0.6 | 0.4 | 0 |  | 3 |  | Detector support | 60000 |  | 9 | [13 empty] | 3 | 0 | 0 | 0 | 0 | 36000 | 0 | 24000 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0.3 | 0.5 | 0.2 |  | 3 | 18 | Manpower |  | 43200 | 9 | Detector installation is assumed costed at 1 man/year pr. m2 | [12 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 12960 | 0 | 21600 | 0 | 8640 | 0 | 0 | 9
|  | 0.2 | 0.4 | 0.4 |  | 3 | 190-210o | Backscattering Detector | 500400 |  | 5 | Backscattering detectors at 190-210o is placed 1.5 m from the sample and it consists of 36 segments 1 m heigh 13900 €/m2 | [12 empty] | 3 | 0 | 0 | 0 | 0 | 100080 | 0 | 200160 | 0 | 200160 | 0 | 0 | 0 | 5
|  | 0.6 | 0.4 | 0 |  | 3 |  | Detector support | 30000 |  | 9 | [13 empty] | 3 | 0 | 0 | 0 | 0 | 18000 | 0 | 12000 | 0 | 0 | 0 | 0 | 0 | 9
|  | 0.3 | 0.5 | 0.2 |  | 3 | 18 | Manpower |  | 43200 | 9 | Detector installation is assumed costed at 1 man/year pr. m2 | [12 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 12960 | 0 | 21600 | 0 | 8640 | 0 | 0 | 9
[6 empty] | 4 | 210-305o | Detectors | 917400 |  | 5 | Detector coverage is 95o, distance 1.25 m, height 0.5 m (area 1.05m2) - 132 segments cost 6950 €/m2 (€) | [12 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
[6 empty] | 4 |  | Detector support | 142500 |  | 9 | [13 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9
[6 empty] | 4 | 37.8 | Manpower |  | 90720 | 5 | [13 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Beam monitor | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 1 | 158m | beam monitor | 110000 |  | 5 | Beam monitor to assess incoming flux, including cabling and controller hardware | [12 empty] | 1 | 0 | 0 | 0 | 0 | 110000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
|  |  | 0.8 | 0.2 |  | 1 | 6 | Manpower |  | 11520 | 5 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9216 | 0 | 2304 | 0 | 0 | 5
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | SANS Detector | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0 | 1 | 0 |  | 3 | 170m | SANS Detector A | 500000 |  | 5 | BandGem (HxW) = (1 x 0.5) =0.5m2 detector placed 10 m from the sample position, off center to the right 1M€/m2 | [12 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 500000 | 0 | 0 | 0 | 0 | 0 | 5
|  | 0 | 0.5 | 0.5 |  | 3 |  | Manpower |  | 43200 | 5 | [13 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21600 | 0 | 21600 | 0 | 0 | 5
[6 empty] | 4 | 164.5m | SANS Detector B | 500000 |  | 5 | BandGem (HxW) = (1 x 0.5) =0.5m2 detector placed 4.5 m from the sample position, covering angles until ~10o | [12 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
[6 empty] | 4 |  | Manpower |  | 43200 | 5 | [13 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Imaging detector | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[6 empty] | 4 | 160.5m | Imaging detector | 147000 |  | 5 | ASI timepix 28x28 mm2 with resolution 55x55 µm2, readout 1400 Hz | [12 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
[6 empty] | 4 | 6 | Manpower |  | 11520 | 5 | [13 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Sample environment | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 1 |  |  | 2 | 160m | Robotic sample changer | 50000 |  | 4 | Running multiple samples without intervention | [12 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 50000 | 0 | 0 | 0 | 0 | 0 | 4
|  |  | 0.2 | 0.6 | 0.2 | 2 | 6 | Manpower |  | 11520 | 4 | [13 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2304 | 0 | 6912 | 0 | 2304 | 4
|  |  | 1 |  |  | 2 |  | Multi temperature sample changer | 250000 |  | 4 | Multitemperature sample changer capable of running in the temperature interval between 2-800 K.M25 | [12 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 250000 | 0 | 0 | 0 | 0 | 0 | 4
|  |  | 0.2 | 0.6 | 0.2 | 2 | 12 | Manpower |  | 23040 | 4 | [13 empty] | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4608 | 0 | 13824 | 0 | 4608 | 4
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Beamstop | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0.6 | 0.4 |  | 1 |  | Beamstop | 50000 |  | 9 | Get lost tube, beamstop and heavy sheilding | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 30000 | 0 | 20000 | 0 | 0 | 0 | 9
|  |  |  | 1 |  | 1 | 14 | Manpower |  | 26880 | 9 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 26880 | 0 | 0 | 9
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Crane | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 1 | 0 |  | 1 | 160m | Crane outside cave | 60000 |  | 9 | Crane for moving sample environment in and out ( 900 kg) including installation external company. | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 60000 | 0 | 0 | 0 | 0 | 0 | 9
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Instrument Hutch | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 1 |  |  | 1 | 165m | Instrument hutch and laboratory space | 150000 |  | 9 | Control hutch and local preparation of samples. | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 150000 | 0 | 0 | 0 | 0 | 0 | 9
|  |  | 0.2 | 0.8 |  | 1 | 14 | Manpower |  | 26880 | 9 | [13 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5376 | 0 | 21504 | 0 | 0 | 9
[10 empty] | 1141084.8 |  | 9.9053 | 9.9053 | [11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Instrument specific |  |  |  |  | Salaries are increased by 1.02 per year - general inflation rate | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Phase 1 |  |  |  |  | Man years | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | [5 empty] | 1 | 48 | Lead Engineer |  | 115200 | 8 | 1 | [12 empty] | 1 | 0 | 115200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
1 | [5 empty] | 1 | 48 | Lead Scientist |  | 115200 | 8 | 1 | [12 empty] | 1 | 0 | 115200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
1 | [5 empty] | 1 | 48 | Post doc |  | 92160 | 8 | 1 | [12 empty] | 1 | 0 | 92160 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
1 | [5 empty] | 1 |  | Travel | 4840 |  | 8 | [13 empty] | 1 | 4840 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
[7 empty] | Phase 2 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1 |  |  |  |  | 1 | 48 | Lead Engineer |  | 115200 | 8 | 1 | [12 empty] | 1 | 0 | 0 | 0 | 115200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
| 1 |  |  |  |  | 1 | 48 | Lead Scientist |  | 115200 | 8 | 1 | [12 empty] | 1 | 0 | 0 | 0 | 115200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
| 1 |  |  |  |  | 1 | 12 | PSI, IFE, AU (4 weeks/year/partner) |  | 28800 | 8 | The cost includes travel | [12 empty] | 1 | 0 | 0 | 0 | 28800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
| 1 |  |  |  |  | 1 | 24 | Travel (Lead Eng, Sci 2 trips per month) | 11520 |  | 8 | 2x Aarhus-Lund (round trip 480€) including accomodation. (1000 DKK per vej transport (x2), overnatning 1000 DKK, dagpenge 1000) | [12 empty] | 1 | 0 | 0 | 11520 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Phase 3 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1 |  |  |  | 1 | 124 | Lead Engineer |  | 297600 | 8 | 2.5833 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 297600 | 0 | 0 | 0 | 0 | 0 | 0 | 8
|  | 1 |  |  |  | 1 | 124 | Lead Scientist |  | 297600 | 8 | 2.5833 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 297600 | 0 | 0 | 0 | 0 | 0 | 0 | 8
|  | 1 |  |  |  | 1 | 31 | PSI, IFE, AU |  | 74400 | 8 | The cost includes travel | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 74400 | 0 | 0 | 0 | 0 | 0 | 0 | 8
|  | 1 |  |  |  | 1 | 93 | Travel (Lead Eng, Sci 2 trips per month) | 44640 |  | 8 | Aarhus-Lund (round trip 480€) including accomodation. (1000 DKK per vej transport (x2), overnatning 1000 DKK, dagpenge 1000) (3 times per month) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 44640 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Phase 4 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 1 |  |  | 1 | 128 | Lead Engineer |  | 307200 | 8 | 2.6667 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 307200 | 0 | 0 | 0 | 0 | 8
|  |  | 1 |  |  | 1 | 128 | Lead Scientist |  | 307200 | 8 | 2.6667 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 307200 | 0 | 0 | 0 | 0 | 8
|  |  | 1 |  |  | 1 | 32 | PSI, IFE, AU |  | 76800 | 8 | The cost includes travel | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76800 | 0 | 0 | 0 | 0 | 8
|  |  | 1 |  |  | 1 | 96 | Travel (Lead Eng, Sci 2 trips per month) | 46080 |  | 8 | 3x trips per month, Aarhus- Lund (round trip 480€) including accomodation. (1000 DKK per vej transport (x2), overnatning 1000 DKK, dagpenge 1000) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 46080 | 0 | 0 | 0 | 0 | 0 | 8
[25 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Phase 5 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | 1 |  | 1 | 48 | Lead Engineer |  | 115200 | 8 | 1 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115200 | 0 | 0 | 8
|  |  |  | 1 |  | 1 | 48 | Lead Scientist |  | 115200 | 8 | 1 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115200 | 0 | 0 | 8
|  |  |  | 1 |  | 1 | 12 | PSI, IFE, AU |  | 28800 | 8 | The cost includes travel | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28800 | 0 | 0 | 8
|  |  |  | 1 |  | 1 | 36 | Travel (Lead Eng, Sci 2 trips per month) | 17280 |  | 8 | Aarhus- Lund (round trip 480€) including accomodation. (1000 DKK per vej transport (x2), overnatning 1000 DKK, dagpenge 1000) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17280 | 0 | 0 | 0 | 8
[7 empty] | Phase 6 | [17 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | 1 | 1 | 36 | Lead Engineer |  | 86400 | 8 | 0.75 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86400 | 8
[5 empty] | 1 | 1 | 36 | Lead Scientist |  | 86400 | 8 | 0.75 | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86400 | 8
[5 empty] | 1 | 1 | 9 | PSI, IFE, AU |  | 21600 | 8 | The cost includes travel | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21600 | 8
[5 empty] | 1 | 1 | 27 | Travel (Lead Eng, Sci 2 trips per month) | 12960 |  | 8 | Aarhus- Lund (round trip 480€) including accomodation. (1000 DKK per vej transport (x2), overnatning 1000 DKK, dagpenge 1000) | [12 empty] | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12960 | 0 | 8
0
0
[10 empty] | 2396160 |  | 20.8
per person

## Option 1
1
| 01 Phase 1 | 02 Project Management & Integration | 03 Design | 04 Procurement & Fabrication | 05 Installation | 06 Cold Commissioning | Total
01 Shielding | 0 | 0 | 604470.4 | 1610209.1134 | 402508.8 | 0 | 2617188.3134 | 1
02 Neutron Optics | 0 | 0 | 1156800 | 850000 | 425000 | 0 | 2431800 | 2
03 Choppers | 0 | 0 | 979728 | 189184 | 0 | 4608 | 1173520 | 3
04 Sample Environment | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4
05 Detector and Beam Monitors | 0 | 0 | 128000 | 21216 | 2304 | 0 | 151520 | 5
06 Data Acquisition and Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
07 Motion Control and Automation | 0 | 0 | 0 | 313432 | 4608 | 0 | 318040 | 7
08 Instrument Specific Technical Equipment | 327400 | 270720 | 714240 | 737280 | 276480 | 207360 | 2533480 | 8
09 Instrument Infrastructure | 0 | 0 | 483400 | 786032 | 314048 | 0 | 1583480 | 9
10 Vacuum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
11 PSS | 0 | 12500 | 25000 | 50000 | 25000 | 12500 | 125000 | 11
12 Contingency | [6 empty] | 1214892.0348 | 12
Total | 327400 | 283220 | 4091638.4 | 4557353.1134 | 1449948.8 | 224468 | 12148920.3482
Labour included in above (Person-Years) | 3 | 2.25 | 8.3331 | 8.3552 | 3.6638 | 1.7375 | 27.3396

## Option 2
2
| 01 Phase 1 | 02 Project Management & Integration | 03 Design | 04 Procurement & Fabrication | 05 Installation | 06 Cold Commissioning | Total
01 Shielding | 0 | 0 | 604470.4 | 1610209.1134 | 402508.8 | 0 | 2617188.3134 | 1
02 Neutron Optics | 0 | 0 | 1411800 | 850000 | 425000 | 0 | 2686800 | 2
03 Choppers | 0 | 0 | 979728 | 189184 | 0 | 4608 | 1173520 | 3
04 Sample Environment | 0 | 0 | 0 | 306912 | 20736 | 6912 | 334560 | 4
05 Detector and Beam Monitors | 0 | 0 | 433359.84 | 618742.4 | 560250.56 | 0 | 1612352.8 | 5
06 Data Acquisition and Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
07 Motion Control and Automation | 0 | 0 | 0 | 548432 | 4608 | 0 | 553040 | 7
08 Instrument Specific Technical Equipment | 327400 | 270720 | 714240 | 737280 | 276480 | 207360 | 2533480 | 8
09 Instrument Infrastructure | 0 | 0 | 618400 | 876032 | 314048 | 0 | 1808480 | 9
10 Vacuum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
11 PSS | 0 | 12500 | 25000 | 50000 | 25000 | 12500 | 125000 | 11
12 Contingency | [6 empty] | 1493824.5682 | 12
Total | 327400 | 283220 | 4786998.24 | 5786791.5134 | 2028631.36 | 231380 | 14938245.6815
Labour included in above (Person-Years) | 3 | 2.25 | 8.7626 | 9.146 | 4.1751 | 1.8125 | 29.1461

## Option 3
3
| 01 Phase 1 | 02 Project Management & Integration | 03 Design | 04 Procurement & Fabrication | 05 Installation | 06 Cold Commissioning | Total
01 Shielding | 0 | 0 | 604470.4 | 1875290.3134 | 421017.6 | 0 | 2900778.3134 | 1
02 Neutron Optics | 0 | 0 | 1411800 | 850000 | 425000 | 0 | 2686800 | 2
03 Choppers | 0 | 0 | 1308848 | 189184 | 0 | 4608 | 1502640 | 3
04 Sample Environment | 0 | 0 | 0 | 306912 | 20736 | 6912 | 334560 | 4
05 Detector and Beam Monitors | 0 | 0 | 633519.84 | 1540662.4 | 982170.56 | 0 | 3156352.8 | 5
06 Data Acquisition and Analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6
07 Motion Control and Automation | 0 | 0 | 0 | 548432 | 4608 | 0 | 553040 | 7
08 Instrument Specific Technical Equipment | 327400 | 270720 | 714240 | 737280 | 276480 | 207360 | 2533480 | 8
09 Instrument Infrastructure | 0 | 0 | 698320 | 1849840 | 349760 | 0 | 2897920 | 9
10 Vacuum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10
11 PSS | 0 | 12500 | 25000 | 100000 | 25000 | 12500 | 175000 | 11
12 Contingency | [6 empty] | 1860063.457 | 12
Total | 327400 | 283220 | 5396198.24 | 7997600.7134 | 2504772.16 | 231380 | 18600634.5704
Labour included in above (Person-Years) | 3 | 2.25 | 9.7938 | 9.9493 | 4.9978 | 1.8125 | 31.8034

## .
Option 1 Detector upgrade |  |  |  | Option 2 SANS upgrade |  |  |  | Option 2 upgrade to imaging
Upgrade with diffraction detectors 10-150 |  |  |  | Upgrade to SANS |  |  |  | Upgradable for imaging
Detectors, including support | 1.55 | M€ |  | SANS Cave | 0.26045 | M€ |  | Choppers | 0.31 | M€
Manpower | 0.25 | M€ |  | SANS Tank | 0.8 | M€ |  | Detector (Timepix) | 0.15 | M€
Radial collimator | 0.25 | M€ |  | SANS Detector | 0.5 | M€ |  | Manpower | 0.05 | M€
Manpower | 0.05 | M€ |  | Cold chopper | 0.31 | M€ |  | Contingency | 0.056667 | M€
Reopening Shielding | 0.06 | M€ |  | False floor | 0.09 | M€ |  | Total (Imaging upgrade) | 0.56667 | M€
Contingency | 0.24 | M€ |  | PSS | 0.05 | M€
Total cost | 2.4 | M€ |  | Manpower | 0.26083 | M€
|  |  |  | Contingency | 0.25237 | M€
|  |  |  | Total cost | 2.5237 | M€
SANS chopper | [8 empty] | SANS
6.75m | Low speed chopper | 110000 |  |  | Choppers | 310000 |  |  | SANS Cave | 0.80 M€ |  | SANS Cave | 260454
18m | Low speed chopper | 110000 |  | 54 | Manpower | 103680 |  |  | Choppers | 0.75 M€ |  | SANS Tank | 800000
0 | Chopper mount | 50000 |  |  | Tank | 800000 |  |  | SANS tank | 0.80 M€ |  | SANS Detector | 500000
0 | Materials | 40000 |  |  | False floor | 90000 |  |  | Manpower | 0.50 M€ |  | Cold chopper | 310000
36 | Manpower |  | 69120 |  | Manpower | 46080 |  |  | Slits | 0.10 M€ |  | False floor | 90000
[5 empty] | Shielding | 260454 |  |  | PSS | 0.05 M€ |  | PSS | 50000
SANS upgrade |  |  |  |  | Manpower | 46272 |  |  | Detector (Bandgem 1x0.5 m2) | 0.50 M€ |  | Manpower | 260832
160-170m | SANS tank | 800000 |  |  | PSS | 50000 |  |  | Contingency | 0.35 M€
0 | False floor | 90000 |  |  | Detector | 500000 |  |  | Total cost SANS | 3.85 M€
12 | Manpower |  | 23040 |  | Manpower | 64800
SANS shielding
10 m | Shielding SANS | 260454
12.05 | Manpower |  | 23136
SANS PSS
0 | SANS PSS | 50000
SANS Detector
170m | SANS Detector A | 500000
0 | Manpower |  | 43200 | [5 empty] | Upgradable for imaging
[9 empty] | Choppers | 310000 |  | Choppers | 0.31
[9 empty] | Detector (Timepix) | 143000 |  | Detector (Timepix) | 0.143
[9 empty] | Manpower | 46080 |  | Manpower | 0.04608
[9 empty] | Contingency | 49908 |  | Contingency | 0.049908
[9 empty] | Total | 548988 |  | Total | 0.54899
Timeline:
Phase 1 | end | Phase 2 |  | Phase 3 |  | Phase 4 |  | Phase 5 |  | Phase 6 |  | Hot comissioning
start 1/5 | 2017-05-31 | 2017-06-01 | 2018-05-31 | 2018-06-01 | 2020-12-31 | 2021-01-01 | 2023-07-31 | 2023-08-01 | 2024-07-31 | 2024-08-01 | 2025-04-30
| ~1 year |  | ~1 year
|  |  |  | 2.6 |  | 2.7 |  | 1 |  |  | 9