## Slide 1: ESS-Alarm project
Kick-off meting, Lund 2016-10-17
In-kind contribution from Institute for Energy Technology, Norway

## Slide 2: ESS-Alarm project objective
To work closely with ESS to provide the organization with the means to implement a best possible alarm system for safe and reliable operation

## Slide 3: Team presentation
John Einar Hulsund (project leader)
  At IFE since 1997, senior scientist
  M.Sc. In High Energy Physics (experimental particle physics)
  Experience with development and evaluation of operator support systems for the nuclear and oil industry
  Specialist areas: system design and implementation, prognostics and data analytics.
Jan Erik Farbrot
  At IFE since 1996, principal scientist
  M.Sc. in Engineering, System Construction with specialization
    in process control
  Consultant, manager, and applied researcher in different projects and industries both nationally and abroad
  Specialist areas: system construction, control room modernisation, alarm management tools and systems, multi-disciplinary project management

## Slide 4: Alarm project overview
Alarm System Survey
Alarm Tools Recommendations
Alarm Management and Deployment Plan
Alarm Strategy

## Slide 5: Alarm system survey
Site visit to SNS Oak Ridge in Tennessee
  Questionnaire
  Observations
  Interviews
Systemizing and evaluation of the collected material
  Usability
  Standards
  Operational problems
  Adjustments done after startup (experience)
  Number of alarms for critical events
Report from Alarm System Survey

## Slide 6: Example excerpt from a standard questionnaire

## Slide 7: Alarm survey report topics
Operational feedback on the alarm situation in the control room.
Steps to design a well functioning alarm situation.
How the alarm system operates in relation to the safety and protection systems and the philosophy behind.
Which alarm management systems are used?
To what extent and in which format are the alarms stored? (e.g. for review by authorities after severe incidents?)
Lessons learned, e.g. differences between design strategies and current strategies. Issues.
Which software are used and how do these perform regarding e.g. human factors and interfaces.

## Slide 8: Alarm survey report topics (cont.)
How much data needs to be stored?
Open source software compliance with international alarm standards
Developments needs for BEAST HMI
Interfaces to other parts of the control system? (log-book, etc.)
How to develop BEAST to satisfy IEC standard and SSM requirements.

## Slide 9: Alarm Tools Recommendations
CSStudio BEAST
Recommendations for the integration of BEAST as an alarm tool
Alarm handling, acknowledgements
Alarm presentation, use of colors
Integration with workstation displays, overviews
Software readiness for alarm prioritizing, filtering, state-based alarms
Alarm tool performance, maintenance, and configuration.
Improvements and suggestions
Code maintainability

## Slide 10: Alarm Management and Deployment Plan
ESS-specific technical guidance
Guidance to alarm logic and integration
  Alarm design principles
  Class definition
  Prioritization
  Set-point determination
  Alarm structure maintenance
  Testing and documentation
  Review process
  Alarm rationalization
  Advanced alarm management techniques
Ensure that only actionable and meaningful alarms are presented to the control room operator

## Slide 11: Alarm Philosophy
ESS specific alarm philosophy
Industry best practices to develop an ESS specific Alarm Philosophy
To comply with
  Alarm Management Guide [Hollifield & Habibi]
  International standard [IEC 62682]
  SSM requirements
  Etc
Review ESS Alarm Strategy document [GoalArt] and use it as input.

## Slide 12: Project scope
Duration 2016-10.15 – 2017.04.15

## Slide 13: Alarm reference projects