## Recap
COMPONENT | Cost | Source | Year of procurement | Laboratory
Heavy shutter | 200000 | PSI Estimate | 2018 | 1 | Balanced configuration
[5 empty] | Laboratory | Components | Manpower | Sum | % Total | % Manpower
Bender | 60000 |  | 2018 | 1 | LLB | 5406 | 1634.0024 | 7040.0024 | 58.91% | 23.21%
[5 empty] | JCNS | 2472 | 310 | 2782 | 23.28% | 11.14%
Choppers | 750000 |  | 2018 | 2 | PSI | 1885 | 243 | 2128 | 17.81% | 11.42%
PSC | 500000 | JCNS Quote |  |  | Sub-total | 9763 | 2187.0024 | 11950.0024 | 100% | 18.3%
SC | 125000 | JCNS Quote |  |  | Contingency | 976 | 177 | 1153
BC | 125000 | JCNS Quote |  |  | Total | 10739 | 2364 | 13103
Neutron transport | 2749559 |  |  | 1 | Laboratory Keycode
Super mirrors | 2046859 | Swiss Neutronics | 2018 |  | LLB | 1
Guide field | 82700 | Bunting Magnetics | 2018 |  | JCNS | 2
Magnets | 21000 | Bunting Magnetics |  |  | PSI | 3
Man Power | 21000 | Bunting Magnetics
Soft Iron | 40700 | Magnetic Shields
Saturation field | 90000 | Bunting Magnetics | 2018
Vacuum Housing | 470000 |  | 2018
Housing | 270000 | SwissNeutronics: 600 k€
Positionning | 200000
Spin Rotator | 10000 | Estimate | 2018
Spin Flipper | 30000 | Estimate | 2018
XYZ polar. | 20000 | Estimate | 2018
Analyzer | 1885220 | PSI in € | 2018 | 3
Materials | 1111000 | CHF | 4 years of production
Overhead | 277750 | CHF
Man Power | 675000 | CHF
Focusing device | 75000 |  |  | 1
Super-mirrors | 65000 | m>4 SN value
Positionning | 5000 | Trioptics quote
Housing | 5000 | Scaling guide housing
Divergence control | 100000 | DREAM like |  | 2
Shielding | 733527 | PSI calculations | 2018 | 1
Sample station | 185000
Sample table | 40000 | Huber+utilities | 2019 | 1
Utilities | 50000 |  | 2021 | 1
Cryostat | 50000 | SE estimate | 2019 | 2
Sample goniometer piezo | 45000 | Attocube XY+2 gonios CuBe |  | 1
Detectors | 1571768
Large | 1287903 |  | 2018 | 2
Small | 243865 |  | 2018 | 2
Monitors | 40000 |  | 2020 | 2
Radial collimator | 110000 | EuroCollimator |  | 1
Experimental cave | 981443 |  |  | 1
Normal Concrete walls | 295900 | Normal concrete | 2019
B4C mix | 107589 | B4C in concrete | 2019
PSS | 100000 | Safety mean price | 2019
Polished concrete | 9600 | 600 €/m2 | 2019
Beamline baselevel | 53354.4 | Concrete price | 2019
Light shutters | 20000 |  | 2019
Control hutch | 100000 |  | 2019
Sample prep lab | 25000 |  | 2019
Various construction costs | 270000 | Infrastructure(crane,etc) | 2019
MCA | 361860 |  | 2019 | 1

## Balanced
Total Cost | 13105 | k€ | Manpower | 2187.0024 | k€ | Contingency | 1154
|  |  | Components | 9764.459 | k€
Shielding & Cave |  | 1411
Shielding |  | 954
First Ellipse | 476 |  | Uwe design*material costs
Polarizer | 99 |  | Uwe design*material costs
Second Ellipse | 159 |  | Uwe design*material costs
Heavy Shutter | 200 |  | PSI estimate
Fast Shutter | 20 |  | Validated by Phil
Exp. Cave |  | 457
Walls & Roof | 296 |  | Concrete price: 80 cm thick
Base Level | 53 |  | Concrete price: 60 cm base
B4C | 108 |  | 217 m2 @ 5mm thickness
Instrument Infrastructure |  | 504.6
Sample prep. lab. | 25 |  | Glove box, Fume, Binocular, Small material
Control Hutch | 100 |  | 2 floors, computers, desk, chairs, coffee machine, fridge
Crane/hook | 30 |  | 1T hook
Utilities | 50 |  | SAD request
Polished Concrete | 9.6 |  | 16 m2 for detector support
PSS | 100 |  | Mean cost
Various cost | 190 |  | Mechanical assembly of concrete, metallic beam for support, mezzanine
Man power |  | 2187.0024
Phase 1 | 399.6
Phase 2 | 480.6
Phase 3 | 446.4
Phase 4 | 710.4024
Travel | 150
MCA |  | 362
Hardware | 65 |  | 32 motors + encoders + cable estimates
Man power | 219 |  | MCAG quote
Utilities | 78 |  | MCAG quote
Choppers |  | 750
PSC | 500 |  | JCNS estimate
SC | 125 |  | JCNS estimate
BC | 125 |  | JCNS estimate
Detectors & Monitors |  | 1572
Monitors | 40 |  | 2 PSD/TOF monitors
Large detector 1 | 1287.903 |  | 60°x48° @ 100% eff
Small detector | 243.865 |  | 120x6 @ 100% eff
Bottom detector | 0 |  | 6T2 technology estimate
Sample Env. |  | 185
Sample table | 40 |  | Huber like
Magnet | 0 |  | Estimate from IRFU
Cryostat | 50 |  | LLB estimate
Dilution Fridge | 0 |  | LLB estimate
Piezo actuators | 45 |  | Attocube
Various | 50 |  | Utilities
Neutron Optics & Polar |  | 4979.859
Optics |  | 2861.859
Super-mirrors | 2046.859 |  | Swiss Neutronics
Vacuum Housing | 470 |  | ILL based estimate
Focusing | 75 |  | Scaling from guide
Divergence | 100 |  | LLB estimate (DREAM)
Collimator | 110 |  | Eurocollimator quote
Bender | 60 |  | Analyzer scaling
Polarization |  | 2118
Analyzer | 1885 |  | PSI: materials, coating, manpower, overhead
Guide field | 83 |  | Magnets+soft iron
Saturation field | 90 |  | Magnets+soft iron
Rotator | 10 |  | 2 rotators
Flipper | 30 |  | HF flipper
XYZ | 20 |  | Multicoil setup

## Table_scope (hidden)
| 01 Phase 1 | 02 Phase 2 | 03 Phase 3 | 04 Phase 4 | Total (k€)
Shielding & Cave
| 0 | 0 | 1269.3334 | 141.037 | 1410.3704
Neutrons Optics & Polarization
Cost category | 0 | 0 | 4225.5 | 469.5 | 4695
Config. 2 | 0 | 0 | 4464 | 496 | 4960
Config. 3 | 0 | 0 | 4464 | 496 | 4960
Choppers
| 0 | 0 | 675 | 75 | 750
Sample Environment
Cost category | 0 | 0 | 36 | 4 | 40
Config. 2 | 0 | 0 | #REF! | #REF! | #REF!
Config. 3 | 0 | 0 | #REF! | #REF! | #REF!
Detectors & Beam Monitors
Cost category | 0 | 0 | #REF! | #REF! | #REF!
Config. 2 | 0 | 0 | #REF! | #REF! | #REF!
Config. 3 | 0 | 0 | #REF! | #REF! | #REF!
Data Acquisition and Analysis
| 0 | 0 | 0 | 0 | 0
Motion Control & Automation
| 0 | #REF! | #REF! | #REF! | #REF!
Instrument Specific Technical Equipment
| #REF! | #REF! | #REF! | #REF! | #REF!
Instrument Infrastructure
| 0 | 0 | 364.14 | 40.46 | 404.6
Vacuum
| 0 | 0 | 0 | 0 | 0
Personal Safety System
| 0 | 0 | 90 | 10 | 100
Contingency
Cost category | #REF! | #REF! | #REF! | #REF! | #REF!
Config. 2 | #REF! | #REF! | #REF! | #REF! | #REF!
Config. 3 | #REF! | #REF! | #REF! | #REF! | #REF!
Total
Cost category | #REF! | #REF! | #REF! | #REF! | #REF!
Config. 2 | #REF! | #REF! | #REF! | #REF! | #REF!
Config. 3 | #REF! | #REF! | #REF! | #REF! | #REF!

## Manpower
| 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Total (k€) | Contribution
LLB | 242 | 382.2 | 206.7 | 206.7 | 397.6016 | 198.8008 | 1634.0024 | 74.71% |  |  | Estimate
JCNS | 75 | 71 | 36.5 | 36.5 | 60.6667 | 30.3333 | 310 | 14.17% |  |  | Agreed
PSI | 98 | 62 | 5 | 5 | 48.6667 | 24.3333 | 243 | 11.11%
ESS | [6 empty] | 0 | 0%
Total | 415 | 515.2 | 248.2 | 248.2 | 506.9349 | 253.4675 | 2187.0024 | 100%
Personnel | Phase 1 | 12 months | Phase 2 | 12 months | Phase 3 | 24 months | Phase 4 | 18 months | Yearly cost | Costbook ESS
| Months | Cost | Months | Cost | Months | Cost | Months | Cost |  | Director | 180000
LLB | [9 empty] | Lead | 138600
Lead_sci | 10 | 90000 | 12 | 108000 | 24 | 216000 | 18 | 162000 | 108000 | Non-lead | 108000
Lead_eng | 10 | 90000 | 12 | 108000 | 12 | 108000 | 12 | 108000 | 108000 | Postdoc/Tech | 86400
Senior_sci | 4 | 36000 | 2 | 18000 | 1 | 9000 | 0 | 0 | 108000 | Assistant/Lowtech | 72000
Techician/CAD | 3 | 21600 | 18 | 129600 | 7 | 50400 | 41.167 | 296402.4 | 86400 | Student | 36000
JCNS
JCNS_eng | 3 | 27000 | 3 | 27000 | 3 | 27000 | 3 | 27000 | 108000
JCNS_sci | 3 | 27000 | 4 | 36000 | 4 | 36000 | 6 | 54000 | 108000
JCNS_chop | 1 | 9000 | 0 | 0 | 0 | 0 | 0 | 0 | 108000
JCNS_det | 1 | 9000 | 0 | 0 | 0 | 0 | 0 | 0 | 108000
PSI
PSI_sci | 6 | 54000 | 3 | 27000 | 0 | 0 | 3 | 27000 | 108000
PSI_eng | 4 | 36000 | 3 | 27000 | 0 | 0 | 4 | 36000 | 108000
Travel
LLB |  | 4400 |  | 18600 |  | 30000 |  | 30000
JCNS |  | 3000 |  | 8000 |  | 10000 |  | 10000
PSI |  | 8000 |  | 8000 |  | 10000 |  | 10000
Cost
Phase1 | 399.6
Phase2 | 480.6
Phase3 | 446.4
Phase4 | 710.4024
Travel | 150

## Op_polar
Optics |  |  |  | Polarization
Neutron Guide | 2516859 | 2516859 | 2516859 | Guide field | 82700
Super-mirrors | 2046859 | 2046859 | 2046859 | Magnets | 21000
Housing | 270000 | 270000 | 270000 | Man Power | 21000
Positionning | 200000 | 200000 | 200000 | Soft Iron | 40700
|  |  |  | Saturation field | 90000
Focusing device | 0 | 75000 | 75000
Super-mirrors | 0 | 65000 | 65000 | Spin Handling | 60000
Positionning | 0 | 5000 | 5000 | Spin Rotator | 10000
Housing | 0 | 5000 | 5000 | Spin Flipper | 30000
|  |  |  | XYZ polar. | 20000
Radial collimator | 0 | 110000 | 110000
|  |  |  | Analyzer | 1885220
Divergence control | 0 | 100000 | 100000 | Materials | 1111000
|  |  |  | Overhead | 277750
Total | 2516859 | 2801859 | 2801859 | Man Power | 675000
|  |  |  | Bender | 60000
Grand Total | 4694779 | 4979779 | 4979779 | Super-mirrors | 50000
|  |  |  | Housing and motors | 10000
|  |  |  | Total | 2177920

## SE
| Cost B | Balanced | Full scope
Sample table | 40 | 40 | 40
Magnet | 0 |  | 1000
Cryostat | 0 | 50 | 50
Dilution Fridge | 0 |  | 250
Piezo actuators | 0 | 45 | 45
Utilities | 50 | 50 | 50
Total | 90 | 185 | 1435

## Det_mon
Monitors
Pre sample | 20000
Post sample | 20000
Cost | 40000
Detectors
Large
Efficiency | 80 | 100 | 100
Ang. Sector | 7.5 | 6 | 6
Aperture | 37.5 | 60 | 156
Cost | 801713 | 1287903 | 2843708
Small
Cost | 243865 | 243865 | 243865
Bottom
Cost | 0 | 0 | 120000
Total | 1045578 | 1531768 | 3207573
Grand Total | 1085578 | 1571768 | 3247573
Backend electronic | 212000

## Choppers
PSC
Cost | 500000
BC
Cost | 125000
SC
Cost | 125000
Total | 750000

## Shutters
Heavy Shutter
Cost | 200000
Fast Shutter
Cost | 20000
Total | 220000

## MCA
Motor | 800 |  | # translations | 16
Encoder | 750 |  | # rotations | 22
Cabling | 150 |  | Total | 38
Per axis | 1700 | €
Axes | 64600
Man_power | 153180 | MCAG billed
Cost | 217780
Racks | 78200 | MCAG
Racks manpower | 65880
Cost | 144080
Total | 361860

## Infrastructure
Control Hutch | Cost | Comments
Floor | 2
Length | 7
Width | 3
Surface | 42 | m2
Building price | 1000 | /m2
Various costs | 58000 | Furnitures, computer, installation, air conditionning, ...
Total | 100000
Sample Prep Lab | Cost | Comments
Binocular | 1500
Fume Hood | 8000
Glove Box | 14000
Various | 1500
Total | 25000
Experimental Cave | Cost | Comments
Crane/Hook | 30000
Utilities | 50000
Construction cost | 190000
Polished concrete | 9600
Total | 279600
PSS | 100000
Grand Total | 504600

## Exp_cave
Exp. Hutch shielding
Neutron Flux | 10000000000 | n/s |  | Exp height | 600 | cm |  | Area | 31.84 | m2
<Gamma flux> | 3759 | gamma/s/cm2 on exp walls |  | Exp width | 700 | cm |  | Volume | 269.472 | m3
doserate | 1.5 | µSv/h outside exp. hutch |  | Exp length | 700 | cm |  | Inner perim | 28 | m
Operation | 365 | days a year
<Gamma flux> out | 42 | gamma/s/cm2 on exp walls |  | Roof weight | 188.2368 | T
Attenuation | 90 |  |  | Roof press. | 5.91 | T/m2 | Metallic structure supporting the roof !
Concrete | Density | 2.4 | g/cm3 | Wall press | 14.4 | T/m2
Concrete thickness | 80 | cm |  | Total press | 20.31 | T/m2
Concrete volume | 269 | m3
Concrete price | 1100 | €/m3 (inc. shipment)
Cost | 295900
B4C estimate
Area | 217 | m2 |  | Attenuation @ | 1.2 | 1e-08
Thickness | 0.67 | cm
Volume | 1.4539 | m3
Market Price | 495.8 | €/m2
Cost | 107589
Baselevel
Volume | 48.504 | m3
Concrete Price | 1100 | €/m3
Cost | 53354.4
Grand Total | 456843.4

## Guide_shield
TOTAL COST: | 733.5268 | k€
Bunker hall | Dist: | 28 | 50 | m |  |  | Normal | 50 | cm | Side area | 15.4
Normal volume | 41.8 | m3 |  | = | 45.98 | k€ | Borated | 10 | cm | Top area | 26.4
Borated Volume | 8.36 | m3 |  | = | 50.996 | k€ | Steel | 10 | cm
Steel Volume | 8.36 | m3 |  | = | 120.7518 | k€ | Canal w | 50 | cm
[5 empty] | 217.7278 | k€ | Canal h | 70 | cm
Guide Hall down | Dist: | 50 | 83 | m |  |  | Normal | 50 | cm | Side area | 29.7
Normal volume | 49.5 | m3 |  | = | 54.45 | k€ | Borated | 10 | cm | Top area | 39.6
Borated Volume | 9.9 | m3 |  | = | 142.9956 | k€ | Steel | 10 | cm
Steel Volume | 9.9 | m3 |  | = | 60.39 | k€ | Canal w | 50 | cm
[5 empty] | 257.8356 | k€ | Canal h | 90 | cm
Polarizer | Dist: | 83 | 86 | m |  |  | Heavy | 80 | cm | Side area | 1.5
Normal volume | 5.52 | m3 |  | = | 99.36 | k€ | Borated | 0 | cm | Top area | 3.9
Borated Volume | 0 | m3 |  | = | 0 | k€ | Steel | 0 | cm
Steel Volume | 0 | m3 |  | = | 0 | k€ | Canal w | 50 | cm
[5 empty] | 99.36 | k€ | Canal h | 50 | cm
Guide Hall Flat | Dist: | 86 | 155 | m |  |  | Normal | 70 | cm | Side area | 34.5
Normal volume | 106.26 | m3 |  | = | 116.886 | k€ | Borated | 0 | cm | Top area | 82.8
Borated Volume | 0 | m3 |  | = | 0 | k€ | Steel | 0 | cm
Steel Volume | 0 | m3 |  | = | 0 | k€ | Canal w | 50 | cm
[5 empty] | 116.886 | k€ | Canal h | 50 | cm
Cave Flat | Dist: | 155 | 163 | m |  |  | Normal | 70 | cm | Side area | 4
Normal volume | 19.04 | m3 |  | = | 20.944 | k€ | Borated | 0 | cm | Top area | 9.6
Borated Volume | 0 | m3 |  | = | 0 | k€ | Steel | 0 | cm
Steel Volume | 0 | m3 |  | = | 0 | k€ | Canal w | 50 | cm
[5 empty] | 20.944 | k€ | Canal h | 50 | cm
Additional | [6 empty] | Normal | 70 | cm
Lead sheet below shield | 216 | m2 |  | = | 17.7401 | k€ | Borated | 0 | cm
Steel blocks | 0.21 | m3 |  |  | 3.0332 | k€ | Steel | 0 | cm
[5 empty] | 0 | k€ | Canal w | 50 | cm
[5 empty] | 20.7733 | k€ | Canal h | 50 | cm
Materials | Cost | unit | comments |  |  | 600
Steel | 14444 | m3 | PSI quote
Borated | 6100 | m3 | (transport included)
Normal | 1100 | m3 | (transport included)
Heavy | 18000 | m3 | (transport included)
Lead | 82.13 | m2
B4C | 33.13 | €/kg | PSI quote
5% | 120 | kg/m3 | Volumic
| 3975.6 | €/m3 | Additional cost
Heavy concrete | 12043.6 | /m3