## Slide 1: SKADI TG2 Feeback
Andrew Jackson
SANS Instrument Class Coordinator
www.europeanspallationsource.se
10 March, 2017

## Slide 2: Q range / Bandwidth / Frame Overlap
Rear detector at 59.1 m ->
= 4.78 Å
= 9.56 Å
In order to meet HLR3 7Hz operation will be needed at 8m collimation.
Frame overlap/chopper leakage needs to be considered – could be done by having plan as to where a frame overlap mirror could be placed if operational experience shows it is a problem.

## Slide 3
SKADI Beam Path
ESS - 0068256 23.09.2016
SKADI – E3-Port
SKADI – E3-Port
Beam extraction with respect to top moderator coordinates
X = 54mm
Y = -89mm
Z = 137mm
Z Rot = -42°
SKADI guide needs to point to ISCS here

## Slide 4: High-Resolution requirement & choppers
log Q
DQ/Q
High-resolution science requirement
Standard-resolution configuration
Dl contribution
Dq contribution
15%