CFWG: Moderators, Beam Extraction & Shielding
Feedback on TAP #2 Recommendations
12th February 2013 – Neutron Optics TAP #3 Meeting
Phil Bentley

---
Division Level Actions
- Establish close formal ties between Neutron Technologies Division and Target & Moderators Division to ensure effective integration on beams, radiation shielding and operational devices.
- The current standard for the angular separation of neutron beams (5°) should be subject to critical review of feasibility by all stakeholders at the earliest opportunity.
- Programme engineer to reassessment of project delivery times and resource allocations.
- Consideration of an extra 2 metres of height to the floor clearance so that a radial crane can be installed to service all shielding.

✓
Coffee
Update presentation later in day.

---
Optics Group Level Actions
- Replace inactive members of TAP with specialists experienced in radiation shielding, operations at spallation sources & polarized neutrons.
- Neutron Optics Group to aim for similar staff levels as exist at ILL by commencement of ESS operations (in 2019), and a strategic R&D budget of not less than 10% of the operations support budget.
- The Cross-Functional Working Group’s (CFWG) powers to make binding decisions or to recommend changes to the control board on cross jurisdictional issues should be clarified.
- The Neutron Optics Group be provided with detailed calculation of radiation doses, including details of spectral and spatial distributions outside the monolith, both during operation and under shutdown conditions.
- Conduct a comprehensive assessment of operational scenarios to determine whether primary shutters will be a cost effective safety feature for operations, construction and maintenance.
Partially done.
Ad-hoc advisory panel...
Procedure is via CCB,
However...
Requested. Have some
own figures from consultancy
and other reports.
90% Complete.

---
Optics Group Level Actions
- Neutron transport systems should be self-monitoring, but not necessarily self-aligning.
- Guide systems be procured by ESS directly rather than through in-kind contributions, or at least ESS be closely involved in contract negotiations between partner laboratories and guide suppliers.
- Careful consideration of risk to optical components and possible unreliability of target atmosphere in absence of window between target wheel and guides.
- Systematically evaluate spatial and angular correlations of the neutron beam at sample positions to ensure that unwanted neutrons are excluded from transmission or scattering.
- Careful modelling of efficacy of curved guides and t0 choppers in the removal of the prompt pulse from the neutrons detected in the various spectrometers.

---
Outstanding from Meeting #1
- Negotiate with in ESS project for radiation systems design effort. Now with the responsibility for fast neutron shielding the line of communication with nuclear regulations must be established for radiation levels (see recommendation 1).
- Define confidentiality requirements with Neutron Optics TAP.
- Benchmark simulated design performance against current state-of-art instruments.
Commercial in-confidence.