## Slide 1: HEIMDAL software needs
Mogens Christensen (AU/DK), Jürg Schefer (PSI/CH)
www.europeanspallationsource.se
17-04-04

## Slide 2: Software needs
HEIMDAL Overview
Azimuthal integration
Time
Instrument layout
Timeline

## Slide 3: Instrument layout
Experimental hall E01
Beam port W8
Neighbour: T-Rex
HEIMDAL

## Slide 4: Detectors
Data format – one time frame
Azimutal integration
Equal 2θ – integrated into same time bin
Pulse normalization
Detector normalization
Noise correction, etc..
Removal of suprions/masking

## Slide 5: Time variation
Data format
t = bin1
t = bin2
t = bin3
t = binX
Azimuthal integration:
Conversion to q and 2θ
Rietveld refinemtns in 2D

## Slide 6: Rietveld refinements in 2D
Rietveld refinements in 2D:
- Binning in 2θ to improve statistics
- Plotting in 1D for model evaluation
- Quick fitting

## Slide 7: ‘3D’ Analysis of texture:
Partial intergration of Debye Scherrer cones
Including sample orientation in 2D refinements => quasi 3D refinements

## Slide 8: Total scattering
Convert data from
Reciprocal q-space to G(r) in direct space
Corrected for scattering from the capillary  Icoh(q)

## Slide 9: Nice to have
Co-treatment of data (PXRD, SANS, RAMAN, MÖSSBAUER etc):
Estimation of sufficient statistics:
Intelligent data collection:
Diffraction tomography
Bragg edge imaging (will be discussed in the imaging software group):
3D grain mapping:

## Slide 10: Removal of single crystal spots / masking