## Slide 1: Event Formation Unit: EF Pipeline, Interfaces, DAQ, Monitor
Morten Jagd Cristensen
www.europeanspallationsource.se
17-09-14
Notes: Welcome
Last Jamboree was Nov 2016
Number of participants up!
Revisit workshop summaries from last meeting!

## Slide 2: System data flow
detectors
aggregator
event formation
nexus writer
inst1_det1
inst1_det2
instN_detM
storage
...
instruments
Notes: Explain data path - mention that beyond the 'live' data lies Mantid, scientists and Nobel prizes
Mention the control path for setting up experiment parameters but that those should be irrelevant for the EFU
Still undefined whether the event formation units should be dynamically reconfigurable and to what extent
Important: this presentation is only concerned with the detectors/event formation part

## Slide 3: Detector to EFU
Instr. 1 Detector 1
Instr. 1 Detector 2
Instr. 2 Detector 1
switch
event formation
readout system
readout
EFU
EFU
EFU
Notes: For the EFU the specific detector/readout system interconnection is unimportant
Assumption: a single detector is handled by a single EFU and that no communications between EFU’s are necessary
It is possible, but currently undefined, if there will be more than one Ethernet link between the readout system and a specific EFU

## Slide 4: WG5 – WG6 interface
collect
charge or photons
photons or charged
particles
“Converter”
“Detector”
n
amplify
digitize
“Electronics”
“Software”
filter
cluster
analysis
event
formation
Notes: Reminder: DG is on the left of the dotted line and that DMG is on the right
EFU Software: “Software” is synonymous with EFU in this case
Software means flexible, but it doesn’t mean we don’t have a say in defining what we
should expect to receive

## Slide 5: EFU Framework
efu server
processing
input
output
Graphite
db
Command
Client
Kafka
Broker
Detector
Data
UDP
TCP
graphite_ip:2003
broker_ip:9092
config .json
calibration
data
file system
efu_ip:8888
TCP
TCP
efu_ip:9000
Graylog
greylog_ip:12201
TCP
Grafana
grafana_ip:3000
Live
Metrics
servers
user interaction
Notes: Data path - network, pipeline, streaming
Control path - static and dynamic configuration
Reporting - Graphite, Graylog

## Slide 6: Current status
Working prototype EFU
  Receive from UDP, Kafka producer, live stats
  Can run in multiple instances
Processing pipelines
  Multigrid
    cspec, cspec2 – threshold filtering, discard invalid data
  Gd-GEM
    gdgem - coincidence algorithm implementation 1
  SoNDe
    sonde – already clustered data, just convert to pixels
  Multiblade (NBI, status?)
    mbcaen – coincidence algorithm implementation 2
Data generators
  Files: raw_binary, hdf5_apv, wireshark, mgcncsgenfile, mgcncsgenjson
  Simulated: mgcncsgen
Data sources
  Multigrid CNCS data
  Gd-GEM APV HDF5, SRS UDP data
  SoNDe IDEAS UDP data
Notes: Collaboration with many people from both DG and DMG to reach this stage
Possible to write your own pipeline plugins with additional debug output or for testing new algorithms

## Slide 7: TODO
Software maturation
  robustness to certain scenarios
    loss of network connectivity, unresponsive services, disk problems, ...
  logging, monitoring, remote diagnostics
  automated deployment
  nightly integration tests for all detectors (real data)
Instrument maturation
  ESS Readout protocol
  Algorithms for event formation
    parallelism / load distribution
  EFU configuration
  Detector geometry

## Slide 8: EFU as DAQ
Software bundle on single workstation
  Readout software (DIY)
    Gd-GEM
    SoNde
    Multiblade?
  Event Formation Unit
    Software ‘hook’ to write parsed data to disk
  Kafka
    Data aggregation (temporary storage)
  Daquiri
    Detector image visualization from Kafka topics
    Histograms, TOF spectra, ...
  Graphite/Grafana
    Visualizing EFU counters and stats
  Wireshark
    Raw readout data capture

## Slide 9: Detector data taps
Gd-GEM Detector
SRS
Analog/Electric
Digital HW
Event Formation
Input
Decoded data dump
Output
Proc.
Events
Particle tracks (x,y)
Histograms (x,y)
File Storage
Data Aggregation
EFU
raw data captures
SoNDe Detector
IDEAS
Multigrid
Multiblade
ESS
Counters & Stats
Activity dashboards
Notes: Busy slide - sorry
Data path again
Domains
Data TAPS

## Slide 10: Realtime visualizations
Visualize detector images,
TOF spectra, Histograms, ...
Stay tuned for Martins demo
Low level EFU system counters for activity overview

## Slide 11: Loose ends
Detectors
  Logical detector geometry
  Separation of data-path and control-path
    need for live configuration of EFUs?
  Pre-timestamp operation
    suggested workarounds when t not available
  Specify algorithms for event calculations
    corner cases – adjacent readout configurations
Readout systems
  Discuss and agree on data formats
  Timestamp availability

## Slide 12: Geometry
Agree on geometry definitions
  Mapping from wires, grids, blades, strips, ... to (x,y,z) coordinates
  Mapping from (x,y,z) to pixel_id
  Support for N prototype detectors
    positions and pixel_id’s – where do we get that information?
Please think about this early
Notes: This is about engineers and scientist being a little structured about their creations.
Documentation!

## Slide 13: Single Detector Panel
CPU00
CPU01
CPU02
CPU03
CPU04
CPU05
CPU06
CPU07
CPU08
CPU09
CPU10
CPU11
Xeon E5
VMM3
Distributed calculations
  Which front end boards serves which regions?
  Need mechanism to distribute readout packets to different cores
Notes: When data rates are high we need to use more cores or even more servers for a single detector panel.
Detector panels are considered independent.

## Slide 14: Single Detector Panel
Distributed calculations
  how to handle overlapping regions?
  who duplicates the data?
CPU00
CPU01
CPU02
CPU03
CPU04
CPU05
CPU06
CPU07
CPU08
CPU09
CPU10
CPU11
Xeon E5
VMM3
Notes: How do we handle overlapping regions?
How big are the overlaps?
Initially ignore this problem but need an estimate of what the consequences are.

## Slide 15: The End
Focus on system interfaces
  Formalise the work on Detector/readout/EFU interfaces
  This is the area with most bugs and performance problems
  Bugs typically introduced early in the development process and detected late
  We must avoid last minute feature/change request congestion
  Interfaces are NOT a unilateral decision, internal implementations ARE
  Documentation is required