## Slide 1: BPM Electronics Conceptual Design Review BPM Test results
Rafael A. Baron
Lund - Sweden
2017 - May

## Slide 2: BPM Electronics design
BPM electronics
BPM ADC raw data
BPM decimated phases and amplitudes
BPM Phase relative to reference line
BPM positions

## Slide 3: BPM system design
RF analog processing
BPM sensors
Long Cables
Local
oscillator
ADC
FPGA - Digital signal Processing
Data management and data processing - CPU
Sampling
clock
Timing receiver
User interface
Calibration
Power supply and crate management
RF Front-End
Timing system
RTM (DWC10LF)
LO generation / distribution
Standalone unit or MicroTCA.4 AMC
MicroTCA.4 infra-structure
Analog down conversion
Ethernet
AMC digitizer
(SIS8300-KU)
MicroTCA.4 crate
Calibration trigger
Position
Interlock
Phase Reference Line
Ref

## Slide 4: BPM Electronics System architecture
Local
oscillator
Sampling
clock
Position
Interlock
Phase Reference Line
Timing System

## Slide 5: BPM Electronics
Functionalities
ADC raw data at a rate of Fs (in general, ~88 MHz is used)
Data decimation: amplitudes and phases for all the BPM channels and reference
BPM Phase measurements relative to phase reference line
BPM Position measurements

## Slide 6: BPM Electronics System architecture
ADC raw data
  Data at ~88 MHz with no digital processing

## Slide 7: BPM Electronics System architecture
Decimated single channel phases and amplitudes
  Data at ~5 MHz with digital processing
  ~2.5 MHz signal bandwidth

## Slide 8: BPM Electronics System architecture
Phase of each BPM relative to reference line
  Data at ~5 MHz with digital processing
  ~ 2.5 MHz input signal bandwidth

## Slide 9: BPM Electronics System architecture
Position X and Y of each BPM
  Data at ~5 MHz with digital processing
  ~ 2.5 MHz input signal bandwidth
  Position interlock capability

## Slide 10: BPM Electronics System architecture
Phase as function of input power
  Resolution and accuracy measurements for different beam conditions
Equivalent to a typical LWU BPM response for short pulse (5 us) and ~ 6 mA
Equivalent to a typical LWU BPM response for long pulse (2.86 ms) and ~ 63 mA

## Slide 11: BPM Electronics System architecture
Position as function of input power
  Resolution and accuracy measurements for different beam conditions
Equivalent to a typical LWU BPM response for short pulse (5 us) and ~ 6 mA
Equivalent to a typical LWU BPM response for long pulse (2.86 ms) and ~ 63 mA

## Slide 12
Thanks!
Questions?