## Slide 1: LLRF for RF review 11-12 May 2017
Anders J Johansson
Lund University
v.1.1

## Slide 2: LLRF system : General view
Klystron HV
Beam current

## Slide 3: High level LLRF architecture
Procedures
  Schemes that involves longer times and multiple pulses.
Algorithms
  Updates that takes place between pulses (68 ms).
Functions
  Real-time control within a pulse (3.5 ms).
Functions
Firmware
Algorithms
Software
Procedures
Scripts
EPICS
PCIe
FPGA
CPU
CPU
LLRF

## Slide 4
FPGA/ADC
PZ
FPGA
CPU
Timing
Timing
MCH
EPICS, Supervision
Modulator voltage
Spare
Vectormodulator out
Piezo 1
Piezo 2
Monitor
Phase referense
Cavity Pickup
VM out
PreAmp Out
PowerAmp out
PowerAmp Refl
Cavity In
Cavity Refl
Fan Tray x 2
PSU x 2
Interlock
352.21 MHz MTCA.4 example - Spoke
CB control on backplane
Timing triggers
MCH supervision
External I/O
Ethernet on backplane
230 V AC
Phase referense
Cavity Pickup
VM out
PreAmp Out
PowerAmp out
PowerAmp Refl
Cavity In
Cavity Refl
Phase referense
Cavity Pickup
VM out
PreAmp Out
PowerAmp out
PowerAmp Refl
Cavity In
Cavity Refl
LO-generation
LO/REF
RF/VM
352 MHz
Updated
Updated
In-Kind
In-Kind
In-Kind

## Slide 5
HW: RTM-Digitizer
5*2 ADCs
Kintex
Ultrascale
FPGA
2GB DDR3
Zone3
connector
Backplane connector
Optical interface
Attenuators downconverters
Vector modulator
2*DC-signal
input
8*AC-signal
input
DAC
Vector
modulator
output

## Slide 6: Timing and Phase Reference
MRF timing system in gallery distributes triggers.
Phase reference line in tunnel.

## Slide 7: LLRF LO generation
LO and CLK signals generated from the phase reference.
Stand alone (pizza)-box for 352 MHz cavities.
  One for normal conducting, distributed in the gallery.
  One per four Spoke cavities, distributed in rack row.
MTCA-integrated for 704 MHz cavities
  One per cavity and LLRF system.

## Slide 8: LO generation RTM
Functional specification
The LO RTM module should fulfill the following functional requirements:
the module must be compliant with the MTCA.4 RTM specification,
the module can be mid-size or full-size,
the module shall provide 4 LO outputs,
the module shall synthesis the LO signal using direct analog synthesis scheme,
the module shall provide 4 clock outputs,
the module shall provide 1 reference output,
the configuration of the module should be performed remotely by the AMC module,
a monitoring output for clock and LO signal shall be provided.

## Slide 9: LO block diagram

## Slide 10: LO RTM spec.
Table 4: LO signal absolute phase noise requirements
Table 5: CLK signal phase noise requirements

## Slide 11: PDR of LO-RTM (etc.) 30-31 May