## Slide 1: TBL Chopper System Neutronic Performance
N. Tsapatsaris
Neutron Chopper Group
www.europeanspallationsource.se
23 May, 2017

## Slide 2: TBL Instrument Layout
3 cm
Detector
8.6 m
Ø 50 cm,
5° slit
Collimator/ Pinhole
Moderator
17 m
Band Choppers
0 m
2x2mm2
8.5 m

## Slide 3: Flux at collimator exit
4.6E13 n/(s cm2sr )
n/(cm2s)
cm2
n/s
Detector count rate
83kHz - 1.3MHz/cm2 for a 30cm2 active area

## Slide 4: Instrument wavelength range
= 71.4ms
= 16.6 (14Hz)
Skip 1 pulse (7Hz)
= 33.2
Skip 2 pulses (4.667Hz)
= 49.9
17 m
0 m

## Slide 5: Useful wavelength range due to gravitation
=
=

## Slide 6: Chopper Permissible Bandwidth
1slit/rev
2slit/rev

## Slide 7: Chopper Permissible Bandwidth

## Slide 8: Instrument wavelength resolution

## Slide 9: Improving the λ resolution – reducing slit size

## Slide 10: Frame overlap

## Slide 11: Frame overlap in TOF

## Slide 12: Frame overlap in TOF

## Slide 13: Prompt pulse effect on λmin
Minimum wavelength without prompt pulse
d=17m, @ 1.4 msec, λmin=0.33 Å, S/N~2/1-1/1
At 2.86 msec λmin=0.67 Å, S/N=10/1-2/1
At 6 msec, λmin=1.4 Å, S/N>1E3
Depending on the decay time of the ESS pulse and the high energy neutron/gamma discrimination we expect a variation of the S/N ratio

## Slide 14: Chopper disk absorber

## Slide 15: Determination of neutron energy
Set chopper phase/speed
Record neutron TOF wrt chopper opening time (TDC) then convert to energy
,
δ=
Detector counts with a distribution centered around 7.1 ± 0.35 msec
7.7 meV or 3.26 Å
δ= ±0.8 meV or ± 0.16 Å
δ/=20%, δ/= 10%