## Slide 1
Paulo Torri
ESS – Accelerator Division - RF
Power Converters Section
www.europeanspallationsource.se
PDR for Power Converters of Dipoles D1, Quadrupoles Q8 and Correctors C8
Power cable interfaces to the cabinets and location of these PC’s inside the cabinets

## Slide 2
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Magnets list with types and location
Magnets list with types and location

## Slide 3
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Racks disposition in the gallery

## Slide 4
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Racks disposition in the gallery
Stub_360

## Slide 5
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Racks disposition in the gallery
HEBT-030ROW | Name | System | Power(kW) | Installed Fuse (A) | UPS (kW) | UPS Fuse (A) | Heat Dissipation (kW) | Temperature (°C) | Type
Rack # |  |  |  |  |  |  |  |  | 
1 | HEBT-030ROW:CNPW-U-001 | PS (A2T) | 21,8 | 50 | N/A | N/A | 2,22 | 25°C, +/-10°C | I
2 | HEBT-030ROW:CNPW-U-002 | PS (A2T) | 21,8 | 50 | N/A | N/A | 2,22 | 25°C, +/-10°C | I
3 | HEBT-030ROW:CNPW-U-003 | PS (A2T) | 18,0 | 50 | N/A | N/A | 1,89 | 25°C, +/-10°C | I
4 | HEBT-030ROW:CNPW-U-004 | PS (Dipole) | 60,2 | 125 | N/A | N/A | 6,00 | 25°C, +/-10°C | L
5 | HEBT-030ROW:CNPW-U-005 | PS (A2T) | 33,2 | 63 | N/A | N/A | 3,30 | 25°C, +/-10°C | I
6 | HEBT-030ROW:CNPW-U-006 | PS (A2T) | 33,2 | 63 | N/A | N/A | 3,30 | 25°C, +/-10°C | I
7 | HEBT-030ROW:CNPW-U-007 | BI | 4,05 | 10 | N/A | N/A | 2,835 | 25°C, +/- 1°C | V10
8 | HEBT-030ROW:CNPW-U-008 | BI | 2,05 | 10 | N/A | N/A | 1,435 | 25°C, +/- 1°C | V10
9 | HEBT-030ROW:CNPW-U-009 | BI | 3,55 | 10 | N/A | N/A | 2,485 | 25°C, +/- 1°C | V10

## Slide 6
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Rack row design

## Slide 7
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Rack row design
From: Jörgen Jönsson - Electrical and I&C Engineering And Integration Support Division

## Slide 8
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Racks

## Slide 9
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Racks disposition in the gallery
Magnet cables routing

## Slide 10
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Rack lay-out

## Slide 11
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Rack single electrical line diagram

## Slide 12
PDR for PC of Dipoles D1, Quadrupoles Q8 and Correctors C8
Rack internal lay-out