## Slide 1
Present developments on Am-CLD at HZG and report from 3He tube tests
G. Nowak1, C. Jacobsen1, J. Plewka1, J. Burmester1 , S. Kleeband1, R. Woracek4, M. Störmer1, C. Horstmann1, H.-W. Becker2,
R. Kampmann3 M. Haese1, J.-F. Moulin1, M. Pomm1, J. Fenske1,
T. Kühl3, E. Prätzel3, D. Höche1, I. Stefanescu4, R. Hall-Wilton4,
M. Müller1
1Helmholtz-Zentrum Geesthacht, Max-Planck-Str. 1, 21502 Geesthacht, Germany
2Ruhr-Universität Bochum, RUBION, Universitätsstr. 150, 44801 Bochum , Germany
3DENEX – Detectors for Neutrons – GmbH, Stöteroggestr. 71, 21339 Lüneburg, Germany
4European Spallation Source ESS (ERIC), P.O. Box 176, SE-221 00 Lund, Sweden
IKON 13, 2017 28th September, Lund, Sweden

## Slide 2: Outline
Current results from Am-CLD detector tests at the ESS-Test Beamline (HZB)
Set-up of the Am-CLD demonstrator detector
Current results from TOSHIBA 3He-Toshiba tubes
tested at the ESS Test Beamline (HZB)

## Slide 3: A1- and Am-CLD detector concept: neutron incidence geometries
n
Θin = 2-5°
1 µm 10B4C
stopping gas
A1-CLD ( Absorption in 1 Layer Conversion Detector):
x6 - 15
Am-CLD ( Absorption in multiple Conversion Detector):
10B abs. length: 32 µm - 12 µm
ion range: 3.9-1.5 µm
…
…
Θin = 90°
n
1 µm 10B4C (2x converter per det. plane)
stopping gas
stopping gas
stopping gas
stopping gas
high conversion efficiency (++)
effective position resolution: sub-mm! (++)
fixed detector-sample distance (o)
mechanically challenging (-)
position resolution: wire pitch mm (+)
variable detector-sample distance (++)
variable converter layer thickness (++)*
additional absorption by substrates (-)
converter
converter
converter
*F. Piscitelli and P. Van Esch JINST 8, P04020, 2013

## Slide 4: Current results from Am-CLD detector tests at the ESS-test beam line (HZB)

## Slide 5
table allows multiple set-up’s:
neutrons out of the wall (choppers)
through primary slit:
neutrons
chopper
cascade
cold
source
BER-II
The V20:
ESS-Test-beamline @ HZB
“only limited by phantasy boarders of the users”
R. Woracek, T. Hofmann, M. Bulat, M. Sales, K. Habicht, K. Andersen, M. Strobl ” The test beamline of the European
Spallation Source – Instrumentation development and wavelength frame multiplication ” ,NIMA, 839, 102-116, (2016)

## Slide 6
Plexiglas plates
25 mm thick
@ 50.55 m
chopper
cascade
cold
source
1st
slit
MB
slit
@
49.87 m
sample
@ XX m
detector
@
51.04 m
BER-II
Used experimental set-up at the
ESS-Test beam line

## Slide 7
3He-MWPC-Denex:
10B4C-MWPC-Denex:
Simple Imaging tests of a “single plane
Am-CLD”: comparison MWPC 3He vs. 10B4C
t = 50400 s
t = 50000 s
3x3 hole
array
TKE-Logo
double slit:
- 1.6 mm opening
- 2 mm fillet
ToF experiments at ESS test beamline V20, Helmholtz-Zentrum, Berlin
3He and 10B4C delay-line based
MWPC have very similar
imaging properties at
perpendicular incidence!
pos. res.:3 mm x 4 mm
4.8 bar 3He
=>45% @ 1 Å
1.2 µm 10B4C
=> 3% @ 2 Å

## Slide 8
Imaging tests at inclined incidence on the
10B4C test detector
Sample with chem. gradient:
t = 3600 s
t = 200 s
t = 120 s
set-up view from top:
10B4C-converter
sample: double slit, gradient, TKE-logo
divergent neutron beam
multi- wire planes
double slit:
TKE-logo:

## Slide 9: Imaging tests at inclined incidence after transmission on the 10B4C detector
t = 3600 s;
sizes: 4416 MB/10630MB
set-up:
top view
ToF experiments at ESS test beamline V20, Helmholtz-Zentrum, Berlin
100 mm
10B4C-converter
sample: Fe
multi- wire planes
25 mm
divergent neutron beam

## Slide 10
transmission through
Fe-sample
t = 3600 s
543.2 MB/1278.9 MB
t = 1800 s
287 MB/678 MB
No sample in beam
t = 3600 s
2167 MB/5200.6 MB
-real.ToF-resolution: width about 700 µs
-Fe-edges in both modes visible!
-WFM–mode produce 4x less data!
ToF experiments at ESS test beamline V20, Helmholtz-Zentrum, Berlin
t = 3600 s
2324.7 MB/5585.5 MB
Single pulse mode:
WFM-mode:
Fe-Bragg
edge!
width = 2.15 ms
31 points
Spatial resolved Bragg-edge detection
by the 10B4C detector

## Slide 11
Count rate capability for one detection plane
with delay-line read-out:
One layer of 1.2 µm 10B4C illuminated at about 5 ° incidence
Slit was closed vertically with a fixed width of 55 mm
background (closed shutter) was about 100 cps!
measure. direction!
55 mm
95-> 5 mm
proportional up to 270 000 cps per plane!
ToF experiments at ESS test beamline V20, Helmholtz-Zentrum, Berlin
slit area (in mm2)
intensity

## Slide 12
Set-up of the Am-CLD demonstrator
detector

## Slide 13: Electrode set up of detection planes in demonstrator Am-CLD detector
neutrons
B4C coated Al-plate
(drift electrode)
window
Multiwirecathode (x)
Multiwireanode (y)
2x B4C coated Al-plate
(drift electrode) (back-to-back)
one detection plane (x,y)
U+HV
U-HV
U-HV
*
*
U+HV
*
U+HV

## Slide 14: FEM calculation of converter bending caused by application of electrostatic force
g
Vertical orientation:
= converter bending
due to applied voltage
g
horizontal orientation:
= converter bending
due to applied voltage
vertical deformation: up to 1.3 mm
horizontal deformation: up to 1.6 mm
min. 30 µm
>>100 µm
+
-
+
-
1000 mm

## Slide 15: In-situ measurement of converter bending due to electric field
1)Video: ramp 0V-> 5000V -> 0V applied voltage:
2)Deformation at 0 V and 3000V :
vertical orientation:
40 µm deformation at 3000 V
horizontal orientation:
45 µm deformation 3000 V
0 V
5000 V
0 V
5000 V

## Slide 16
detection vol. n
detection vol.n+1
force-
compensation-volume
…
…
10B4C coating
cross-section:
Am-CLD demonstrator detector layout
filed European Patent: EP 17184906.0 (04.08.2017)
Sandwich-like self-supporting device:
1200 mm
No pressure vessel needed!
pf-c-v<pdv

## Slide 17: Set-up of Am-CLD detection planes
neutrons
B4C coated Al-plate
(drift electrode)
window
Multiwirecathode (x)
Multiwireanode (y)
2x B4C coated Al-plate
(drift electrode) (back-to-back)
one detection plane (x,y)
U+HV
U-HV
U-HV
*
*
U+HV
*
U+HV
force compensation volume

## Slide 18: Prepared Electronics
-integrated on the delay-line PCB
-low noise Amp., differential, gain: up to 30 dB
-differential signal
-remote controlled: Gain (2-26 dB),
Bandwidth (20-800 MHz), Delay (0-50ns)
-Detector backside
-positive and negative edge detection
-time over threshhold
Pre-Amplifier.:
Main-Amplifier + CFD:
(Main-Board) TDC on FPGA:
-Linux OS
-208 ps = one “Tick”,
Delay-line step 1 ns
-16 channel on one FPGA
-one FPGA for 2 planes

## Slide 19
Upcoming detector lab at HZG
Restored Building for detector lab at the HZG site:
-lab at ground level
-lorry 3.5 t can
drive in
clean room
Work
bench
Tresor
lab source
detector
vaccuum-shelf
shelf
shelf
Floor plan:
about 90 m2
1.5 ton crane
pressed air,
heating,…

## Slide 20
Detector people at HZG
Detector LAB @ HZG:
new delay-lines:
small area milling cutter:
large area milling cutters:
EMI-chamber:
(100 mm x 1430 mm)
1 m
C. Jacobsen
FPGA, programming
J. Plewka
choice of ele.hardware
J. Burmester
Detector experience
Electronic board
development
C. Gregersen

## Slide 21
Current results from TOSHIBA 3He-Toshiba tubes tested at the ESS Test Beamline (HZB)

## Slide 22: Set-up for characterization of 3He-tubes
linear drive (400 mm)
holder (x-y-z move.)
with absorb. edge
shielding
Mirrobor tm
3He-tubes with holder
slit
beam profile
Applied neutron spectrum: 2 - 10 Å
ESS-Testbeamline (V20) at HZB

## Slide 23: Position resolution determination from edge profile
line profile:
1st deriv. of line profile:
0 ch.
4096 ch.

## Slide 24: Distribution of spatial resolution along a 1 m 3He-tube (7 bar, 8 mm dia.)
derivative of edge profile:
FHWM of the edge profile in mm:
spatial resolution for LLD= 0
from 3.2 mm (FWHM) to 2.2 mm (FWHM)
absorber with two edges
spatial resolution for LLD= 256-1500
from 3.2 mm (FWHM) to 1.8 mm (FWHM)

## Slide 25: Count rate response on linear change of incident neutron intensity
slit width in mm
2 mm
0 - 50 mm
linear response
up to 7000 cps
on one 8 mm tube!

## Slide 26: Summary and Future
10B4C coating driven detectors are an full replacement to 3He detectors surpassing them in flexibility, position and time resolution
ToF resolution allows for Bragg-edge imaging
high rate capability (270 000 cps per plane!) of the Am-CLD detector has been demonstrated
Preparations in electronics, mechanics and infrastructure of demonstrator detector project are finished
tests on 3He tubes from Toshiba show a good performance in rate capability and a clear reduction of spatial resolution from centre to edge of the tube. Nevertheless they are regarded as an back-up option for example the BEER beamline.
Thank you for your attention!

## Slide 27: Acknowledgement
R. Woracek, J. Plewka, C. Jacobsen, J. Burmester ,
TOSHIBA-Group, M. Störmer, C. Horstmann, R. Kampmann, M. Haese1,
J.-F. Moulin, M. Pomm, J. Fenske, T. Kühl, E. Prätzel, I. Stefanescu4, R. Hall-Wilton
and M. Müller