## Slide 1: MI Ref doc
Malcolm Guthrie
www.europeanspallationsource.se
22 September, 2017

## Slide 2: Nomenclature: instruments
Base support
KM
KM
BEAM
”Flange”
”Floor”

## Slide 3: Nomenclature: Sample environment
van can
PE
cryostat
cryomagnet
“XL”
“L”

## Slide 4: Nomenclature: The Sample Environment System
Contains:
The Sample Environment Equipment (cryostats, furnaces, pressure cells etc.)
Auxilliary Equipment (vacuum pumps, control PC, chillers, etc.)
Connects to:
1) Utilities Supplies (power, gas, vacuum etc.)

## Slide 5: ESS-0038078
47 pages, 33 requirements:
Space logistic and ergonomic requirements
Mechanical interface
Magnetic requirements

## Slide 6: Space: Sample environment

## Slide 7: Space: Auxiliary equipment

## Slide 8: Access (Equipment)

## Slide 9: Cave heights
floor mounted:
XL - 2.1m above beam
L - 1.9m above beam
Flange mounted:
XL = 2.6m above beam
L = 2.4m above beam

## Slide 10: Cave heights
Cryostat stick change:
Minimum 3.5m above beam
(4m to use crane)

## Slide 11: Alignment – floor mount

## Slide 12: ESS-0038078
47 pages, 33 requirements:
Space logistic and ergonomic requirements
Mechanical interface
Magnetic requirements
For details see ESS-0038078!!