## Slide 1: Evaluation of detector characteristics with Geant4 simulation
E. Dian1,2, G. Galgóczi3, M. Klausz1,2
1HAS Centre for Energy Research
2European Spallation Source ESS ERIC
3HAS Wigner Research Centre for Physics
28 September 2017, IKON13, Lund
676548

## Slide 2: The ESS detector challenge
Various detectors for various instruments at ESS
All with different designs, all have to be optimised for respective instrument requirements
Serious efforts on detector simulations @ ESS DG
SANS
BandGEM (Milan/CNR/INFN/CERN/ESS)
Molecular crystallography
Notes: ESS
  Several detectors for various instruments, different phases of development (get nice plot from IKON12!)
  Conclusion:
    We cannot manage without very effective tools
  Core of all measurement is the SBR. ESS increases flux, so increases Signal. Now we have to build detectors with low Bg.
    (keep in mind: @CF it’s easy and fast to build up and modify geometries,
    analyse and plot data, move from one code to the other safe, handles well the big amount of data)

## Slide 3: The ESS DG simulation projects
Several projects, the majority of detector demonstrators have been modeled (E. Dian, G. Galgóczi, K. Kanaki, M. Klausz, D. Lucsányi, V. Maulerova, D. Pfeiffer, I. Stefanescu, C. Sørgaard)
  Multi-Grid
  Multi-Blade
  He-3
  BAND-GEM
  B/Gd-GEM
  Jalousie
  Si sensors
  boron-coated straws
Boron-coated straws
BAND-GEM
He-3 tubes
Si sensors
Source Testing Facility
Multi-Grid
Multi-Blade
  macro-structured MWPC
  flat MWPC
  plastic scintillators
  Source Testing Facility@LU

## Slide 4: The ESS DG simulation projects
Several projects, the majority of detector demonstrators have been modeled (E. Dian, G. Galgóczi, K. Kanaki, M. Klausz, D. Lucsányi, V. Maulerova, D. Pfeiffer, I. Stefanescu, C. Sørgaard)
  Multi-Grid
  Multi-Blade
  He-3
  BAND-GEM
  B/Gd-GEM
  Jalousie
  Si sensors
  boron-coated straws
Boron-coated straws
BAND-GEM
He-3 tubes
Si sensors
Source Testing Facility
Multi-Grid
Multi-Blade
  macro-structured MWPC
  flat MWPC
  plastic scintillators
  Source Testing Facility@LU

## Slide 5: The ESS DG simulation projects
Several projects, the majority of detector demonstrators have been modeled (E. Dian, G. Galgóczi, K. Kanaki, M. Klausz, D. Lucsányi, V. Maulerova, D. Pfeiffer, I. Stefanescu, C. Sørgaard)
  Multi-Grid
  Multi-Blade
  He-3
  BAND-GEM
  B/Gd-GEM
  Jalousie
  Si sensors
  boron-coated straws
Boron-coated straws
BAND-GEM
He-3 tubes
Si sensors
Source Testing Facility
Multi-Grid
Multi-Blade
  macro-structured MWPC
  flat MWPC
  plastic scintillators
  Source Testing Facility@LU

## Slide 6: The ESS DG simulation projects
Several projects, the majority of detector demonstrators have been modeled (E. Dian, G. Galgóczi, K. Kanaki, M. Klausz, D. Lucsányi, V. Maulerova, D. Pfeiffer, I. Stefanescu, C. Sørgaard)
  Multi-Grid
  Multi-Blade
  He-3
  BAND-GEM
  B/Gd-GEM
  Jalousie
  Si sensors
  boron-coated straws
Boron-coated straws
BAND-GEM
He-3 tubes
Si sensors
Source Testing Facility
Multi-Grid
Multi-Blade
  macro-structured MWPC
  flat MWPC
  plastic scintillators
  Source Testing Facility@LU

## Slide 7: Simulation tools
ESS Coding Framework - Geant4 simulation framework Developed by ESS Detector Group doi:10.1016/S0168-9002(03)01368-8 doi:10.1088/1742-6596/513/2/022017
New tools & utilities are recently developed for neutron studies
  Physics
    Coherent scattering
    Inelastic scattering
    Single- and poly-crystals…
  And more
    Communication
    Visualisation
    Ready-to use…
NXSG4 doi:10.1016/j.cpc.2014.11.009 http://nxsg4.web.cern.ch/nxsg4/
NCrystal https://github.com/mctools/ncrystal/wiki
  MCPL - Monte Carlo Particle List
  https://mctools.github.io/mcpl/
19 Sept. NSS Seminar K. Kanaki, X X. Cai, E. Dian: Optimization of detector design for instruments with simulations: Tools and applications

## Slide 8: Detector background study with Monte Carlo codes
Sources of neutron detector background
  Neutron induced gamma background (MCNP6)
    Prompt gamma radiation from neutron capture
    Decay gammas from neutron activation
  Scattered neutrons (Geant4)
    Elastic, inelastic
    Coherent, incoherent
Great impact of Coding Framework!
41Ar activity saturates at 128 mBq/cm3 low
Negligible signal from self-activation
General neutron activation study prepared with MCNP6 for ESS operation conditions - Ar/CO2 counting gas - Aluminum-frame
E. Dian et al. 10.1016/j.apradiso.2017.06.003
Notes:     General neutron activation study already prepared for B4C-based neutron detectors -> ref arXiv:1701.08117
    If it weren’t negligible, we could use it as an input to G4 
    Run until sample, MCPL-> uniq tool to optimise det with realistic (meas or sim) data

## Slide 9: Detector background study with Monte Carlo codes
Sources of neutron detector background
  Neutron induced gamma background (MCNP6)
    Prompt gamma radiation from neutron capture
    Decay gammas from neutron activation
  Scattered neutrons (Geant4)
    Elastic, inelastic
    Coherent, incoherent
Great impact of Coding Framework!
41Ar activity saturates at 128 mBq/cm3 low
Negligible signal from self-activation
General neutron activation study prepared with MCNP6 for ESS operation conditions - Ar/CO2 counting gas - Aluminum-frame
E. Dian et al. 10.1016/j.apradiso.2017.06.003
Notes:     General neutron activation study already prepared for B4C-based neutron detectors -> ref arXiv:1701.08117
    If it weren’t negligible, we could use it as an input to G4 
    Run until sample, MCPL-> uniq tool to optimise det with realistic (meas or sim) data

## Slide 10: Detector background study with Monte Carlo codes
Sources of neutron detector background
  Neutron induced gamma background (MCNP6)
    Prompt gamma radiation from neutron capture
    Decay gammas from neutron activation
  Scattered neutrons (Geant4)
    Elastic, inelastic
    Coherent, incoherent
Great impact of Coding Framework!
41Ar activity saturates at 128 mBq/cm3 low
Negligible signal from self-activation
General neutron activation study prepared with MCNP6 for ESS operation conditions - Ar/CO2 counting gas - Aluminum-frame
E. Dian et al. 10.1016/j.apradiso.2017.06.003
Notes:     General neutron activation study already prepared for B4C-based neutron detectors -> ref arXiv:1701.08117
    If it weren’t negligible, we could use it as an input to G4 
    Run until sample, MCPL-> uniq tool to optimise det with realistic (meas or sim) data

## Slide 11: Detector background study with Monte Carlo codes
Sources of neutron detector background
  Neutron induced gamma background (MCNP6)
    Prompt gamma radiation from neutron capture
    Decay gammas from neutron activation
  Scattered neutrons (Geant4)
    Elastic, inelastic
    Coherent, incoherent
41Ar activity saturates at 128 mBq/cm3 low
Negligible signal from self-activation
General neutron activation study prepared with MCNP6 for ESS operation conditions - Ar/CO2 counting gas - Aluminum-frame
E. Dian et al. 10.1016/j.apradiso.2017.06.003
Great impact of Coding Framework!
Notes:     General neutron activation study already prepared for B4C-based neutron detectors -> ref arXiv:1701.08117
    If it weren’t negligible, we could use it as an input to G4 
    Run until sample, MCPL-> uniq tool to optimise det with realistic (meas or sim) data

## Slide 12: Scattered neutron background
Detector
Sample environment
Scattered neutron
Real and measurable neutron energy
Scattered neutron
Neutron scattering on detector and environment
Study and distinguish background effects
Guidelines for detector design
Realistic simulation
Geant4 @Coding Framework
Prototype
Full-scale detector model
Validation
Optimization

## Slide 13: The Multi-Grid Detector Model
  Eszter Dian1,2, Kalliopi Kanaki2, Anton Khaplanov2 dian.eszter@energia.mta.hu1,2
  1Hungarian Academy of Sciences, Centre for Energy Research
  2European Spallation Source ESS ERIC
676548
28 September 2017, IKON13, Lund
Notes: PhD student
Based in Hungary, HAS CER, in collaboration with DG
Modelling MG, aim: shielding optimisation to increase SNR
This is an example how to use the afore introduced tool is detector development.

## Slide 14: Large area detector for chopper spectroscopy – Multi-Grid
Multi-Grid
Large area detector
  Inelastic instrument, chopper spectroscopy
Solid B4C converter + Ar/CO2
Aluminium frame – crystalline Al
A. Khaplanov et al.
http://dx.doi.org/10.1016/j.nima.2012.12.021
Geant4 @Coding Framework
Scattered neutron background induced in detector
Low background is essential
Notes: Point out:
Need for low background
Scattering on aluminium (AL transparent d)
Visualisation with CF

## Slide 15: Multi-Grid detector test at CNCS, SNS
Detector
Sample environment
3.3 m
Isotropic scattering particles simulated from sample
Geant4 @Coding Framework
NXSG4
Instrument outputs can be used as particle guns
Notes: Origin of particles…
Realistic detector model and representative simplified sample environment was built

## Slide 16: MultiGrid detector test at CNCS, SNS
Chopper spectroscopy
Measured quantities:
  ToF
  detection-coordinates
Energy transfer: Etrf = Einitial – Efinal
Etrf = Einitial - Efinal
Derived energy transfer at 3.678 meV from measurement
Counts
Anton Khaplanov et al.: Multi-Grid Detector for Neutron Spectroscopy: Results Obtained on Time-of-Flight Spectrometer CNCS
doi:10.1088/1748-0221/12/04/P04030, https://arxiv.org/abs/1703.03626

## Slide 17: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 18: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 19: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 20: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 21: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 22: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 23: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Scattered neutron background from sample environment
Energy transfer reproduced with simulation at 3.678 meV
Validation
Distinguish different sources of background
Detailed analysis and quantification of background effects
Optimization

## Slide 24: Conclusion
Realistic Multi-Grid model built
  reproduced measured results from IN6 and CNCS experiments
Ready to use for optimization
Instruments with better signal-to-background ratio by design
Predicament for background sources and levels in full-scale detector
Shielding and design optimization in the level of grids, columns and full-scale detector

## Slide 25: Backup slides

## Slide 26: Multi-Grid detector test at ILL
In-beam test of the Boron-10 Multi-Grid neutron detector at the IN6 time-of-flight spectrometer at the ILL
A. Khaplanov et al.
http://iopscience.iop.org/article/10.1088/1742-6596/528/1/012040/pdf
No shielding on the rear wall of grids
Geant4 @Coding Framework
S. Agostinelli et al doi:10.1016/S0168-9002(03)01368-8
T. Kittelmann et al doi:10.1088/1742-6596/513/2/022017

## Slide 27: Multi-Grid detector test at ILL Measured data (ToF, depth of detection)
Measured scattering phenomena can be studied with simulation inside the detector

## Slide 28: MultiGrid detector test at ILL Measured and simulated ToF-depth of detection
Measured ToF-depth characteristic and backscatter phenomena reproduced with simulation at 4.1 and 4.6 Å
ToF
Depth in detector [cells]
Backscatter from the unshielded rear wall of the detector at 4.6 Å
Depth in detector [cells]
NXSG4
measured
simulated
Geant4 @Coding Framework
Validation
http://nxsg4.web.cern.ch/nxsg4/

## Slide 29: MultiGrid detector test at ILL Measured and simulated ToF spectra
Measured ToF-spectrum reproduced with simulation at 4.1 and 4.6 Å
Estimated flat alpha-background added (red), unique for this prototype
NXSG4
Validation

## Slide 30: Large area detector for chopper spectroscopy – Multi-Grid
Measured data:
ToF
Detection point coordinates
A. Khaplanov et al.
http://dx.doi.org/10.1016/j.nima.2012.12.021
Geant4 @Coding Framework
Sample – detection point distance
≠
Real neutron path
Energy
Notes: Point out:
Need for low background
Scattering on aluminium
Visualisation with CF

## Slide 31: MultiGrid detector test at CNCS [Anton Khaplanov]
Chopper spectroscopy
Measured quantities:
  ToF
  detection-coordinates
Energy transfer: Etrf = Einitial – Efinal
Etrf = Einitial - Efinal
Derived energy transfer at 3.807 meV from measurement
Counts
Anton Khaplanov et al.: Multi-Grid Detector for Neutron Spectroscopy: Results Obtained on Time-of-Flight Spectrometer CNCS
Submitted to JINST arXiv:1703.03626

## Slide 32: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 33: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 34: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 35: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 36: MultiGrid detector test at CNCS, SNS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Geant4 simulation
NXSG4

## Slide 37: MultiGrid detector test at CNCS
Etrf = Einitial - Efinal
Elastic peak
Scattered neutron background from detector
Scattered neutron background from sample environment
Distinguish different sources of background
Detailed analysis and quantification of background effects
Energy transfer reproduced with simulation at 3.807 meV

## Slide 38: Conclusion
Realistic Multi-Grid model built
  reproduced measured results from IN6 and CNCS experiments
Ready to use for optimization
Instruments with better signal-to-background ratio by design
Predicament for background sources and levels in full-scale detector
Shielding and design optimization in the level of grids, columns and full-scale detector

## Slide 39
26 September 2017, ICANS XXII, Oxford
676548
Thank you for your attention!