## Slide 1: Guide Alignment
2017 07 11
Fabien Rey

## Slide 2
Content
Central SAM Team
Inside the Bunker
In the Experimental Halls
In the Guide Halls
In the Experimental Cabins
What do we know and do not know …
Team
Alignment Strategy
Activities up to now on site

## Slide 3
Central SAM Team
Alignment Strategy
Outside Geodetic Network
Internal Tunnel Network

## Slide 4
Laser Tracker
Central SAM Team
Alignment Strategy
Portable
Robust
Reliable Technology

## Slide 5
Central SAM Team
Alignment Strategy
But we are also familiar with other techniques:
Optical Levelling
Theodolite
Hand Scanning
Laser Scanning
Autocollimation
3D ARM
Interferometry
Photogrammetry
Capacitive/Inductive Measuring Sensors
Hydrostatic Levelling System
Fixed Stretched Wire

## Slide 6
Central SAM Team
TEAM
Provide Services to whole ESS
Limited Resources and Budget
  Trained with Instruments
  Skilled in Metrology Software
  Experienced in Precise Alignment
  Work on the field

## Slide 7
Central SAM Team
Activities up to now on site
Establishing Network
Laser Scanning
Marking
Alignment
G01 Tunnel
G02 Gallery
D02 Target/Monolith
E02 Guide Hall
Almost all critical areas
Following Construction
High demand for Reverse Engineering as 3D As built missing
Cryogenic Equipment
Full Tunnel and Gallery coming
ECHIR
CRYO COLD BOX

## Slide 8
Central SAM Team
Marking
Network Campaign
As-built
Activities up to now on site

## Slide 9
Central SAM Team
Activities up to now on site
ECHIR

## Slide 10
Central SAM Team
Activities up to now on site
Laser Scanning

## Slide 11
11
11
Raw data Acquisition
P30
Concentric Spheres
Analysis in Cyclone
Data Cleaning
Orientation of Scans ( registration)
Geometries created on demand
V6
For Reverse Engineering and Integration
Non CAD users
Visualization/Simple measurments
Focus on 3D Scans
Central SAM Team
Activities up to now on site

## Slide 12
12
12
Reverse
Engineering
Publication
in Truview
G04- 3D model vs SCANS

## Slide 14
What do we know and do not know …
Inside the Monolith
Rigid Assembly moving independently from the other slabs
MONOLITH
Precise alignment for guides inside Insert
Radiation
40 years operation and maintenance

## Slide 15
What do we know and do not know …
Inside the Monolith
Solution Proposed
Precise alignment during installation for
Alignment features inside insert
Alignment features for Moderator
Machined Parts
Precise Assembly
+
Benefits:
Minimize machining cost
Forced centring of Insert
Schematic for monolith systems assembly under progress

## Slide 16
What do we know and do not know …
Inside the Monolith
Customized Insert according to your geometry!
Insert Position forced to Nominal Values !

## Slide 17
What do we know and do not know …
Inside the Monolith
Assembly and Alignment of Guides in Insert
NBEX Tool + Transportation
Location and conditions TBD
Transportation test under investigation to better understand misalignment issues
Assembly area and conditions not fully defined
How do we get organized in this assembly area:
Who does what?

## Slide 18
What do we know and do not know …
Inside the Bunker
Problem:
Bunker area moving independently of the Monolith
Monolith (Port Block) almost not visible from Bunker

## Slide 19
Need to Provide References attached to the Port Block to propagate TCS…
but we do not see Port Block anymore!!!
What do we know and do not know …
Inside the Bunker
Another here
Permanent corner cube reflectors under study

## Slide 20
What do we know and do not know …
Inside the Bunker
Dense Network Available:
On light shutter structure ( attached to port block)
On CF walls
References on the baseplates ( cone)
Probably additional ones on Bunker walls
Reminder:
Reservation on baseplates for NBEX tool attachments
Reservation on baseplates for References ( drawing will be communicated soon)
Provide soon detail 3D model for Integration purposes

## Slide 21
What do we know and do not know …
Inside the Bunker
Strategy for Alignment inside the bunker
- drop the tracker from the roof
- attach some prisms to convenient location (in situ or Remote Handling) + permanent prims on light shutter structure
- locate the tracker and measure the part to be aligned ( can be done remotely)
- track position of component while acting on adjustment systems
How do we place/orient/remove prisms in RH mode?
How to operate the adjustment system?
Not applicable for Chopper!
Forced centring with kinematic mount

## Slide 22
What do we know and do not know …
In Instrument Halls
Vertical Absolute Reference
Network References
Network
Dense network on the Experimental floor ( re-measured as much as we can have access) – out of the Shielding
Additional references covered by the shielding

## Slide 23
What do we know and do not know …
In Instrument Halls
Test on going for supporting system

## Slide 24
What do we know and do not know …
In Instrument Halls
Loading test E01
0
0.8 mm
No load
Max : o.8mm
Max : o.5 mm

## Slide 25
What do we know and do not know …
In Experimental Cabins
Network references
Around the cabin on the floor
Inside the cabin:
  On rigid walls ( can you drill the wall? Safety problem)
  On the floor ( is the floor visible )
  Connect to the outside while mounting the cabin ( for mm accuracy)
  Think on how to re measure the network through door or chicane

## Slide 26
What do we know and do not know …
In Experimental Cabins
Sample Environment

## Slide 27
SAM team adopted Laser tracker solution ( with limited budget and resources)
SAM team will provide dense network and updated values as much as we can.
SAM Team will make sure to propagate TCS information outside the monolith
ESS places Inserts inside the monolith
- But , how do we get organised in mounting area of guides in insert?
Conclusion 1

## Slide 28
Conclusion 2
Once you have selected your guide vendors, please contact us:
- To collaborate to the design of supports , adjustment systems , and alignment strategy
- To understand who does what in each area.
- To enable SAM team to provide the best support possible.
- To agree on details: ex: exchange of data ( fiducialization ,network)

## Slide 29
Thank you!
Usefull Links:
Confluence SAM page
Request for SAM services
Instructions for Point Cloud Viewer
Truview service