## Slide 1: Neutron Sources
Ken Andersen
LTH Engineering course
7th December 2017

## Slide 2: Summary
Neutron facilities
  overview & trends
Reactor-based sources
  Institut Laue-Langevin
Fission vs Spallation
  ISIS
Neutron source time structure
  moderator design
  the time of flight method
Long-pulse neutron sources

## Slide 3: Main European neutron sources 2017
ISIS
ILL
LLB
TUD
HZB
FRM2
PSI
BNC
JEEP-II

## Slide 4: Major neutron sources in the world
ILL (F) |  |  | 
HZB (D) |  |  | 
LLB (F) |  |  | 
PSI (CH) |  |  | 
FRM-II (D) |  |  | 
HFIR (USA) |  |  | 
NIST (USA) |  |  | 
JRR-3 (J) |  |  | 
PIK (RU) |  |  | 
IBR-2/2M (RU) |  |  | 
ISIS-1 (UK) |  |  | 
ISIS-2 (UK) |  |  | 
SNS (USA) |  |  | 
J-PARC (J) |  |  | 
ESS (SE) |  |  | 
2000
2010
2020
Continuous
Pulsed

## Slide 5: Major neutron sources in the world
ILL (F) |  |  | 
HZB (D) |  |  | 
LLB (F) |  |  | 
PSI (CH) |  |  | 
FRM-II (D) |  |  | 
HFIR (USA) |  |  | 
NIST (USA) |  |  | 
JRR-3 (J) |  |  | 
PIK (RU) |  |  | 
IBR-2/2M (RU) |  |  | 
ISIS-1 (UK) |  |  | 
ISIS-2 (UK) |  |  | 
SNS (USA) |  |  | 
J-PARC (J) |  |  | 
ESS (SE) |  |  | 
2000
2010
2020
Fission
Fission
Fission
Fission
Fission
Fission
Fission
Fission
Fission
Spallation
Spallation
Spallation
Spallation
Spallation
Spallation
Continuous
Pulsed

## Slide 6: Evolution of neutron sources
Berkeley 37-inch cyclotron
350 mCi
Ra-Be source
Chadwick
1930
1970
1980
1990
2000
2010
2020
105
1010
1015
1020
1
ISIS
Pulsed Sources
ZINP-P
ZINP-P/
KENS
WNR
IPNS
ILL
X-10
CP-2
Steady State Sources
HFBR
HFIR
NRU
MTR
NRX
CP-1
1940
1950
1960
Thermal flux n/cm2-s
(Updated from Neutron Scattering, K. Sköld and D. L. Price, eds., Academic Press, 1986)
FRM-II
SINQ
SNS
J-PARC
ESS

## Slide 7: Slow Neutrons vs Light
 | light | neutrons
λ | < μm | < nm
E | > eV | > meV
penetration | ~ μm | ~ cm
θc | 90° | 1°
B | 1018 p/cm2/ster/s (60W lightbulb) | 1014 n/cm2/ster/s (60MW reactor)
spin | 1 | ½
interaction | electromagnetic | strong force, magnetic
charge | 0 | 0

## Slide 8: Why neutrons?
Thermal neutron have wavelengths similar to inter-atomic distances
Thermal neutrons have energies comparable to lattice vibrations
Neutrons are non-destructive
Neutrons interact weakly
  they penetrate into the bulk
Neutrons interact via a simple point-like potential
  amplitudes are straightforward to interpret
Neutrons have a magnetic moment
  great for magnetism
Neutrons see a completely different contrast to x-rays
  e.g. hydrogen is very visible

## Slide 9: Why neutrons?
Element (Z)
Mass Attenuation Coefficient (cm/g)

## Slide 10: ILL Reactor Neutron Source

## Slide 11: ILL Reactor Neutron Source
Highly-enriched uranium
Compact design for high brightness
Heavy-water cooling
Single control rod
57MW thermal power
Cold, thermal, hot sources
2 m

## Slide 12: ILL Reactor Neutron Source
 | cold | thermal | hot
moderator | liquid D2 | Liquid D2O | graphite
moderator temperature | 20K | 300K | 2000K
neutron wavelength | 3→20Å | 1→3Å | 0.3→1Å
Highly-enriched uranium
Compact design for high brightness
Heavy-water cooling
Single control rod
57MW thermal power
Cold, thermal, hot sources
2 m

## Slide 13: ILL Reactor Neutron Source
1st guide hall
(20 instruments)
2nd guide hall
(7 instruments)

## Slide 14
ILL Reactor Neutron Source

## Slide 15
ILL Reactor Neutron Source
VCS
HCS
Thermal beam tubes
HS

## Slide 16: ILL Moderator Brightnesses

## Slide 17: Spallation Sources
Spallation: 10x higher neutron brightness per unit heat
1 MW spallation source = 10 MW reactor
  e.g. 800 MeV at 1.25 mA (PSI)
  e.g. 3 GeV at 0.4 mA (J-PARC)
Peak brightness >> time-average brightness
log(Intensity@λ=5Å)
0 20 40 60 80 100 120
time (ms)
1
0.1
ISIS-TS1 128kW
ISIS-TS2 32kW
100μs
0
ILL 57MW

## Slide 18: De Broglie Relations
Particle | Wave

## Slide 19: The Time-of-Flight (TOF) Method
distance
time

## Slide 20: ISIS Spallation Source
ISIS, UK (160kW)

## Slide 21: SNS, Oak Ridge, USA (1MW)

## Slide 22: J-PARC, Tokai, Japan (500kW)

## Slide 23: J-PARC, Tokai, Japan (500kW)

## Slide 24: ESS, Lund, Sweden (5MW design power)

## Slide 25: ISIS TS2 Target

## Slide 26: Target-Reflector-Moderator Neutronics
Target produces neutrons in > MeV range
Moderators contain H to thermalise neutrons
  largest scattering cross-section (80b)
  lower mass: same as neutron
  on average, ½ energy lost per collision
  100 MeV -> 10 meV requires about 25 collisions
Moderators embedded in reflector, usually D2O-cooled Be
  minimal absorption
  large scattering cross-section (8b)
  little thermalisation

## Slide 27: Target-Reflector-Moderator Neutronics
Be
Target plane
Target
protons in

## Slide 28: Target-Reflector-Moderator Neutronics
protons in
Be
10cm above/below Target

## Slide 29: Target-Reflector-Moderator Neutronics
protons in
Be
10cm above/below Target

## Slide 30: Target-Reflector-Moderator Neutronics
protons in
Be
10cm above/below Target

## Slide 31: Target-Reflector-Moderator Neutronics
0
100μs
200μs
protons in
Be
10cm above/below Target

## Slide 32: Target-Reflector-Moderator Neutronics
Cd
0
100μs
200μs
Cadmium absorption
Decoupling
protons in

## Slide 33: Target-Reflector-Moderator Neutronics
Cd
0
100μs
200μs
Cadmium absorption
Decoupling

## Slide 34: Target-Reflector-Moderator Neutronics
Cd
0
100μs
200μs
Cadmium absorption
Gd
Decoupling
Poisoning
Gadolinium absorption

## Slide 35: Time-of-flight (TOF) resolution
distance
time
Δt

## Slide 36: Time-of-flight (TOF) resolution
distance
time
Δt

## Slide 37: Moderator Decoupling and Poisoning
Peak Structure at 5meV
Coupled
Decoupled
Poisoned
J-PARC H2 moderators at 1MW

## Slide 38: Moderator Decoupling and Poisoning
Intensity
λ=1Å
λ=2Å
λ=5Å
0 100 200 300
time (μs)

## Slide 39: SNS moderators
decoupled poisoned H2
coupled H2
coupled H2
decoupled poisoned H2O
Top
Bottom
20 cm

## Slide 40: ISIS TS2 Target
coupled solid CH4
coupled H2
decoupled poisoned solid CH4

## Slide 41: Moderator Temperature
ISIS-TS1 moderators at 160kW

## Slide 42: Long-pulse performance
4
time (ms)
Brightness (n/cm2/s/sr/Å)
x1013
ISIS TS1
128 kW
ISIS TS2
32 kW
SNS
1-2 MW
JPARC
0.3-1 MW
ILL 57 MW
ESS 5 MW
2015 design
0
1
2
3
15
5
10
λ = 5 Å

## Slide 43: Adapting the pulse width
0
100μs
200μs
0
3 ms
Intensity
Intensity
Short-Pulse Source
- set pulse width by choosing moderator
Long-Pulse Source (ESS)
- set pulse width using pulse-shaping chopper
coupled
decoupled
poisoned

## Slide 44: Summary
Neutron facilities
  overview & trends
Reactor-based sources
  Institut Laue-Langevin
Fission vs Spallation
  ISIS
Neutron source time structure
  moderator design
  the time of flight method
Long-pulse neutron sources

## Slide 45: Thank You!