## Slide 1
CS-Studio and EPICS7
Kunal Shroff
Gabriele Carcassi

## Slide 2
Diirt Architecture

## Slide 4
CS-Studio and V4 channels

## Slide 5
Creating EPICS7 channels
pva datasource
The pvaccess datasource prefix when creating the channel pva://<name>
Notes: Publish susbscribe

## Slide 6
Creating EPICS7 channels
pva datasource
Use the pvacess datasource prefix when creating the channel pva://pvcounter epics:nt/NTScalar:1.0 -> Vdouble
Notes: Publish susbscribe
Alarm_t, display_t, time_t, control_t
o.diirt.support.pva.adapters
PVFieldto Vtypes

## Slide 7
Accessing EPICS7 structured data
pva NTType support
The pva module provides the mapping for NTTypes to Vtypes
  Currently supported NTTypes includes
  General Normative Types
    NTScalar
  NTScalarArray
    NTEnum
  NTTable
  Specific Normative Types
    NTMultiChannel
    NTNDArray
Notes: General Normative Types
  NTScalar
  NTScalarArray
  NTEnum
  NTMatrix
  NTURI
  NTNameValue
  NTTable
  NTAttribute
Specific Normative Types
  NTMultiChannel
  NTNDArray
  NTContinuum
  NTHistogram
  NTAggregate

## Slide 8
Accessing EPICS7 structured data
pva Type support
Formula Functions Allow parsing of any EPICS7 data structure into a Type that can be used by cs-studio applications
Notes: General Normative Types
  NTScalar
  NTScalarArray
  NTEnum
  NTMatrix
  NTURI
  NTNameValue
  NTTable
  NTAttribute
Specific Normative Types
  NTMultiChannel
  NTNDArray
  NTContinuum
  NTHistogram
  NTAggregate

## Slide 9
Accessing EPICS7 structured data
pva formula support
NTNDArray formula set
image
Creates an VImage from the NTNDArray using all the appropriate fields (value, dimensions, …)
ndArray
  Extracts the raw values as a VNumberArray
attributes
Creates a VTable from the attributes structure of this NTNDArray
Notes: General Normative Types
  NTScalar
  NTScalarArray
  NTEnum
  NTMatrix
  NTURI
  NTNameValue
  NTTable
  NTAttribute
Specific Normative Types
  NTMultiChannel
  NTNDArray
  NTContinuum
  NTHistogram
  NTAggregate

## Slide 10
CS-Studio and EPICS7 services

## Slide 11
Describing V4 services for Diirt
Services provide a means to execute and retrieve the result EPICS7 RPC calls
  Preparing the arguments
  Mapping Vtype <-> NTTypes
  Handle asyn/synchronous calls (todo)
New diirt services can be contributed via java SPI
Notes: Publish susbscribe

## Slide 12
Describing V4 services for Diirt
Simple services can be described via xml files which
  Service name to be connected
  List of arguments
  List of results, along with the fields the result maps to and the Type
Configuration file location
  /configuration/diirt/pvarpc/
helloService.xml mathService.xml
Notes: Publish susbscribe

## Slide 13
Using EPICS7 RPC services with Diirt
The services button
  Defines the V4 service to be use RPCMath/Sum
The channels from which to create the argument list loc://pv_a (VDouble) -> argument a loc://pv_b (VDouble) -> argument b
Provide the channel to which the result will be written loc://pv_sum (Vdouble)
Notes: Publish susbscribe

## Slide 14
CS-Studio and EPICS7
Next steps

## Slide 15
Create new VTYpes for NTTypes currently not supported
Improve existing widgets and create new widgets optimized for structured data
  Image
  Tree
  Table
Improve pvDataJava and pvAccessJava
NEXT STEPS

## Slide 16
Improve pvDataJava and pvAccessJava
Next steps

## Slide 17
Writting client code to handle type casting is not trivial
Using Arrays is not intuitive nor easy
OBSERVATIONS ON THE PVDATA API

## Slide 18
Epics-util and pvdata
// Common superclass for all numerical arrays. Returns a no-copy array wrapper with a generic interface
PVNumberArray pvArray = ...
ListNumber values = pvArray.get();
// Provides index access for any primitive type taking care of casting (including unsigned conversions)
float sum = 0;
for (int i = 0; i < values.size(); i++) {
sum += values.getFloat(i);
}
// Provides iterator access
IteratorNumber iter = values.iterator();
double sum = 0;
while (iter.hasNext()) {
sum += iter.nextDouble();
}
// Allows writing from any type to any type
pvArray.put(5, CollectionNumbers.toListDouble(1,2,3));
Working with direct types
Notes: General Normative Types
  NTScalar
  NTScalarArray
  NTEnum
  NTMatrix
  NTURI
  NTNameValue
  NTTable
  NTAttribute
Specific Normative Types
  NTMultiChannel
  NTNDArray
  NTContinuum
  NTHistogram
  NTAggregate

## Slide 19
Epics-util and pvdata
// Specific arrays return concrete unmodifiable array wrappers. Direct use of the wrapper provide no performance cost over array (after JIT warmup)
PVUByteArray pvArray = ...
ArrayUByte values = pvArray.get();
// Slicing array just provides a view
ArrayUByte slice = values.subList(3, 5);
// You can always make explicit (and mutable) copies
ArrayUByte sliceCopy = new ArrayUByte(slice);
// The wrapped array is always accessible
UnsafeUnwrapper.Array<byte[]> data = UnsafeUnwrapper.readSafeByteArray(values);
for (int i = data.startIndex; i < data.size; i++) {
byte b = data.array[i];
}
// You can also ask for a write safe version
UnsafeUnwrapper.Array<byte[]> data = UnsafeUnwrapper.writeSafeByteArray(values);
Working with direct types
Notes: General Normative Types
  NTScalar
  NTScalarArray
  NTEnum
  NTMatrix
  NTURI
  NTNameValue
  NTTable
  NTAttribute
Specific Normative Types
  NTMultiChannel
  NTNDArray
  NTContinuum
  NTHistogram
  NTAggregate

## Slide 20
Epics-util and pvdata
org.epics.util.array
// Provides numerous utility functions to work with generic arrays of numbers. Including unsigned type casting
float floatValue toFloat(unsignedLongValue);
// Array copies from all combinations
doubleArray.setAll(0, longArray);
double[] array = list.toArray(new double[list.size()]);
// Transparently uses System.arraycopy when possible
doubleArray.setAll(0, otherDoubleArray);
// Lazy math operations on arrays
ListDouble sum = ListMath.add(list1, list2);
ListDouble concat = ListMath.concatenate(list1, list2);
Working with arrays
Notes: General Normative Types
  NTScalar
  NTScalarArray
  NTEnum
  NTMatrix
  NTURI
  NTNameValue
  NTTable
  NTAttribute
Specific Normative Types
  NTMultiChannel
  NTNDArray
  NTContinuum
  NTHistogram
  NTAggregate

## Slide 21
Thank You for Your Attention!