## Slide 1: Web Extensible Display Manager (WEDM)
For Installations with EPICS 3 and EDM
Ryan Slominski & Theo Larrieu

## Slide 2: Introduction
EDM screens in a web browser
Server reads “edl” files directly
Handles 1,000s of PV updates per second
Standard EDM drag and drop screen creation tool can make mobile-sized screens

## Slide 3: Problem
Accessing screens requires either:
Directly sitting in front of an accelerator workstation
Special network “exception” for remote computer
Accelerator account with 2-factor authentication and tunnel / VPN

## Slide 4: Use Cases
Facilities department remote office electric, gas, and water meter monitoring
On-call staff mobile device monitoring and troubleshooting
Guard kiosk cryogenic alarm monitoring

## Slide 5: How Does It Work?
Web Browser
Web Socket
epics2web Web Server
EPICS CA
CA Gateway
HTTP
WEDM Web Server

## Slide 6: Jlab Deployment / DEMO
Mobile “directory service” app for locating screens
https://epicsweb.jlab.org

## Slide 7
Ryan Slominski, Theo Larrieu
Questions?
Summary:
View existing EDM screens on the web/mobile
Faster/Easier on-call troubleshooting and remote monitoring
More Information:
ICALEPCS Poster TUPHA181
github.com/JeffersonLab/wedm
EPICS Workshop 2017
WEDM