## Slide 1: TARGET IMAGING CDR
2017 10 24
Fabien Rey
BENDAMOUNT
MIRROR ADJUSTABLE MOUNT

## Slide 2
Content
Function & Requirements
Design and Manufacturing
Tests and Qualifications
Integration

## Slide 3
FUNCTION and REQUIREMENTS
Function
Initial Requirements
6 dof mirror mount
External size : 100*100*100 max.
Minimizing coupling/crosstalk
Maximal rigidity
Clamping capabilities
Range : Tx=Ty=Tz= ± 5mm
σx=σy=σz= ± 5 deg (a lot !!!)
Rough pre alignment possibility
Size/weight of mirror : 100*100*10 + holder
400 g
Minimize effect from environment ( Temperature, radiation)
Minimize effect of change in gravity orientation
Simple and elegant
Conceptual design developed by BENJAMIN DAVIDGE (ESS EIS division)
Optical Transport for Target Inner Monolith Systems

## Slide 4
4
Rx
Tx
Rz
Tz
Ry
Ty
Tz
Rz
Rx
Ry
Tx
Ty
Clamping
Holder fixation
Credits: Benjamin Davidge
DESIGN and MANUFACTURING
Initial Design 6DOF

## Slide 5
Initial Design 6DOF
Only Design 3 DOF ( 1T, 2 R) needed
Decision on first fixed mirror
Prototype 4 DOF
(1T,3T)
DESIGN and MANUFACTURING

## Slide 6
DESIGN and MANUFACTURING
Prototype 4 DOF
(1T,3T)

## Slide 7
DESIGN and MANUFACTURING

## Slide 8
TESTS and QUALIFICATIONS
Mounting / Dismounting / Fitting / Accessibility
Mirror Holder Fiducialization and Dummy Mirror
Laser Tracker / Autocollimation
Range
Stability / Vibration
Repeatability
Clamping
Design Changes?

## Slide 9
INTEGRATION
3D Integration inside Slide
Implementation of Alignment features
2x M4 ( depth 10mm)
Volume clash
Accessibility

## Slide 10
CONCLUSION
Simple and Robust Design that still needs to be qualified
Series Manufacturing
Full Assembly and Alignment Process
(mock-up and reality)

## Slide 11
Thank you