## Slide 1: Receiving Inspection on incoming goods
Conny Wendt - Quality Inspection Technician
www.europeanspallationsource.se
1 December, 2017

## Slide 2: Receiving Inspection
What is the purpose with the Receiving inspection?
Act as a independent reviewer of incoming goods
Secure that the requirements set by internal and external stakeholders are met.
Capture important technical documentation.
Notes: Don't see us as a burden, see us as a helping hand.
our collective goal is to build and maintain ESS.

## Slide 3: What to inspect?
ESS-0102301, ESS procedure for receiving inspection
Inspections will be performed with a graded approach focusing on high cost and risk.
Selection will be done according to following criteria's:
  Safety SSC´s
  Quality Class according to:
    ESS rule for identification and classification of safety important components, ESS-0016468.
    ESS Rules for Quality Regulation - Mechanical Equipment, ESS-0047989.
    ESS rules for radiation safety classification of Electrical and I&C equipment including technical and quality requirements, ESS-0054158
    ESS rules for radiation safety classification of civil structure including technical and quality requirements, ESS-008383
    ESS rules for quality requirements applicable to HVAC systems and components, ESS0083831
    ESS rules for radiation safety classification of lifting equipment including technical and quality requirements, ESS-0135186
The following are requirements for components purchased by ESS:
  Mechanical equipment; All components in quality class 1-4
  Field instrumentation; All components
  Electrical equipment; All components in category A
  Equipment selected by WPM in collaboration with Quality Department.
If the agreement with in-kind or other contractor’s states that they are responsible for delivery of the supplied material/components to site, a procedure shall be approved by ESS Quality Department on how to secure delivered goods.
Notes: In-kind: This will also applies to procurement where the supplier installs and/or manage the operation for a time

## Slide 4: Receiving Inspection
What will we look at?
  Markings according to documentation
  Special pointer according to Technical Agreement
    Control plans
    According to Receiving Inspection Report (ESS-0118174)

## Slide 5: Receiving Inspection.
Receiving inspection will be performed in two parallel steps:
Physical inspection
Document control
The result of the inspection is documented in the “Receiving Inspection Report(RIR)” and stored in CHESS.

## Slide 6: Workflow – Receiving Inspection
Start
End
Logistics
ESS-0042154
WPM /
Goods Receiver
Quality
ESS-0102301
Security /
Dangerous Goods
ESS-0122078
Classification
Physical quality inspection
Document Review
Receiving Inspection
Approved
Blocked Goods
To Projects
To Storage
Dialog WPM/QI
Item Control
Document Control
Damage Control
Content Control
Security Control
Dangerous Goods Control
Address control
Goods Handover
Issue NCR
Contact WPM
Report issuing and filing
Corrective Action
Receiving inspection approved
Receiver Notification
N
Y
N
Y

## Slide 7: Thank You for your time!