## Slide 1: J-PARC workshop – Safety Session Radiation Protection
L. Johansson
ESS, 19 January 2018
www.europeanspallationsource.se

## Slide 2: Questions
General structure of radiation monitoring system + threshold for alarm and actions. Instrumentation types, not just in pulsed monitoring and neutrons but also CW fields as well as personal protection (Hand and Foot Monitors, portal monitoring etc.)
In and out passage of supervised and controlled areas
ALARA approach in operation and associated working documents (work permit, …)
Confinement strategy and monitoring of airborne contamination in the process (active cell, glove box,..) and in the premises
Zoning and management of zoning changes in operation/ access, control and monitoring for the different kind of areas

## Slide 3: Questions - other
Environmental monitoring
Experience from commissioning of the first part of the accelerator.
Configuration management of shielding.
Any other issues that ESS should be aware of in this phase of construction/commissioning.

## Slide 4: Radiation Monitoring – Ali Day
General description of RP instrumentation used (fixed & handheld) and experiences.
Overview of area monitoring systems & solutions for pulsed and continuous fields (γ, n, x)
    Interlocks to operations?
Description of instrumentation as well as integration with access control for;
    Contamination monitoring (hand & foot and whole body)
    Portal monitors for personnel and vehicles
Environmental monitoring (stray radiation, ventilation, water, aerosol, gas, tritium etc)
Maintenance philosophy & asset management
Certified calibration and functional testing including sources and irradiators

## Slide 5: Hot Cell – Fredrik Tidholm
What is your process for moving material, equipment and waste in and out of the Hot Cell. How do you control the spread of contamination during these activities?
Do you ever decontaminate the items in the Hot Cell or the Hot Cell itself? If so, what method(s) do you use?
What are your biggest challenges regarding the Hot Cell?

## Slide 6: In/Out passage of controlled and supervised areas
Access control
  access card / dosimeter - verification
  database & restrictions (training, authorisation, dose limits)
  radiological work permit
  access for visitors
Incident handling
  sanctions for disobedience
  exiting with broken or missing access card/dosimeter/key

## Slide 7: In/Out passage of controlled and supervised areas (cont.)
Contamination control
  Protective clothing (what, when)
  Dedicated tools in each area
  Measurements (x-check with Ali’s)
    Hand&Foot, whole body, portal monitors
    Tools & equipment
  Decontamination procedure

## Slide 8
Thank you!