## Slide 1: Temperature and Fields Update on Suite and day 1 priorities
Alex Holmes
TEFI platform leader
www.europeanspallationsource.se
5 March, 2018

## Slide 2: 15 Instruments selected so far 8 to be in user operation by 2023
ODIN Imaging Instrument
SKADI General Purpose SANS
LOKI Broadband SANS
Surface Scattering
FREIA Horizontal Reflectom.
ESTIA Vertical Reflectom.
HEIMDAL Powder Diffract.
DREAM Powder Diffract.
Monochromatic Powder Diffract.
BEER Engineering Diffract.
Extreme Conditions Diffract.
MAGIC Magnetism Diffract.
NMX Macromolecular Diffract.
CSPEC Cold Chopper Spec.
Broadband Spectrometer
T-REX Thermal Chopper Spec.
BIFROST Xtal Analyser Spec.
VESPA Vibrational Spec.
MIRACLES Backscatt. Spec.
High-Resolution Spin-Echo
Wide-Angle Spin-Echo
Particle Physics Instrument
Large-Scale Structures
Diffraction
Spectroscopy
life sciences | magnetism & superconductivity
soft condensed matter | engineering & geo-sciences
chemistry of materials | archeology & heritage conservation
energy research | particle physics
Version 24/10/2017

## Slide 3: 1st 8 Instruments with significant TEFI requirements
ESTIA Vertical Reflectometer
BIFROST Horizontal scattering Xtal Analyser Spectrometer
MAGIC Single crystal Magnetism Diffractometer
CSPEC Cold Chopper Spectrometer
DREAM Powder Diffractometer
+LOKI (SANS), ODIN (imaging), BEER (Engineering)
T-REX, SKADI, HEIMDAL also important TEFI requirements
All/many want standard cryostats, dilution units, furnaces.

## Slide 4: Particular Instrument constraints
BIFROST - horizontal scattering – extreme conditions

## Slide 5: Particular Instrument constraints
BIFROST - horizontal scattering – extreme conditions
ESTIA - High throughput, low field sufficient

## Slide 6: Particular Instrument constraints
BIFROST - horizontal scattering – extreme conditions
ESTIA - High throughput, low field enough
MAGIC – large aperture

## Slide 7: Particular Instrument constraints
BIFROST - horizontal scattering – extreme conditions
ESTIA - High throughput, low field sufficient
MAGIC – large aperture
CSPEC – top loading vacuum/atm, low background

## Slide 8: Particular Instrument constraints
BIFROST - horizontal scattering – extreme conditions
ESTIA - High throughput, low field sufficient
MAGIC – large aperture
CSPEC – top loading vacuum/atm, low background
DREAM – Al powder lines in tails – radial collimation?

## Slide 9: Particular Instrument constraints
BIFROST - horizontal scattering – extreme conditions
ESTIA - High throughput, low field sufficient
MAGIC – large aperture
CSPEC – top loading vacuum/atm, low background
DREAM – Al powder lines in tails – radial collimation?
T-REX – vacuum tank, low background, large aperture
HEIMDAL – Two guides, combined SANS/Diffraction
SKADI – SANS – homogeneity requirements for flux lattice studies
MIRACLES – 400mm max diameter
All have detectors on left hand side
Horizontal field not in great demand (except for SANS)
Little significant demand for vector fields.

## Slide 10: Magnet priorities across instruments
Flow/CCR inserts
ULT Inserts
Highest field, small vertical opening
Large Aperture 1st priority
Field 2nd
MAGiC
CSPEC*
T-REX*
Warm bore
ESTIA
DREAM*
HEIMDAL
BIFROST
Horizontal field
SKADI
MIRACLES*
(400 mm diam.)
*sample in vacuum

## Slide 11: Magnets
Priority | SYSTEM | DETAIL | UNIT COST (k€) | INSTRUMENTS |  | READY BY
=1 | 2.5T Warm bore cryomagnet | Similar to MLZ design MAG-2.2T-HTS | 335 | ESTIA +EVERYONE |  | 22/Q1
=1 | Vertical 10 8T cryomagnet | large opening, assymetric (<100K?) | 1000 | MAGIC CSPEC DREAM TREX HEIMDAL |  | 20/Q4
=1 | Vertical 15T cryomagnet | split coil | (1000) | BIFROST DREAM HEIMDAL |  | 21/Q1
2 | 5T warm bore cryomagnet | Cryo-free | 300-400 | ALL (-MIRACLES) |  | 
3 | 2.5T warm bore small footprint | No bottom access | 250 | ALL incl MIRACLES |  | 
4 | Horizontal 11T cryomagnet | SANS MA11+ | 500 | SKADI ESTIA MAGIC DREAM HEIMDAL |  | 22
5 | Medium field cryo | Assym. large opening |  | MAGIC CSPEC DREAM TREX HEIMDAL |  | 
6 | 1T electromagnet |  | 50 | LOKI ESTIA SKADI FREIA |  | 21/Q1
7 | Horizontal medium field large opening |  |  | BIFROST DREAM HEIMDAL |  | 23
 | Pulsed field |  |  | MAGIC DREAM HEIMDAL |  | 24

## Slide 12
Thinned Al on beam out
8
-> Dedicated magnet
for spectroscopy?

## Slide 13: Temperature and Fields – suite for 8 by 2023 incl. infrastructure
 | # | Cost k€ | Ready | Start | In-kind partner
Vertical cryomagnet 8T large opening | 1 | 1000 | 20 Q4 | 17 Q4 | ‘agreed’ (FR)
Vertical cryomagnet 15T (HZB) | 1 | (1000) | 21 Q1 | 17 Q4 | re-used (DE)
Warm bore cryomagnet 2x 2.5T, 1x 5T | 3 | 1000 | 22 Q1 | 19 Q1 | ‘agreed’ FR
Horizontal cryomagnet 11T | 1 | 500 | 22 Q1 | 19 Q1 | not identified
Cryostat incl PTR, wet, flow, cryostream | 4 | 350 | 21 Q1 | 19 Q2 | ‘agreed’ FR
CryoFurnace (4K – 500K) incl. changer | 3 | 500 | 21 Q1 | 18 Q4 | MAGIC, DREAM, CSPEC
Dilution | 2 | 500 | 21 Q1 | 18 Q3 | ‘agreed’ FR
High Temperature Vacuum Furnace | 2 | 80 | 21 Q1 | 19 Q1 | ‘agreed’ FR
Infrared Furnace | 1 | 50 | 21 Q2 | 19 Q2 | ‘agreed’ FR
Sorption stick | 1 | 150 | 21 Q1 | 18 Q4 | ‘agreed’ FR
6kV HV supply | 2 | 50 | 21 Q2 | 20 Q3 | in-house
Peltier subcryostat, | 1 | 125 | -- | complete | DK
in-situ AC suscept. | 1 | 30 | 18 Q3 | 18 Q1 | In-house
LHe vessels / Helium management | IN | 200 | 21 Q1 | 18 Q1 | not identified

## Slide 14: Timelines
2018
2019
2020
2021
2022
2023
Specifications
Procurement
Construction
Delivery & Commisioning
8T wide aperture magnet & ULT inserts (FR In-kind)
Specifications
Procurement
Construction
Delivery & Commisioning
Warm bore magnets (FR In-kind)
Specifications
Procurement
Construction
Delivery & Commisioning
Wet/Dry Cryostats
Furnaces (FR In-kind)
Specifications
Procurement
Construction
Delivery & Commisioning
He infrastructure

## Slide 15: Questions
Is the grouping and prioritisation of magnets/instruments reasonable?
Do we need a high field magnet (10T+) dedicated to spectroscopy?
Advice on procurement process.