## Slide 1: SEE Alignment Systems Update
Malcolm Guthrie
www.europeanspallationsource.se
6 March, 2018

## Slide 2: Sample environment mounting and alignment
Key goals:
Enable possibility of sub-mm reproducibility in mounting
Enable transferability between instruments and offline stations (e.g. for SXL or other pre-alignment)
Cover both floor and flange mount instruments
Support distinct levels (with adapters) to cover broad range of equipment dimensions

## Slide 3: Flange mount
Level 1 (largest envisaged SEE)
Flange to sample distance = 600mm
Maximum mass 1000 kg
Largest SEE ø = 800mm

## Slide 4: Flange mount
SEE flange
SAD is responsible
One for each SEE
SAD controls precision
Instrument adapter
“Shared” component: SAD defines O-ring, alignment pins and bolt holes. Instrument defines everything else.
One per instrument
Instrument controls precision

## Slide 5: Flange mount

## Slide 6: Floor mount
Oops!
(last night!)

## Slide 7: Floor mount

## Slide 8
Level 3: Van Can

## Slide 9
Level 3: DAC

## Slide 10
Level 3: DAC

## Slide 11
Level 2: PE cell

## Slide 12
Level 2: 2nd PE cell

## Slide 13
Level 2: 2nd PE cell

## Slide 14
Level 1: cryomag

## Slide 15
Level 1: cryomag (no stage)

## Slide 16
Level 1: cryomag (no stage)
Flange-mount

## Slide 17: Single-crystal alignment
Possibility: Laue station on Test Beamline
Within budget:
  Basic Linear stages
  Shielding and PPS
  A few detectors (self-made prototypes from detector group)
Might be feasible to create orientation station for little cost.