## Slide 1: Safety and Quality
Helena Ramsing
Occupational Health and Safety Engineer, NSS
www.europeanspallationsource.se
23 February, 2018

## Slide 2: Safety for NSS
Projects I’m involved in: Licensing documents (RML, IHA, editing) Safety for SAD (Sample environment/labs) Interface to ESH&Q

## Slide 3: Sample Environment
Current challenges: Safety for SE system (trial for high pressure vessels and systems) Hot works Accessibility

## Slide 4: Safety SE Systems
In-going components will be CE-marked by manufacturer
ESS-built systems need safety and quality assurance
A procedure to be used on all equipment is needed, this can be expanded to other systems within SE further on.
Suggested workflow presented below; same workflow as for instruments in their CE-marking process.

## Slide 5: Safety SE Systems
Directives
Test & Verification
Documents
Risks
Independency
Identify applicable directives and laws
Perform a documented risk assessment by a panel of SMEs
Investigate if a notified body is needed for indpendent conformity assessment
Test system for conformity
Verfiy the system
Draw up required technical documentation:
Operations manual, declaration of conformity and CE marking if applicable

## Slide 6: Safety SE Systems
Challenges:
Communicating needed documentation in procurement phase and controls of documentation and quality upon delivery
Proper documentation for in-house developed systems
Defining our own needs for safety and quality, such as safety factor, staffing, resources, responsibilities, scheduling, etc.
Testing for high pressure systems and then expanding the method for other system

## Slide 7: Hot Works/Accessibility
Recently started working with these areas
How to handle hot works that cannot be taken to a soldering station – collaboration with concerned parties and ESH
Which parts of our buildings need to be exempt from accessibility demands – collaboration with concerned parties and CF

## Slide 8: Hot works/accessibility
Challenges:
Adapting to existing ESS standards and/or trying to modify the standards to our needs
Having procedures in place that promote safety but do not discourage from use