## Slide 1: GEM-based neutron detectors including beam monitors
G. Croci3,1,2, A. Muraro1, G. Grosso1, E. Perelli Cippo1, G. Claps4, F. Murtas4, M. Rebai2,4, M. Tardocchi1, C. Höglund5,6, L. Hultman6, J. Birch6, S. Schmidt6, L. Robinson6, R. Hall-Wilton6,7 and G. Gorini3,4
1Istituto di Fisica del Plasma (IFP-CNR) – Via Cozzi 53, 20125 Milano, Italy
2INFN – Sez. Di Milano-Bicocca – Piazza della Scienza 3, 20126 Milano, Italy
3Dipartimento di Fisica, Università degli Studi di Milano-Bicocca –
Piazza della Scienza 3, 20126 Milano, Italy
4INFN – Laboratori Nazionali di Frascati –Via Fermi 40, 0044 Frascati, Italy
5European Spallation Source ESS AB, P.O. Box 176, SE-221 00 Lund, Sweden
6Department of Physics, Chemistry and Biology (IFM), Thin Film Physics Division,
Linköping University, SE-581 83 Linköping, Sweden
7Mid-Sweden University, SE-851 70 Sundsvall, Sweden

## Slide 2: GEM-based neutron detectors under development:
BAND-GEM
bGEM beam monitor
Multi-GEM neutron converter

## Slide 3: BAND-GEM Full Module Completed!
Under test

## Slide 4: GEM Beam Monitor
3 mm
pads on kapton
DRIFT
GAIN
Triple GEM
Mylar 12 um
p
Low Material Budget !
Kapton
Pads
Electronics out of the beam

## Slide 5: Fast neutron Beam monitor : nTOF gamma flash
100 ns
200 ns
300 ns
400 ns
500 ns
600 ns
700 ns
800 ns
900 ns
The GEM detector with its FPGA-based acquisition can measure the particle flux map in time slices of 100 ns starting from the CERN-PS trigger.
At 700 ns the gamma flash appears

## Slide 6: Beam monitor : gamma flash vs detector gain
780 V
810 V
840 V
870 V
900 V
930 V
960 V
990 V
By changing the triple-GEM gain the detector becomes more sensitive to the gamma flash.
Exceeding the working point at 900 V
the detector’s bins at the center appear saturated

## Slide 7: Beam Monitor : fast neutron efficiency (nTOF)
1 MeV
5 MeV
Efficiency 10-4
mm
mm
40 mm
40 mm

## Slide 8: Beam Monitor : fast neutron beam spot (nTOF)
The FPGA based program is able to create the
pictures of the beam spot in the different energy ranges
Here the 9 energy slices ranging from 10 to 5 Mev
For the neutrons peak the detector is not saturated
20 min acquistion time

## Slide 9: Low mass thermal neutron beam monitor
1 µm natB4C deposited on 35 µm Al foil (as cathode)
Kapton Pads
To be tested in the coming months

## Slide 10: Multi-GEM neutron converter
Multi-GEM converter
3GEM
pad readoout
Thermal Neutron
a
a
a
Triple GEM
Borated GEM foils
50 µm
pad readout
DRIFT
GAIN
N layers of
1 µm 10B4C
Triple GEM

## Slide 11: Some pictures....
We are trying to produce GEM foils from B4C-coated foils

## Slide 12: Conclusions
Low mass neutron beam monitors to minimize beam attenuation
Fast neutron low mass beam monitor successfully realized and tested
  64 channels, based on CARIOCA
Thermal neutron beam monitor built, will be tested soon
  64 channels, based on CARIOCA
New beam monitors can be equipped by a larger number of channels thanks to the new develpment of the GEMINI electronics
  Finer spatial resolution
  Larger areas

## Slide 13
Gamma flash
Neutron distribution expected
(7 1012 Protons on target)
Efficiency vs Energy
10 MeV
1 MeV
Efficiency vs energy at nTOF