## Slide 1: Detector rate estimate for the BIFROST instrument
Milán Klausz
Milan.Klausz@esss.se
HAS Centre for Energy Research
European Spallation Source ESS ERIC
BUTE Institute of Nuclear Techniques
Detectors and Data Acquisition for Instruments Meeting, Paris, 12 February 2018

## Slide 2: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 3: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 4: ESS - Instruments
+
Nuclear Physics Institute
+
ODIN
DREAM
NMX
MIRACLES
BEER
C-SPEC
T-REX
MAGIC
BIFROST
HEIMDAL
FREIA
LoKI
SKADI
VESPA
ESTIA
+

## Slide 5: Location of BIFROST
BIFROST

## Slide 6: Beam transport and conditioning system
Curved guide section
Copper blocks
4 choppers (PSC, FOC, FOC, BC)
Option to use full ESS pulse

## Slide 7: Scattering Characterization System
Filtering system
  Beryllium filter
  Radial collimator
Secondary spectrometer tank
  Vacuum vessel
  Analyzers
  Detectors and electronics
  Crosstalk shielding
  Tank positioning system

## Slide 8: Scattering Characterization System
Secondary spectrometer tank
  Vacuum vessel
  Analyzers
  Detectors and electronics
  Crosstalk shielding
  Tank positioning system

## Slide 9: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 10: Simulation Tools - Options
Sample + analyzers
Guide
Detectors

## Slide 11: Simulation Tools - Options
Sample + analyzers
Guide
Detectors

## Slide 12: Simulation Tools: McStas
  Simulation of neutron scattering instruments and experiments
  Monte Carlo ray-trace algorithm
  Cross-platform, open source
  Version 2.4.1 (Jun. 26, 2017)
  Collaboration:
    DTU Physics
    University of Copenhagen
    Paul Scherrer Institute
    Institut Laue-Langevin
Source: http://mcstas.org/

## Slide 13: Simulation Tools - Options
Sample + analyzers
Guide
Detectors

## Slide 14: Simulation Tools: Geant4 + DG Framework
  General purpose
  Developed in CERN
  Application in various fields
  Detector Group Framework
    Code repository + build system
    Tools, issue tracker, wiki
    Geant4, C++, Python, Mercurial
Source: http://geant4.cern.ch/

## Slide 15: Simulation Tools - Options
Sample + analyzers
Guide
Detectors

## Slide 16: Simulation Tools - Options
Source: https://mctools.github.io/ncrystal/
Sample + analyzers
Guide
Detectors

## Slide 17: Simulation Tools - Options
Sample + analyzers
Guide
Detectors

## Slide 18: Simulation Tools - Options
Sample + analyzers
Guide
Detectors

## Slide 19: Monte Carlo Simulation: MCPL
  Monte Carlo Particle List
  Binary format
  Open source
  Compatible MC tools
    McStas
    McXtrace
    Geant4
    MCNP6, MCNPX
Source: https://mctools.github.io/mcpl/

## Slide 20: Simulation Tools - Options
Sample + analyzers
Guide
Detectors

## Slide 21: Simulation Tools - Options
Sample + analyzers
Guide
Detectors
NCrystal
+
+

## Slide 22: Simulation Tools: NCrystal
Source: https://mctools.github.io/ncrystal/
  Library + tools for thermal neutron transport in crystals
  Cross-platform, open source, v0.9.4
  Multiple interfaces (Geant4, McStas, …), validated results
  Collaboration:
    Xiao Xiao Cai (DTU, ESS)
    Thomas Kittelmann (ESS)
  Supported by:
    BrightnESS (No 676548)

## Slide 23: Simulation Tools: NCrystal
Source: https://mctools.github.io/ncrystal/
  Enables Monte Carlo simulation of neutrons in crystals
  Single-crystals
  Polycrystalline/powder materials
  Coherent elastic (Bragg) diffraction
  Includes ”background” (inelastic/incoherent)
    harmonic approximation
    incoherent approximation
    Debye approximation

## Slide 24: Simulation Tools: NCrystal
Source: https://mctools.github.io/ncrystal/
  Written in C++
  Direct usage from C, C++, or Python code
  Command-line tools
  Components available for McStas and Geant4

## Slide 25: Simulation Tools - Options
Sample + analyzers
Guide
Detectors
NCrystal
+
+

## Slide 26: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 27: McStas Model – Full Instrument

## Slide 28: McStas Model – Analyzer-Detector system

## Slide 29: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 30: TODO

## Slide 31: Change of energy spectrum on sample

## Slide 32: Position on slit

## Slide 33: Position on detector

## Slide 34: Position on detector

## Slide 35: Time averaged incident rate

## Slide 36: Peak instantaneous incident rate

## Slide 37: Preliminary results
Parameters:
  Sample: Y2O3 single-crystal, hkl=2,-2,-2 (dhkl = 3.0724 Å) size = (1.5 cm)3, mosaicity = 60 acrmin
  Analyzer: thickness = 2 mm, mosaicity = 10 arcmin
  Source power = 5 MW
  PSC opening time = 5 ms (full ESS pulse)
Time averaged incident rate on one He tube: 5e7 Hz
Peak instantaneous incident rate on one Tube: 1e9 Hz

## Slide 38: Outline
BIFROST Instrument
Simulation Tools
Simulation Model
Results
Outlook

## Slide 39: Cross-check and Detector simulation
Sample + analyzers
Guide
Detectors
NCrystal
+
+

## Slide 40: Acknowledgments
Rasmus Toft-Petersen, Fatima Issa
Thomas Kittelmann, Xiao Xiao Cai, Peter Willendrup
Kalliopi Kanaki, Richard Hall-Wilton
Data Management&Software Centre (DMSC)
Thank you for your attention!

## Slide 41: Secondary spectrometer tank - Analyzers

## Slide 42: Secondary spectrometer tank - Analyzers

## Slide 43: Scattering Characterization System
Filtering system
  Beryllium filter
  Radial collimator
spectrometer tank
  Vacuum vessel
  Analyzers
  Detectors and electronics
  Crosstalk shielding
  Tank positioning system

## Slide 44: Secondary spectrometer tank - Detectors
Crosstalk shielding
  Prevent crosstalk between channels
Detectors and electronics
  He-3 tubes
  Approx. 2x analyzer length

## Slide 45: Ncrystal - Data library and validation

## Slide 46: Ncrystal - Data library and validation