660 kVA SML Modulators for RFQ, DTL and MBeta CDR Charge Document

Critical Design Review (CDR) 660 kVA SML modulators for RFQ, DTL and MBeta

Charge for the CDR

Purpose of this CDR

A CDR is scheduled as a milestone event for approving the transition from detailed design to manufacture (or to material or component procurement, to software coding, to construction etc.).

The design is reviewed against all design inputs, including technical and interface requirements. A successful CDR gives confidence that the proposed design will meet all technical requirements and interface properly with all relevant accelerator subsystems. The completion of a CDR fixes the baseline design of the component being reviewed.

The objective and purpose of this CDR is to confirm that the design for the 660 KVA modulators is likely to meet all requirements and is specified in sufficient detail for manufacturing and installation.

In general terms, the expected outputs of detailed design, which should be presented and reviewed in the CDR, are:

- Any specifications agreed as inputs for the conceptual design of the 660 kVA SML modulators.

- Design drawings and schematics of the detailed design;

- Testing results obtained with the reduced scale prototype;

The specific information, which should be reviewed in the CDR, is listed as Deliverables. See Appendix 1.

Charge to the Committee

The Review Committee is composed of the Chairman and members as identified in Appendix 2. This list also shows reviewers, who provide comments and review but are not on the formal committee.

The Review Committee is asked to:

1.	REVIEW:  Scrutinize and assess the deliverables listed in Appendix 1, presented through the material presented and discussions, at the CDR. Note that the presentations themselves are means of communication only, and it is the design and design documentation which must be reviewed. “Is the detailed design and documentation mature enough to commence production”?

2.	ANSWER:  Answer each question listed in Appendix 3.

3.	DECIDE:  The Review Committee is to elaborate and deliver at the conclusion of this CDR, a clear recommendation to ESS about continuing with the production of the modulators along with a list of recommendations.

Suggested forms for the decision are:

- Approved, without qualifying comments or further actions.

- Approved, but with recommended actions and or clarifications.

- Not approved, but with recommended actions, for further inputs and activities, and a proposal for a follow-on review.

(If the committee rules for “Approved with recommended actions” or “Not approved” of the CDR, it is of essence that the actions/comments requested are very precise in their formulation and that the fulfilment decision is transferred to WP17, all this due to time constraints in the schedule).

4.	REPORT:  The Review Committee is to document in a short report to be delivered as soon as possible after the CDR, its recommendation and any specific actions for WP17 Work Unit Power Converters, identifying any further design necessary and other guidance for assisting planning and future success of the Work Unit related to its scope and deliverables.

Appendix 1 Scope and Deliverables for Review

Scope for Work Units 660kVA SML modulators for RFQ, DTL and MBeta

ACCSYS WBS 11.17.3 Work Unit (WU) Klystron Modulators for RFQ & DTL is led by Pedro Gonzalez, ESS Bilbao. ACCSYS WBS 11.17.5 Work Unit (WU) Klystron Modulators for Medium Beta is presently led by Carlos Martins, ESS.,. These WU’s are part of ACCSYS WBS 11. Work Package (WP) 17 Power Converters, led by Carlos A. Martins, ESS, is responsible for the delivery of all these systems to the ESS project.

The procurement of the modulators covered by WBS 11.17.3 (RFQ & DTL) and by WBS 11.17.5 (Medium Beta) were launched by ESS Bilbao and ESS ERIC, respectively. However, the outcome of both tender evaluations led to the award of both contracts to the same company (Jema Energy), which has the mandate of producing, testing and delivering 3+ 9 = 12 modulators. Since the design and technical specifications of both sets of modulators is identical,

The WU’s are responsible for the following scope that is relevant for this CDR

- Needed analysis e.g.

  - Topology identification for the 660kVA SML modulator;

  - The link from requirements to electrical schematics, 3D mechanical drawings and list of main components;

  - The link from requirements to safety aspects and interfaces;

  - The verification and validation of the design of the 660kVA SML modulators (simulation results, preliminary experimental results obtained with reduced scale prototype, etc);

- Final design

- Procurement as build-to-print for detailed design and prototyping

- The manufacturing, construction, assembly, testing and other verification of the 660kVA SML modulators.

- The needed QA process

Deliverables for CDR - Information to be reviewed

The information identified below is to be described and communicated through presentation at the CDR, and the source information is to be available to reviewers for reference during the CDR.

ESS is requested to deliver to the CDR Secretary (John Weisend) for distribution to the Review Committee and other reviewers, an agreed subset of the following information for pre-review and comments no later than ten (7) working days prior to the CDR.

1.	Topology description:

Reviewers shall assess the component design, the topology, simulations and experimental results, their functionality and their compliance with the requirements provided by ESS and validate the design choices.

2.	Descriptions or other identification of systems and components – in General:

- Description of the ratings and main parameters of the SML 660kVA modulators;

- Detailed electrical schematic;

- Simulation results;

- List of components;

- Preliminary mechanical layout of the 660kVA SML modulators;

- Information on the controller platform, internal signals list and interlocks/protection strategy;

- Preliminary information on interfaces (Remote control, pulse trigger, PSS, AC powering, Water Cooling, RF Systems, RF LPS);

- Contract follow-up aspects on a build-to-print basis;

- Development, testing and procurement schedules;

- The results of internal reviews and quality assurance performed of the design (including PDR) and its results and requested corrective actions

- Preliminary risk analysis

- Maintenance, transportation and handling strategies

- Reliability analysis

Appendix 2 Review Committee and other Reviewers, Presenters and Observers

The CDR Committee conducts this review with the authority of ACCSYS Project Leader, Mats Lindroos, and ESS Director General, John Womersley.

The Committee serves in an advisory capacity to:

- the Work Unit teams for Klystron Modulators both at ESS and ESS Bilbao,

- the ACCSYS WP 17 Leader, and

- the ACCSYS management team

| Name | Organisation | Appointment for CDR |
| --- | --- | --- |
| John Weisend II | ESS, ACCSYS Deputy Project Leader | Chairman of the Review Committee |
| David Nisbet | External Expert CERN | Review Committee member |
| David Anderson | External Expert SNS | Review Committee member |
| Kent Wigren | ESS, ACCSYS QA | Review Committee member |
| Timo Korhonen | ESS, ICS | Review Committee member |
| Stuart Birch | ESS, ICS/PSS | Review Committee member |
| Anders Sunesson | ESS, ACCSYS RF group leader | Reviewer |
| Morten Jensen | ESS, RF Sources section | Reviewer |
| Frithiof Jensen | ESS, ACCSYS Conventional Power | Reviewer |
| Anton Lundmark | ESS, ACCSYS Water cooling | Reviewer |
| Enric Bargalo | ESS, RAMI Analysis | Reviewer |
| Carlos Martins | ESS, ACCSYS Power Converters section leader | Presenter |
| Pedro Gonzalez | ESS Bilbao, IKC manager for RFQ&DTL modulators | Presenter |
| Jose Maria de la Fuente | Jema Energy, Project technical manager | Presenter |
| TBD | Jema Energy, Engineer | Assistant |

Appendix 3 CDR Charge Questions

- Has the 660 kVA SML modulators detail design been documented appropriately and presented in a suitable format to enable review?

- Have the correct design options for the 660 kVA SML modulators as well as their verification methods been selected and described?

- Have all or a sufficient coverage of requirements for the 660 kVA SML modulators and its interfaces been identified and documented by ESS, communicated to and understood by the Work Unit teams?

- Does the 660 kVA SML modulators detailed design comply with the requirements for the system and its interfaces?

- Is the 660 kVA SML modulator detailed design sufficiently developed for transition to production?

- Have technical risks been identified and eliminated or otherwise mitigated appropriate for in the detailed design?

- What quality assurance and quality control activities have been planned and how will these be conducted and documented or reported

- Have reliability aspects been considered in the design choices at a level appropriate for this stage of design?

- Is the schedule for manufacture and installation sufficiently understood and in accordance with activities, durations and milestone dates shown in the ESS ACCSYS project plan?

- Are there sufficient staff resources and competence assigned to the Work Unit team to allow to progress with work in accordance with activities, durations and milestone dates shown in the ESS ACCSYS Project plan?

- Is the design information and information on procedures required for the operation of the 660 kVA SML modulators delivered and presented at CDR sufficient to define the controls interfaces and allow the creation of the controls system design?

- Have all the recommendations from the PDR been addressed appropriately?

- Are there any outstanding agreements to be made or other actions necessary to allow the work unit to achieve the Plan?