## Slide 1
Txema de la Fuente (JEMA), Carlos Martins (ESS)
www.europeanspallationsource.se
Critical Design Review on 660kVA klystron modulators for RFQ/DTL and MBeta
S3.2 – Mechanical layout

## Slide 2
Mechanical layout
Modulator
Divided in different parts/sub-assemblies:
  The LV power electronics stage: composed by standard power electronics circuits and installed in a conventional air insulated electrical cabinet.
  The HV oil tank assembly: composed by the oil tank (with all the HV modules, sensors and filters) and the oil pumping system.

## Slide 3
Mechanical layout
Modulator
They are both mounted in frames and can be assembled separately before they are mounted together.

## Slide 4
Mechanical layout
Modulator
The HV oil tank assembly can easily slide in and out over externally mountable rails for easier access to its interior for maintenance purposes.

## Slide 5
Mechanical layout
Input unit
Input unit.
  MCB.
  EMC filter.
  AC line filter.

## Slide 6
Mechanical layout
AC/DC+DC/DC converter
AC/DC + DC/DC converter.
  AC/DC + DC/DC power stacks.
  AC line contactors.
  AFE filter inductors.
  Pre-charging circuit.
  DC filter inductors.
  DC com mode filter.

## Slide 7
Mechanical layout
AC/DC+DC/DC converter
AC/DC + DC/DC converter.
  AC/DC + DC/DC power stacks.
  AC line contactors.
  AFE filter inductors.
  Pre-charging circuit.
  DC filter inductors.
  DC com mode filter.

## Slide 8
Mechanical layout
DC/AC converter
DC/AC converter
  DC/AC power stacks.
  Capacitor bank.
  Protection fuses.

## Slide 9
Mechanical layout
DC/AC converter
DC/AC converter
  DC/AC power stacks.
  Capacitor bank.
  Protection fuses.

## Slide 10
Mechanical layout
HV oil tank
HV oil tank:
  HVHF module (Transformer, rectifier, inductor, common inductor, capacitor)
  HV output capacitor bank
  HV common mode output inductor
  HV output stage.
  Oil cooling system.

## Slide 11
Mechanical layout
HV oil tank
HV oil tank:
  HVHF module (Transformer, rectifier, inductor, common inductor, capacitor)
  HV output capacitor bank
  HV common mode output inductor
  HV output stage.
  Oil cooling system.

## Slide 12
Mechanical layout
HV oil tank
HV oil tank:
  HVHF module (Transformer, rectifier, inductor, common inductor, capacitor)
  HV output capacitor bank
  HV common mode output inductor
  HV output stage.
  Oil cooling system.

## Slide 13
Mechanical layout
HV oil tank
HV oil tank:
  HVHF module (Transformer, rectifier, inductor, common inductor, capacitor)
  HV output capacitor bank
  HV common mode output inductor
  HV output stage.
  Oil cooling system.

## Slide 14
Mechanical layout
HV oil tank
HV oil tank:
  HVHF module (Transformer, rectifier, inductor, common inductor, capacitor)
  HV output capacitor bank
  HV common mode output inductor
  HV output stage.
  Oil cooling system.

## Slide 15
Mechanical layout
HV oil tank
HV oil tank:
  HVHF module (Transformer, rectifier, inductor, common inductor, capacitor)
  HV output capacitor bank
  HV common mode output inductor
  HV output stage.
  Oil cooling system.

## Slide 16
Mechanical layout
Arc protection system
Arc protection system:
  IGBTs.
  Snubber protection.

## Slide 17
Mechanical layout
Water cooling system
Water cooling system:
  In/out manifolds.
  Valves.
  T, P gauges.
  Flow meters.
  Flexible hoses.
Water panel

## Slide 18
Mechanical layout
Control cabinet
Control cabinet:
  NI racks.
  Aux PS.
  PCBs.
  Aux relays.